- EASTERN ZONE OFFICE

- SURVEY OF INDIA

- 15 WOOD STREET, KOLKATA – 700 016.

- TENDER DOCUMENT

- FOR

- PROCUREMENT OF

- 3D TOPO MOUSE  (For Stereo Digital Photogrammetry software)

TENDER NO. EZO – 931/ 15-C (PROCUREMENT) DATED 22/07/2013

PRE BID CONFERENCE	ON			-     	08 AUG 2013 (1000 hrs.)

LAST DATE OF SALE OF TENDER		-	21 AUG 2013 (1200 hrs.)

LAST DATE TO SUBMIT TENDER 		-   	21 AUG 2013 (1600 hrs.)

TECHNICAL BID TO BE OPENED BY		-   	22 AUG 2013 (1000 hrs.)

EQUIPMENT TESTING ON			-	23,24,25 AUG 2013

COMMERCIAL BID TO BE OPENED BY	-	26 AUG 2013 (1000 HRS)

- PRICE – Rs.  1,000/- (Rupees One Thousand only)

* * * * *

- EASTERN ZONE OFFICE

- SURVEY OF INDIA,

15 WOOD STREET, KOLKATA – 700 016.

FAX		:	033-22800196

PHONE	:	033-22833376

E-mail	:	ezosoi-wb@nic.in

eastern.zone@gmail.com

- 3D TOPO MOUSE

| TENDER NO. EZO- 931/ 15-C (PROCUREMENT) DATED 22 JUL 2013 |  |  |  |
| --- | --- | --- | --- |
|  | Designation and address of the Officer inviting the tender on behalf of Surveyor General of India | : | Chairman, Procurement Board, C/o Additional Surveyor General, Eastern Zone, Survey of India 15 Wood Street, Kolkata – 700 016. |
|  | - Last date and time of sale of the Tender Document - Total No. of Pages in this Tender Document | : : | (a) 21 AUG 2013 (1200 hrs.) (b) 35 (Thirty Five Pages) |
|  | - Pre bid conference - Last date & time of receiving the Tender | : : | (a) 8 AUG 2013 (1000 hrs.) Venue:- O/O Addl S.G. Eastern Zone Survey of India, 15 Wood Street Kolkata – 700 016 (b) 21 AUG 2013 (1600 hrs.) |
|  | - Date and time of opening of TECHNICAL BID - Equipment Testing on - Date and time of Opening Financial Bid | : : | (a) 22 AUG 2013 (1000 hrs.) Venue:- O/O Addl S.G. Eastern Zone Survey of India, 15 Wood Street Kolkata – 700 016 (b) 23, 24 & 25 AUG 2013 (c) 26 AUG 2013 (1000 hrs.) |

5.   Detailed Specification of Stores :

| SL. NO. | DESCRIPTION | QUANTITY (APPROX.) | REMARKS |
| --- | --- | --- | --- |
| 1. | 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) | 60 (SIXTY) Nos. | For detailed technical specifications, please see Appendix – I For DELIVERY DESTINATION please see Appendix -1A |

The competent authority may increase or decrease the quantity of 3D TOPO MOUSE at the time of placing supply order.

6)	The tender (in English language only) for the above item is to be submitted along with detailed specifications and operational conditions and limits.

6. A)  	Eligibility Criteria :-  (To read with Sl. No. 1 of General Terms & Conditions of Supply – Appendix II)

The tenderer must possess minimum eligibility criteria mentioned under to participate in the tender :-

- Should possess minimum 5 years experience in the relevant field of marketing in 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) in bulk quantity. In case of Indian Agent/ Tenderer recently appointed by the foreign principal (OEM), the OEM should have supplied the 3D TOPO MOUSE  (For Stereo Digital Photogrammetry software) to Government of India offices/ PSUs in the past 5 years either directly or through their authorized Indian Agent.

- Should have minimum turnover of Rs 10 Crores per annum.   (Should be substantiated with I.T. returns and audited balance sheets).

- Indian manufacturers should have got registered with company of Law Affairs under Company’s Act.

- Indian Agents representing Foreign Principals should have got enlisted with Central Purchase Organization (e.g. DGS&D) as per compulsory enlistment scheme of Department of Expenditure, Ministry of Finance as per provision of Rule 143 of General Financial Rule 2005. Also please visit www.dgsnd.gov.in for enlistment.

- Should have sold the similar product to any Government Organization/ PSU in bulk quantity.

- Should have facility to organize after sales service support in India.

- ISO Certification – The Company offering 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) should be an ISO Certified Company with Certified Service Centers in India.

7.	The tenderer may please note that the tender once submitted will not be altered after expiry of the dead line for receipt of tender till the date of validity of tenders and if they do so, their Earnest Money Deposit ( Bid Security)  will be forfeited.   Completed Tender Document should not have any scope of ambiguity, cutting or overwriting. For inadvertent mistake, if any, the tenderer must strike through erroneous figure/ word  and legibly write the correct figure / word  and must be authenticated with dated signature of the tenderer.

8.	No consortium or joint venture is allowed.

9.	The Tenderers of the following Groups may submit their offer accordingly:-

- GROUP ‘A’

Items manufactured in India and offered by the Indian Manufacturer or their authorized dealer / distributor along with letter of authority from the Indian Manufacturer (for terms & conditions of supply, Annexure ‘A’(i), ‘A’(ii) and ‘A’(iii) may be referred to).

- GROUP ‘B’

Items manufactured in foreign country (showing country of origin) and offered by the Foreign Manufacturers / Suppliers on CIF/CIP basis (for terms of conditions of supply, Annexure ‘B’(i) and ‘B’(ii) may be referred to).

- GROUP ‘C’

Items manufactured in foreign country (showing country of origin) and offered by the Indian Agents with proper letter of authority from their Foreign Principals, the Manufacturer.  (for terms and conditions of supply, Annexure ‘C’(i) and ‘C’(ii) may be referred to).

10.   TENDERING SYSTEM:

The tenders / bids are to be submitted in two Parts, i.e. Part – I & Part – II.

Part – I titled as TECHNICAL BID shall contain the complete technical qualifications and Commercial package with terms and conditions of supply etc. (except Price Schedule).   Part – II titled as FINANCIAL BID shall contain the Price Schedule duly filled in strictly according to the prescribed proforma. Any deviation will render the financial bid as UNRESPONSIVE.

The TECHNICAL BID AND FINANCIAL BID shall be placed in separate sealed envelopes.  Each of these two sealed Envelopes containing the respective Bids shall indicate on the face of it, the Tender No. and the Type of bid i.e. Technical or Financial Bid as the case may be along with the Name and Address of the Bidder / Tenderer.  The tenderer will provide information about the tenderer to be submitted along with technical bid in the prescribed Annexure ‘D’.  These two sealed envelopes / covers shall be put into OUTER COVER and sealed.   The OUTER COVER shall only indicate the TENDER NO. and last date and time of receiving the tenders PROMINENTLY along with the Address of Purchaser i.e. THE ADDITIONAL SURVEYOR GENERAL, EASTERN ZONE, SURVEY OF INDIA, 15 WOOD STREET, KOLKATA – 700 016.  The TECHNICAL BID AND FINANCIAL BID must be submitted on prescribed proforma as applicable.   Tender will be rejected if deviation from proforma on any account is found.

11.	VALIDITY OF RATES

The rates quoted in the tender must remain valid for 180 days (six months) from the date of opening of Technical Bid. Rates will not be changed under any circumstances.

12.	OPENING OF TENDERS

- The Technical Bid will be opened on 22 AUG 2013 in the O/O Additional Surveyor General, Eastern Zone, 15 Wood Street, Kolkata- 700 016.

- The representatives of the Tenderers / bidders may attend the opening of tenders along with letter of authority from the respective tenderer / bidder.

- The Financial Bid will be opened on  26 AUG 2013.

- Only one authorized representative from each participating vendor will be allowed to attend.

- 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) will be tested on 23, 24 & 25 AUG 2013 to shortlist the vendors meeting the required technical specification, acceptances of the 3D TOPO MOUSE  (For Stereo Digital Photogrammetry software). The shortlisted vendors will  participate in financial bid opening on date 26 AUG 2013

13.	FOREIGN EXCHANGE RATES

- For comparison of commercial bid, the exchange rates of Rupee to the currency in which the price has been quoted would be considered on the rates as prevalent on day of opening the Financial Bid as per quotes of Reserve Bank of India.

- The rate of exchange as per RBI prevalent on the day of opening of letter of credit shall be the rate of fixing the payment of India Agents Commission, if any, in Indian Rupees.

14.	DEMONSTRATION OF 3D TOPO MOUSE

The tenderer will arrange demonstration of 3D TOPO MOUSE, in question, at Survey of India Campus, 15 Wood Street, Kolkata – 700 016 – (INDIA), free of cost, either directly or through authorized Indian Agents / Dealers / Distributors, as the case may be, to verify whether the 3D TOPO MOUSE  (For Stereo Digital Photogrammetry software) meets the Technical requirement / criteria as indicated in the technical specifications given in Appendix–I . Short listed Tenderers will be required to demonstrate the 3D TOPO MOUSE  (For Stereo Digital Photogrammetry software) on 23, 24 & 25 AUG 2013 to the Technical Evaluation Committee. No further extension of time will be entertained under any circumstances.

15.	INSPECTION

Preliminary inspection of the stores will be carried out by the supplier at the factory before dispatch. The final joint inspection will be carried out at the consignee’s site after receipt of the consignment. In case of defective supply due to latent manufacturing defects/ transit damage, the same has to be removed and replaced at the supplier’s cost. All the inland expenses including insurance are to be met by the supplier.

16.	OEM COMPREHENSIVE WARRANTY

The supplier will replace the defective material, free of cost, if noticed within the Guarantee / Warranty period.  The Warranty Certificate, as per specimen enclosed at APPENDIX-III, is also to be submitted duly signed along with the tender. The warranty will have to be valid for a period of 3 years after the date of final acceptance (Joint Inspection Report) and on completion of training for 3D TOPO MOUSE (For Stereo Digital Photogrammetry software).   In case of any break down during the warranty, the period of warranty shall get extended for the period for which equipment remained out of service.

17.	GUARANTEE

The 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) should have functional guarantee for 3 years from the date of final acceptance and on completion of training so that there is no breakdown of production for want of 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE) in operational condition.

18.	AGREEMENT

The successful Tenderers / Suppliers will be required to sign an agreement on non-judicial stamp paper of appropriate value as per specimen at Appendix IV at their own cost.

19.	SERVICE MANUAL

Standard Service manual and Operational Manual with cable connectivity diagram will have to be provided with the 3D TOPO MOUSE

20.	REPAIR AND MAINTENANCE

The tenderer should furnish the detailed data for repair and maintenance facilities as would be extended by them, in case of any necessity. The tenderer must specify the normal expected life of the 3D TOPO MOUSE.

21.	TRAINING

Training will have to be imparted to Survey of India staff of the Geo-Spatial Data Centers / Directorates at Consignee’s Place by the supplier free of cost for 5 people for 1 day at each consignee’s place within 1 month from the date of delivery of the 3D TOPO MOUSE (For Stereo Digital Photogrammetry software ) and successful acceptance of the 3D TOPO MOUSE.

22.	For General terms and Conditions of supply, please see APPENDIX – II.

23.	The tender document can be down loaded from our website: www.surveyofindia.gov.in.    Tenderers downloading the tender document shall attach a separate Demand Draft of Rs. 1,000/- (Non refundable) of any Commercial Bank in favour of the “E&AO, WB&S GDC, Survey of India” payable at Kolkata along with the Technical Bid towards the cost of tender document in addition to separate Bank Guarantee towards earnest money deposit, failing which the offer will be rejected.

24.	Please note that Incomplete Tenders/ Late Tenders / Delayed Tenders or Postal Delayed Tenders will not be considered at all. Any bid received by the Addressee after the dead line for submission of tender will be returned to the bidder un-opened.

25.	Corrupt or Fraudulent Practices

The Board will reject a proposal for award if it determines that the bidder recommended for award has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive or obstructive practices in competing for the contract in question during the bidding process or in executing the contract.

26.	The inner envelopes should be Technical Bid (along with Tender Fee & Bid Security) and Financial Bid separately sealed and properly super scribed (Technical Bid/ Commercial Bid). Outer envelope containing inner envelopes should be addressed as below and NOT to any individual by name.

TENDER FOR 3D TOPO MOUSE (Last Date and Time of Receiving of Tender : 21 AUG 2013 (1600 hrs.) Addressed to : The Chairman, Procurement Board, C/o The Additional Surveyor General, Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016, West Bengal (INDIA)

27.	This Tendering Process and Procurement is subject to the provisions of General Financial Rule 2005, Manual on Policies and Procedure for Purchase of Goods published by Ministry of Finance, Department of Expenditure and related Guidelines issued by CVC.

28.	All categories of tenderers must quote the price for delivery at designated consignee SOI Offices including all applicable taxes/ duties.

29.	Indian Agents representing Foreign OEM or subsidiary office of Foreign OEM in India must quote in Indian Rupees only under Annexure C (i). In this case also the Total Landed Cost must be at Consignee’s Warehouse.

30	Irrespective of detail break-ups of various costs/ taxes, L1 Vendor will be decided based on the Grand Total Landed Cost at the Consignee’s place.

31	No extra cost should be included over and above the quoted price in the commercial bid by the vendor after opening of tender under any circumstances.

32.	Chairman, Procurement Board reserves the right to reject / cancel all or any tender without assigning any reason thereof.

CHAIRMAN, PROCUREMENT BOARD,

- ADDITIONAL SURVEYOR GENERAL,

- EASTERN ZONE, SURVEY OF INDIA

- 15 WOOD STREET, KOLKATA-700016

- ANNEXURE ‘A’ (i)

In case of the offer from the Indian Manufacturer / or through their authorized dealers / distributors Break – up details of cost :

| SL. NO. | DESCRIPTION OF ITEM | QUANTITY | RATE RS. | COST RS. |
| --- | --- | --- | --- | --- |
|  | - 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) - Standard OEM Accessories - Optical Spare Parts - Mechanical Spare Part - Optional Accessories - Total (a) to (e) |  |  |  |
|  | Excise Duty (with percentage on total (1) (f) |  |  |  |
|  | R&D and Cess (with percentage) if any, on Total (1) (f) |  |  |  |
| 5) | ST / CST/VAT Entry Tax/ Octroi (if any) |  |  |  |
| 6) | Total (1) to (5) |  |  |  |
| 7) | Taxes as applicable at the time of procurement |  |  |  |
| 8) | Packing & Forwarding charges |  |  |  |
| 9) | Transit Insurance charges (up to the Consignee’s site till the date of installation /commissioning of 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) / Equipment). |  |  |  |
| 10) | Inland Transportation charges (ON DOOR DELIVERY BASIS) |  |  |  |
| 11) | Service / Handling charges, if any (in case of Authorized Dealers / Distributors only) |  |  |  |
| 12) | Total Cost (on F.O.R. Destination basis) |  |  |  |

NOTE :-

1.	Training will have to be imparted to Survey of India staff of the each consignee Geo-Spatial Data Centers / Directorate at Consignee’s Place in India for 5 people from each consignee GDC for 1 day by the supplier free of cost within 1 month from the date of delivery.

2.	The rates approved by the purchaser are final and no further payment will be done irrespective of any increase in Taxes etc.  The contractor will have to bear the cost at his own.  The purchaser will not be held responsible for such obligation.

3.	The rates approved are inclusive of all prevailing taxes which are to be levied, any non-inclusion of such amount/Tax will be the liability of contractor.

4.	Rate offered by the firm to be LAST & FINAL and payment of any other latent charges / taxes not specified/ mentioned in the cost quoted by the firm, would solely be the liability of the firm.

- ANNEXURE ‘A’ (ii)

While submitting the offer, the following information / documents may also be  furnished in support of the tender by the INDIAN SUPPLIERS.

1.  EARNEST MONEY DEPOSIT( BID SECURITY)

Earnest Money Deposit of fixed amount of Rs. 2,82,600/- (Rupees Two Lacs Eighty Two Thousand Six Hundred only)   in the shape of Bank Guarantee valid for six months (validity may require further extension) from the date of submission of the tender of any Commercial Bank in favour of the “E&AO, WB&S GDC, Survey of India”, payable at Kolkata, should be submitted along with the TECHNICAL BID.   Shortfall in amount of Earnest Money Deposit, if any, will result in rejection of the Tender. In case of Bank Guarantee submitted by the Tenderer it should be unconditional in all cases. Format for Earnest Money Deposit (Bid Security) will be as per APPENDIX V (i).

EMD of the unsuccessful bidder would be refunded within 45 days of the award of contract & EMD of the successful bidder would be released only after the submission of performance security.

2.  PERFORMANCE SECURITY

Successful tenderer will have to furnish Security Deposit @ 10% value of the order / contract in the shape of Bank Guarantee of any Commercial  Bank valid for 3 years and 2 months from the date of acceptance of the equipments/ after training with a provision of further extension in favour of the E&AO, WB&S GDC, Survey of India”, payable at Kolkata, An Agreement is also to be signed by the Supplier at their cost on non-judicial stamp paper of Appropriate value as per specimen at APPENDIX – IV.  In case of Bank Guarantee submitted by the Tenderer it should be unconditional in all cases. The Bank Guarantee must be valid for a period of 3 years and 2 months from the date of acceptance of the equipments/ after training. Bank Guarantee should be submitted along with the bill for release of payment towards delivery of goods.

3.  DELIVERY PERIOD

Please state the minimum delivery period required by you from the date of receipt of Firm Supply Order.  However the stores will have to be supplied latest within 8 weeks from the date of firm supply order.

4.  PACKING

The 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE) is required to be securely packed as per INTERNATIONAL STANDARD TRADE PACKING to avoid damages to the consignment in transit. The packing charges should be included in the break-up details of cost.

5.  INSURANCE

The consignment is required to be dispatched to the consignee, duly insured for transit insurance for all risks from the consignor’s Warehouse to the Consignee’s Warehouse up to final destination till the acceptance of the 3D TOPO MOUSE.   The insurance charges should be included in the break-up details of cost.

6.  ACCESSORIES

- Only OEM accessories should be quoted.

7.  TRANSPORTATION CHARGES

The transportation charges should be pre-paid for delivery of consignment to the consignee on DOOR DELIVERY BASIS and should be included in the break-up details of cost.

8.  PAYMENT

100% payment will be made within one month from the date of installation and commissioning / acceptance of the 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)and on completion of training to SOI personnel by the firm.   No request for advance payment, payment against delivery or payment through Bank against dispatch documents will be considered.

- ANNEXURE ‘A’ (iii)

The following clauses mentioned in this tender document may also please be confirmed in the TECHNICAL BID:-

- VALIDITY OF OFFER

- FREE DEMONSTRATION OF 3D TOPO MOUSE

- INSPECTION

- WARRANTY

- GUARANTEE

- SERVICE / OPERATIONAL MANUAL

- REPAIR & MAINTENANCE AFTER SALES SERVICE FACILITIES)

- INSTALLATION/TRAINING

Photo copies of the following documents are also required to be furnished along with the TECHNICAL BID:-

- Registration Certificate of the firm under Companies Law.

- Registration Certificate if registered with D.G.S.& D as an approved Government Supplier or registered as a Small Scale Unit with Small Scale Industries.

- Latest Sales Tax Clearance Certificate.

- Latest Income Tax Clearance Certificate.

- In case of wholesale dealers / distributors / agents, authority letter (in original) from their Principals / Manufacturers.

- One copy of Warranty Certificate duly stamped and signed (specimen enclosed).

- Photo Copies of Supply orders from Govt. (State or Central)/ PSUs for supply of this item.

- ANNEXURE ‘B’ (i)

- In case of offer from the Foreign Manufacturer / Supplier against CIF/CIP  Cost.

- Break-up-details of cost of stores

- In Foreign Currency

- 3D TOPO MOUSE

- Standard OEM Accessories

- Optical Spare Parts

- Mechanical Spare Parts

- Optional Accessories

- Total (a) to (e)

- Inland Packing / forwarding & transportation

charges up to consignor’s Air Port, if any

- FOB Cost

- Agency Commission payable to the Indian

Agent in Indian Currency

- NET FOB Cost (h) – (i)

- Insurance charges (Approx.)

- Air Freight (Approx.)

- NET CIF/ CIP Cost (Indian  Ports)

- Plus Agency Commission [as per Col. (i)]

- Total CIF/CIP Value

- Other charges upto Consignee place if any

- Grand Total Cost at Consignee’s place.

2.    Please also intimate:-

    - Approx. Net weight of 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)(with standard Accessories etc.)

    - Approx. gross weight of 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)(with standard Accessories etc.)

- Training will have to be imparted to Survey of India staff of the each consignee Geo-Spatial Data Centers / Directorate at Consignee’s Place in India for 5 people from each consignee GDC for 5 days by the supplier free of cost within 1 month from the date of delivery

- Rate offered by the firm to be LAST & FINAL & payment of any other latent charges / taxes not specified/ mentioned in the cost quoted by the firm, would solely by the liability of the firm .

- ANNEXURE ‘B’ (ii)

While submitting the offer, the following information / documents may also please be furnished alongwith the TECHNICAL BID :-  BY THE FOREIGN SUPPLIER.

1.  DELIVERY PERIOD

The stores will have to be supplied within 8 weeks after the date of opening of Letter of Credit and issue of Supply Order.

2.  PACKING

The consignment is required to be securely packed as per international standard trade practices to avoid damages to the Equipment / 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)during transit.

3.  INSURANCE

The insurance from consigners ware-house to consignee’s site should be on ALL RISKS BASIS arranged by the supplier.

4.  EARNEST MONEY / BID SECURITY – BY THE FOREIGN SUPPLIER

Earnest Money of fixed amount of Rs. 2,82,600/- (Rupees Two Lacs Eighty Two Thousand Six Hundred only)in the shape of Bank Guarantee valid for six months (validity may require further extension)  from the date of submission of the tender of any commercial bank in India in favour of the “E&AO, WB&S GDC, Survey of India” payable at Kolkata  should be submitted along with the TECHNICAL BID.   Shortfall in amount of Earnest Money Deposit, if any, will result in rejection of the Tender. In case of Bank Guarantee submitted by the Tenderer it should be unconditional in all cases.

EMD of the unsuccessful bidder would be refunded within 45 days of the award of contract & EMD of the successful bidder would be released only after the submission of performance security.

5.  PAYMENT TO THE FOREIGN SUPPLIER

Payment equal to 90% of CIF/CIP Cost will be made to the Foreign Supplier through an Irrevocable Letter of Credit to be opened by the Purchaser through his Bankers, on presentation of document of air lifting of consignment, Manufacturer’s Warranty / Guarantee and Test Certificates against a Bank Guarantee for 100% of CIF/CIP Cost  i.e before opening of LC, a Bank Guarantee valid for 12 months for the entire cost of the equipment will be obtained as security deposit from the supplier with the provision of further extension / revalidation.   The advance payable will earn interest at the rate specified by the Bank. The remaining 10% payment will be released / made after inspection and acceptance of the 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)by the ultimate consignee and completion of training to SOI personnel imparted by the firm.    The inspection would be made in the presence of the local Agents of the Foreign Supplier and a joint inspection report signed both by the Consignee and the Indian Agent on behalf of the Foreign Supplier.   Performance Security will be released after expiry of the mandatory warranty period. Bank Guarantee submitted by the Tenderer should be unconditional in all cases.    An Agreement is also to be signed by the Indian Agent on behalf of foreign supplier at their cost on non - judicial Stamp paper of Appropriate Value as per specimen at Appendix-IV.

6.	PERFORMANCE SECURITY

Performance Security by the Foreign Supplier, before release of Bank Guarantee and 10% balance amount after receipt and inspection of material, is mandatory for the foreign supplier to furnish performance security of 10% value of the total amount of the purchase order to ensure satisfactory function of the equipment for a period of 3 years from the date of supply. In case of Bank Guarantee submitted by the Tenderer it should be unconditional in all cases. The Bank Guarantee must be valid for a period of 3 years and 2 months from the date of acceptance of the equipments/ after training. Bank Guarantee should be submitted along with the bill for release of payment towards delivery of goods

7.  	AGENCY COMMISSION

The Agency Commission (with percentage) payable to the Indian Agent may please be mentioned in the tender, if applicable. The Agency Commission should be included in the commercial bid.

The rate of exchange will be calculated on rates prevalent on day of opening of LC. in Bank (Para – 13 above) only the converted value of agency commission in Indian Rupee will be paid after final acceptance of the 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE).

8.  The following clauses mentioned in this tender document may also please be confirmed in the TECHNICAL BID :-

- VALIDITY

- FREE DEMONSTRATION OF 3D TOPO MOUSE

- INSPECTION

- WARRANTY

- GUARANTEE

- SERVICE / OPERATIONAL MANUAL

- REPAIR & MAINTENANCE (AFTER SALES SERVICE FACILITIES)

- INSTALLATION / TRAINING

- ANNEXURE ‘C’ (i)

In case of offer from the Authorised Indian Agent of the Foreign Manufacturer / Supplier.

| 1. | C.I. F. / C.I.P. Value |  | In Indian Currency |
| --- | --- | --- | --- |
|  | - Basic Cost of 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) with standard Accessories (b) Packing and forwarding (c) Approx. Insurance charges (d) Approx. Air Freight Charges (e) C.I.F. /C.I.P. Value (Indian Port) Total (1) |  | Rs. Rs. Rs. Rs. Rs. |
| 2. | * CUSTOMS DUTY - Basic Customs Duty (___ % of CIF Value) - ___ % Surcharge on Basic Customs Duty - CVD (Counter Veiling Duty ___ %) - Educational Cess (___% of CVD) - Total Customs Duty as per 51/96 (a+b+c+d) - Clearing / Handling / Inland freight etc., up to warehouse. - Agent commission, if any Total (2)=(e+f+g) | Survey of India will provide customs duty exemption certificate under customs circular No. 51/96 Rs. Rs. Rs. Rs. Rs. Rs. Rs. Rs. |  |
| 3 4 5 6 | Grand Total (1) + (2) CST/VAT Entry Tax Total Landed Cost of 3D TOPO MOUSE at the Consignee’s place. (3+4+5) 4. | Rs. Rs. Rs. Rs. |  |

- Notes :-

- Customs Duty Exemption Certificate will be provided by Survey of India under Customs Circular No, 51/96.

- * Customs Duty Rates applicable will be verified by the vendors.

- Financial Quotes must be strictly as per above Proforma providing information under each category separately and clearly. Otherwise Financial Bid will be treated as UNRESPONSIVE.

- Irrespective of detail break-ups of various costs/ taxes, L1 Vendor will be decided based on the Grand Landed Total Cost at the Consignee’s place.

- Rate offered by the firm to be LAST & FINAL & payment of any other latent charges / taxes not specified/ mentioned in the cost quoted by the firm, would solely by the liability of the firm.

- ANNEXURE ‘C’ (ii)

1.  FOREIGN EXCHANGE RATES

Please confirm that the foreign exchange rates taken into account for purpose of submission of Commercial Bid in Indian Currency will remain valid for the entire period of bid validity.

.

2.  Earnest Money Deposit (Bid Security)

Earnest Money  Deposit of fixed amount of Rs. 2,82,600/- (Rupees Two Lacs Eighty Two Thousand Six Hundred only) in the shape of Bank Guarantee valid for six months (validity may require further extension)  from the date of submission of the tender of any Commercial Bank in favour of the “E&AO, WB&S GDC, Survey of India” payable at Kolkata should be submitted along with the TECHNICAL BID.   Shortfall in amount of Earnest Money Deposit, if any, will result in rejection of the Tender. In case of Bank Guarantee submitted by the Tenderer it should be unconditional in all cases. Format for Earnest Money Deposit (Bid Security) will be as per APPENDIX V (i)

EMD of the unsuccessful bidder would be refunded within 45 days of the award of contract & EMD of the successful bidder would be released only after the submission of performance security.

3.  PERFORMANCE SECURITY

Successful tenderer will have to furnish Security Deposit @ 10% value of the order / contract in the shape of Bank Guarantee of any Commercial Bank valid for 3 years  from the date of acceptance of 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)and after completion of training, in favour of the “E&AO, WB&S GDC, Survey of India” payable at Kolkata.  An Agreement is also to be signed by the Indian Agent at their cost on non-judicial Stamp Paper of Appropriate Value as per specimen at Appendix-IV.   Kindly confirm.   Bank Guarantee submitted by the Tenderer should be unconditional in all cases. The Bank Guarantee / Security Deposit must be valid for a period of 3 years and 2 months from the date of acceptance of the equipments/ after training Bank Guarantee should be submitted along with the bill for release of payment towards delivery of goods

4.  PAYMENT

100% payment in INR will be made within one month from the date of acceptance of the 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE) and completion of training.   Please confirm that our terms of payment are acceptable to you.   In such case, no request for advance payment against delivery or payment through Bank against dispatch documents will be considered.

5.  OTHER DOCUMENTS TO BE SUBMITTED

Indian Agents submitting their offer on behalf of their foreign principals are required to furnish the following information / documents along with the TECHNICAL BID :-

- Authority letter from their Foreign Principals.

- Warranty Certificate from their Foreign Principals (specimen enclosed).

- Attested Xerox copy of the Agreement between the Foreign Manufacturer and the Indian Agent for sale of foreign goods in India.

- Xerox copy of latest Income Tax Clearance Certificate.

- Xerox copy of latest Central Tax Clearance Certificate/ VAT Clearance Certificate.

- Technical brochure / literature / catalogue of the Main 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)/ Equipment quoted for.

- Xerox Copies of Supply orders from Govt (State or Central)/ PSUs for supply of this item.

Proforma Invoice from their Foreign Principals showing C.I.F./C.I.P. value of the 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)in question should be submitted along with the COMMERCIAL BID.

While submitting the tender, General Terms & Conditions of supply given in APPENDIX – II may also please be seen and all relevant information be incorporated in the tender.

INFORMATION ABOUT THE TENDERER

ANNEXURE – ‘ D’

(TO BE SUBMITTED ALONG WITH THE TENDER)

| 1 | Name of the Firm/ Company |  |
| --- | --- | --- |
| 2 | Year of Establishment |  |
| 3 | Status of the Firm/ Company (Partnership. Limited etc) |  |
| 4 | Postal Address Telephone numbers Fax e-mail Website Address ( If Applicable) |  |
| 5 | Bank Account Detail for e-payment | Account No Account Type Name of Account Holder Address of Account Holder Name of Branch Address of Branch IFSC Code |
| 6 | Any authorized branches of the Firm/ Company, if so give details |  |
| 7 | Name of the proprietor/ partner/ Managing Director etc. |  |
| 8 | Nature of your Firm/ Company/ Manufacturer/ Stockiest/ Dealer/ Distributor/ Agent etc. |  |
| 9 | Details of products you are dealing in (catalogues for products may be enclosed, if available) |  |
| 10 | Turnover for the last three years in Rs. (Year Wise) |  |
| 11 | List of Existing Clients (Govt./ PSU/Major Client) |  |
| 12 | If already doing business with SOI give details |  |
| (a) | Item |  |
| (b) | Since when |  |
| 13 | If you are registered with DGS&D or any other Govt./PSU/Authorized body Please give details |  |
| (a) | Name and address of organization registered with |  |
| (b) | Registration No. |  |
| (c) | Date of Registration |  |
| (d | Date till which Registration is valid |  |
| (e) | Whether registered for items for which tender has been submitted |  |
| 14 | Whether enlisted with Central Procurement Organization (e.g. DGS&D) (For Indian Agents representing Foreign Principal). |  |
| 15 | Has your firm ever been black listed by the Govt. or any other authority? Please give details and reasons thereof |  |
| 16 | If black listed & revoked give details of the same |  |
| 17 | Are you income tax payee, if so please furnish following details |  |
| (a) | PAN/TAN |  |
| (b) | TDS Accounts if any |  |
| (c) | Central Sale Tax Registration No./ Service Tax Registration No. |  |

- Declaration

I/We do hereby declare that the entries made in the application are true to the best of my / our knowledge and belief. I/We do also confirm that I/ We have read and understood General conditions of Contract as contained in this tender documents and agree to abide by the same in all respect.

I/We undertake to communicate promptly to SOI all the subsequent changes in condition affecting the accuracy of the details given above. Further I/We undertake that in case the facts/ information furnished, as above is/ has been found false, the SOI may be its absolute discretion reject/ cancel any assignment, if any, awarded / agreed to be awarded to me / us and in such case I / We shall not be entitled to claim any damages/ whatsoever in regard to that assignment

- Signature of Proprietor/ Director/ Managing

Director/ Constituted authority.

Place:					Name:

Date:					Designation

- APPENDIX- I

- TECHNICAL SPECIFICATIONS OF 3D TOPO MOUSE

- TOTAL NUMBER OF 3D TOPO MOUSE: 60 (SIXTY)  NUMBERS

3D TOPO MOUSE WITH   FOLLOWING ACCESSORIES:

1.	3D Topo Mouse (16 buttons)			-	60 Numbers

For Digital Stereo Photogrammetry Software.

2. 	3D Topo Mouse description:

The 3D Topo Mouse is a hand-held device for extracting topographical and height details in 3D from stereo imagery/ Stereo Photography. It should be compatible with the LPS 2013 Suite Stereo Digital Photogrammetric software and Digital Image Processing Workstation with ERDAS IMAGINE 2013 software.

3.	Specifications:

• High-precision X, Y optical/laser navigation with a user selectable resolution for smooth and accurate position control

• High resolution Z control

• Resolution:

- X, Y movement – adjustable upto 1600 counts per inch

- Z control thumb wheel for Z-axis positioning – upto 1200 counts per revolution

• Trigger buttons that allow for data collection or similar quick events.

• Function keys for customizing configuration, setting parameters, change modes, allocation of operations according to user preference and perform ease of feature collection and DTM editing process and other miscellaneous functions.

• Flexible, Customized Controls for Efficient Data Input.

• Soft-acting force, high-reliability buttons.

• 2 – 3 m USB cable with strain relief.

• New direct USB data interface available.

4.	Miscellaneous:

•	Small size and simple ergonomic design to reduce hand fatigue and errors.

• Teflon® treated mouse pad.

• CD with software and user manual.

• Quick installation guide.

- Important Notes:

- Only reputed brand should be quoted

- ISO Certifications: The Company offering 3D TOPO MOUSE should be an ISO certified company with a certified service centre in India.

- Training: Free on site and it should be provided within one month after supplying the equipment.

- Warranty: Minimum 3 years for equipment and all accessories including batteries/charger, Warranty certificate for all individual item or equipment must be provided.

- Custom duty exemption certificate will be provided to supplier by Survey of India.

- Field testing of the equipment is compulsory before technical acceptance by the Technical Evaluation Committee.

- Vendors will demonstrate the 3D TOPO MOUSE  capability by conducting field trials to the Technical Evaluation Committee.

- While quoting price bid for 3D TOPOMOUSE FOR DIGITAL PHOTOGRAMMETRY PURPOSE only single model that meets the technical specifications should be quoted by a vendor in a tender.

APPENDIX -1A

Consignee list with details of Address for delivery of

60 numbers OF PROFESSIONAL TOPO MOUSE

| Sl No. | Name of GDC | Address of Consignee | Quantity |
| --- | --- | --- | --- |
| 1 | Maharashtra & Goa GDC PUNE | Office of Director Maharashtra & Goa GDC Survey of India Phule Nagar, Alandi road PUNE-411006,(MAHARASHTRA) Phone: 020 26614665 Fax: 020 26614665 Email: mgdcpunesoi-most@nic.in | 8 (Eight) |
| 2 | Chhattisgarh GDC RAIPUR | Office of Director Chhattisgarh GDC Survey of India Reena Apartment, 3rd Floor Pachpedi Naka, Dhamtari Road RAIPUR – 492001 Phone: 0771 2411292 Fax:0771 2411135 Email: dirgdc-cg@nic.in | 4 (Four) |
| 3 | West Bengal & Sikkim GDC KOLKATA | Office of Director, West Bengal & Sikkim GDC, Survey of India 13 Wood Street, Kolkata – 700 016 (WEST BENGAL) Phone: 033-22879038 Fax: 033-22879038 Email:gdcsoi-wb@nic.in | 8 (Eight) |
| 4 | Jharkhand GDC RANCHI | Office of Director, Survey of India Complex, Near Magistrate Colony Doranda, PO: Hinoo Ranchi- 834002 JHARKHAND Phone: 0651 2482789 Fax: 0651 2482789 Email:gdc-soi-jhr@nic.in | 4 (Four) |
| 5 | Madhya Pradesh GDC JABALPUR | Office of Director, Madhya Pradesh GDC Survey Colony Vijay Nagar Jabalpur – 482002 MADHYA PRADESH Phone: 0761-2643182 Fax:0761-2843182 Email:dirmpgdc@bsnl.in | 8 (Eight) |
| 6 | Orissa GDC BHUBANESHWAR | Office of Director Orissa GDC Survey Bhawan PO: RR Laboratory, BHUBANESHWAR- 751013 Phone:0674-2300355 Fax:0674-2301418 Email:dsoibbsr@nic.in | 8 (Eight) |
| 7 | Meghalaya & Arunachal Pradesh GDC SHILLONG | Office of Director Meghalaya & Ar Pradesh GDC Malki, Shillong 790 001 Phone:0364-2223320 Fax:0364-2224937 Email: | 8 (Eight) |
| 8 | Surveyor General of India Dehra Dun | Surveyor General’s Office Hathibarkala Estate Dehra Dun- 248 001 (Uttarakhand) Phone:0135-2746805 Fax:0135-2743331 Email:technical_sgo@hotmail.com | 12 (Twenty) |

Accepted the above-mentioned destination under APPENDIX 1A  of the tender for our item of supply.

Signature of Tenderer

Name:

Address:

- APPENDIX – II

- GENERAL TERMS AND CONDITIONS OF SUPPLY

1.	QUALIFICATION CRITERIA

- The bidder shall be a manufacturer or agent / dealer / distributor of the manufacturer who has designed, manufactured, supplied, erected, commissioned equipment / 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)of similar type and capacity as given in APPENDIX – I of the document and which are in successful operation in other international scientific organizations for five years on the date of bid opening.

- The bidder shall furnish details of supplies made in the last 5 years to the scientific organizations in India along with the user’s certificate regarding satisfactory functioning of the equipment/ 3D READY TFT/LCD/LED  MONITOR.

- The purchaser may, if required, see the demonstration of the equipment / 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)installed in other scientific organizations located nearby Kolkata to verify whether the bidder meets the accuracy criteria as indicated in the technical specifications.  Bids, which do not meet the criteria, will be treated as technically non-responsive.

- The bidder shall furnish a certificate to the effect that Bidder has not been black-listed by any Central/ State Ministry/ Department/ PSU/ any other Govt. organization/DG&SD/ Kendriya Bhandar/ NCCF etc.during last three years.

2.	COUNTRY OF ORIGIN

- All Goods and Services supplied under the Contract shall have their origin in the member countries and territories eligible under the rules.

- For purpose of this clause, “origin” means the place where the goods are made, grown or produced, or from which the services are supplied.  Goods are produced when, through manufacturing, processing or substantial and major assembling of components, a commercially recognized new product results that is substantially different in basic characteristics or in purpose or utility from the components.

- The origin of Goods and Services is distinct from the nationality of the supplier.

3.	FORMAT AND SIGNING OF BID

- The bid shall be typed or written, in English language only, in indelible ink and shall be signed by the bidder or a person or persons duly authorized to the bidder to the contract.  The letter of authorization shall be indicated by written power – of – attorney accompanying the bid.  All pages of the bid, except for un-amended printed literature, shall be initialed by the person or persons signing the bid.

- The bid shall contain no interlineations, erasures or overwriting except as necessary to correct errors made by the bidder, in which case such corrections shall be initialed by the person or persons signing the bid.

4.	CUSTOM DUTY

Survey of India will issue custom duty exemption certificate. Other expenses, if any, regarding custom clearance shall be borne by the supplier.

5.	ADDITIONAL QUESTIONS FOR TENDER ENQUIRIES

Please state that you have submitted your quotation in two parts as indicated below:-

- PART – I

Technical Bid consisting of technical details, bringing out clearly in a separate sheet, deviations, if any, in specifications from those indicated in APPENDIX – I of the Tender Document.

- PART – II

- Financial Bid showing item wise price in a separate sealed cover inside the main cover.

- Please indicate complete break-up of prices indicating clearly the net C.I.F./C.I.P. value, Customs duty etc. in a separate sheet, which should be signed by you.

- Please confirm that you will forward in advance two copies of each of installation, operation and maintenance instructions and diagrams in English, in case contract is awarded and order placed with you.

- Please indicate,  in a separate sheet duly signed by you, full information in respect of the output that you obtained from the machine you have offered; and also that you guarantee for the performance of the machine under the normal conditions and also that you will demonstrate guaranteed output installation of the machine.

- Please attach lists duly signed by you, for such spare parts and tools as are absolutely essential for proper maintenance and operation of machine for a period of ten years (in the case of Electronic and Optical Spare Parts) and 3 years (in the case of Electronic and Mechanical Spare Parts) giving full particulars of the Spare parts and tools with the price of each spare part and tool separately.

- Please confirm that you have adequate servicing and spare parts facilities in India in respect of the equipment/3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)tendered for by you or that you will arrange to provide such facilities simultaneously with the supply of the equipment / 3D TOPO MOUSE

- Please confirm that you undertake the supplies of necessary maintenance of equipment / 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)and spare parts will be made available for life of the machine on a continuous basis at a price not in excess of the net FOB/FAS price after allowing maximum discount and without taking into account any commission payable to the Indian Agents, if any, of the seller.  If any such commission is payable, the same shall be indicated and it shall be payable only in Indian currency.  The life of equipment should be intimated.

- Please indicate that you guarantee that before going out of production of the spare parts, you will give adequate advance notice to the purchaser so that the later may order his requirements of spares in one lot, if he so desires.

Please indicate that you further guarantee that if you go out of production of the spare parts, then you will make available blue prints, drawings of the spare parts and specifications of materials at no cost to the purchaser if and when required in connection with the equipment / 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)to enable the purchaser to fabricate or procure spare parts from other sources.

(i)	The rates approved by the purchaser are final and no further payment will be done irrespective of any increase in Taxes etc.  the contractor will have to bear the cost at his own.  The purchaser will not be held responsible for such obligation.

(j)	The rates approved are inclusive of all prevailing taxes which are to be levied, any non-inclusion of such amount/Tax will be the liability of contractor.

(Signature of Tenderer)

6.	ADDITIONAL QUESTIONS FOR IMPORTED STORES.

(i)  Please indicate here prices on the following basis:-

  - F.O.B.

  - F.A.S. Port of shipment of your Principals / Manufacturers.

  - C.I.F. Value (Indian Port)

  - F.O.R. Station of dispatch (Also indicate the Station of Dispatch)

  - F.O.R. Destination (i.e. Consignee’s site).

(ii)   For F.O.R. quotations, please indicate here separately:-

- Net ex-Factory price.

- Net F.O.R. / F.A.S. Quotations please indicate here separately :-

  - Ex-Factory price

  - Net F.O.R. / F.A.S. price exclusive of profit / commission.

(iii)  Please indicate commission payable to you/Indian Agents/Associates in Rupees.  Also attach a copy of the agreement with your Principals / Manufacturers regarding quantum of Commissions payable.

(iv)   In case you are a foreign firm quoting direct, please indicate:-

  - The name and address of your Indian Agents / Associates / Representatives for servicing in India.

  - Net F.O.B. / F.A.S. price exclusive of the amount of remuneration or commission for the Indian Agents / Associates.

  - Commission / remuneration payable to the Indian Agents / Associates in Rupees.

(v)  Please indicate the following particulars: -

  - the precise relationship between the foreign Manufacturer / Principals and their Indian Agents / Associate.

  - The mutual interest which the Manufacturer / Principals and the Indian Agents / Associates have in the business of each other.

  - Any payment which the Agents / Associates received in India or abroad from Manufacturers / Principals whether as a commission for the contract or as a general retainer fee.

d)   Indian Agent’s Permanent Income Tax Account Number.

(vi)   Please furnish the following certificates on separate sheets, duly signed by you:-

  - Certify that net prices are exclusive of commission, profit etc., to be paid to your Principals / Manufacturers in foreign currency and indicate separately the amount of remuneration / commission / profit which Indian Agents / Associates are entitled in terms of their Agreement with the Foreign Principals.

  - Produce your Principal’s Manufacturer’s proforma invoice a certificate indicating remuneration / commission / discount etc. to be allowed in the particular transactions to their Indian Agents / Associates and the nature of the after sales service to be rendered by Indian Agents / Associates.

( SIGNATURE OF THE TENDERER)

7.	COMPLETENESS / CORRECTNESS OF THE STORES

The contractor / supplier shall be responsible for the correct supply of the stores being ordered and shall replace the same free of cost if found not conforming to the required specifications or incomplete in any performance.  The spares shall be guaranteed for interchangeability and performances.  The changed parts, if any, will be guaranteed for correctness and interchangeability.

8.	DECREASE IN THE QUANTITY TO BE SUPPLIED

Normally no item or quantity will be cancelled or reduced within the delivery period.  But the Indentor / Purchaser reserves the right to cancel any item or reduce any quantity from the purchase order if the stores are not supplied within the original delivery period.

9.	FORCE  MAJEURE

“Force Majeure” means an event beyond the control of the supplier and not involving the supplier’s fault or negligence and not limited to, acts of the Purchaser either in its sovereign or contractual capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such conditions and the cause thereof.  Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonable practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

10.	TERMINATION FOR INSOLVENCY

The Purchaser may at any time terminate the Contract by giving written notice to the Supplier, without compensation to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent, provided that such termination will not prejudice or effect any right of action or remedy which has accrued or will accrue thereafter to the Purchaser.

11.	RISK PURCHASE

If the supplier after submission of bid & due acceptance of the same i.e. after the placement of order fails to abide by the terms of the tender document or fails to supply the material as per delivery schedule/period given or at any time repudiates the contract, the SOI shall have the right  to forfeit the EMD /Performance security deposited by the supplier & procure the stores from other agencies at the risk & consequences of the supplier. The cost of such procurement will be recovered from the supplier.

12.	Blacklisting the firm

If a firm which is awarded the contract violates any of the terms & conditions, it shall be black listed & its EMD / Performance Security shall be forfeited.

13.	APPLICABLE LAW

- The contract shall be interpreted in accordance with the laws of the Union of India.

14.	ARBITRATION CLAUSE

In the event of any dispute arising out of or relating to this tender, it should be referred to sole arbitration of Surveyor General of India or any other person nominated by him whose decision will be final and binding for both the parties.

- APPENDIX –III

- WARRANTY CERTIFICATE

We warrant that everything to be supplied by us hereunder shall be brand new, free from all defects and faults in material workmanship and manufacture and shall be of the highest grade and quality and consistent with the established and generally accepted standards for material of the type ordered, shall be in full conformity with the specifications/drawings of samples if any and shall operate properly.  We shall be fully responsible for its efficient operation.

In case of any latent defect or inconsistency due to poor manufacturing/repair & overhaul of the equipment/ 3D TOPO MOUSE  (For Stereo Digital Photogrammetry software)or defective supply not conforming to the specifications if observed at the time of final inspection and thereafter within five years from the date of acceptance we undertake the guarantee to repair/supply free of cost the defective items up to the final destination and the  inland expenses borne by the indenter, will be at our cost.

This warranty shall survive inspection and payment for and acceptance of the goods but shall expire (Except in respect of complaints of which the contractor has been notified prior to such date) after 36 months of successful acceptance by the purchaser.

- SEAL of manufacturer/supplier Enterprises.

- Signature ……………………………….

- Name & Address of Manufacturer / Supplier

- Dated____________

- APPENDIX –IV

- AGREEMENT

An agreement made______________ day of _____________ between _______________________________(hereinafter called the contractor which expression shall include his  legal representatives) of the one part and, Additional Surveyor General, Eastern Zone, Survey of India, Kolkata on behalf of the Surveyor General of India (hereinafter called purchaser) as the other part for the purchase of the  under mentioned articles at cost mentioned against them viz.:-

| Name of Articles | Qty. | Rate (Rs.) | Total Cost (Rs.) |
| --- | --- | --- | --- |
| 3D TOPO MOUSE (For Stereo Digital Photogrammetry software) | 60 (Sixty) |  |  |

And on the terms and conditions hereinafter  mentioned viz:-

- That all stores  shall  be  delivered  free  of  cost  at  consignee’s  address.

- That all stores supplied shall be new and of good quality and in exact accordance with the sample submitted/equipment quoted and demo given. That the inspection  of the stores shall be carried out by the Addl.S.G. Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016  himself or by a team of Officers deputed by him at the place mentioned in Para above.  The stores rejected must be removed by the contractor within a week from the date of rejection.  All stores not accepted shall lie at the  risk of the contractor.  If not removed within  the period specified above,  The Addl.S.G., Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016 shall have the right to dispose of such stores  as he thinks fit at the risk of the contractor and on his account or if he prefers to charge him rent for the space occupied  by  same.

(b)	That the time  for delivery stated above shall be of the essence of the contract and should the contractor fail to deliver the whole/any part of the stores within the period specified in clause (a) and up to sample the Addl.S.G., Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016, shall have the right to forfeit the deposit mentioned in clause (1) and to purchase the stores elsewhere which the contractor has failed to deliver as aforesaid at the expenses of the contractor and the contractor will be liable to pay such further sum as will be sufficient to meet the difference of cost between the rates tendered and those at   which the purchases are actually made should they be higher.  This is without prejudice to action being  taken under clause (h) hereof.

(c)	That the Addl.S.G., Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016 shall have full power to reject the whole or any part of the stores which to the true intent and meaning is not in exact accordance with the approved sample and  that his decision shall be final.

(d)	That the contractor will deposit a sum of Rs. _____ (Rupees ___________________________________________only) (10% value of order) as  Performance Security  for compliance with the terms and  conditions of this contract in the shape of Bank Guarantee /Fixed Deposit Receipt etc.

(e) 	That the contractor will be entirely responsible for the execution of this contract and shall not assign or sub-let the same.

(f) 	If the contractor becomes insolvent or he or his Agent offers any bribe in connection with their contract or the contractor fails to observe or perform any condition of this contract then not withstanding any previous waiver of such  default or action being taken under any other clause hereof the  Addl. S.G., Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016 may on  behalf of the  Government terminate the contract and forfeit the said deposit and recover from the contractor any loss suffered by the Government on account of  the contract being terminated.

(g)	The rates approved by the purchaser are final and no further payment will be done irrespective of any increase in Taxes etc.  the contractor will have to bear the cost at his own.  The purchaser will not be held responsible for such obligation.

(h)	The rates approved are inclusive of all prevailing taxes which are to be levied, any, non-inclusion of such amount/Tax will be the liability of contractor.

(i)	The goods received will be accepted only after receiving the satisfactory performance certificate from the joint inspection committee. (comprising representative of contractor and purchaser).

(j)	The Contractor will be full responsible for efficient operation of equipment for a period of 60 months of warranty from the date of acceptance.  However, incase of equipment not working for  maximum  of 2 weeks from the time of reporting to the contractor by the Addl.S.G, Eastern Zone, Survey of India, 15 Wood Street, Kolkata – 700 016 or his authorized representative he will be held responsible and equipment will  be replaced by new one at the cost of contractor.

(k)	Incase of any latent defect, which is noticed later on within a  period  of 60 months from the date of acceptance of equipment, the contractor will be responsible to undertake such repair/supply free of cost the defective part, at the final destination and inland expenses will also  be borne by contractor.

(l)	If any dispute or difference shall arise including this contract, the settlement of which is not hereinbefore provided for the same, shall be referred to the arbitration of the Surveyor General of India (or any other person nominated by him) whose decision will be final and binding for both the parties.

- Signed by the said contractor…………………………………….

- In the presence of

1st Witness

- Address

2nd Witness

- Address

- Signed by the said for and on behalf of the

- President of India in the presence of

1st Witness

- Address

2nd Witness

- Address

- APPENDIX –V

- BANK GUARANTEE FOR PERFORMANCE SECURITY

In  consideration of the President of India (hereinafter called “ the Government”) having agreed to exempt _____________(hereinafter called “the said Contractor(s)” from the demand, under the terms and conditions of an Agreement dated ________________ made between _____________ and _________________ for supply of 3D TOPO MOUSE (FOR STEREO DIGITAL PHOTOGRAMMETRY SOFTWARE)(hereinafter called “the said Agreement)” of security deposit for the due fulfillment by the said contractors of the terms and conditions contained in the said Agreement, on production of a Bank  Guarantee for Rs. _________ (Rupees ________________________________ only).  We, (indicate the name of the bank) _____________________(hereinafter referred to as “the Bank”) at the request of ______________________________ Contractor (s) do hereby undertake to pay to the Government an amount not exceeding Rs. ____________________________ against any loss or damage caused to or suffered or would be caused to or suffered by the Government by reason of any breach by the said contractors) of any of the terms or conditions contained in the said Agreement.

2.	We (indicate the name of the Bank) ___________________ do hereby undertake to pay the amount due and payable under this Guarantee without any demur, merely on a demand from the Government stating that the amount claimed is due by way of loss or damage caused to or would be caused to or suffered by the Government by reason of breach by the said Contractor’s) failure to perform the said Agreement.  Any  such demand made on the Bank shall be conclusive as regards  the amount due and payable by the Bank under this Guarantee.  However, our liability, under this Guarantee shall be restricted to an amount not exceeding Rs. _______________.

3.	We undertake to pay to the Government any money so demanded notwithstanding any dispute or disputes raised by the contractor(s) supplier(s) in any suit or proceeding pending before any court or Tribunal relating thereto: our liability under this Guarantee being absolute and unequivocal.

The payment so made by us under this Guarantee shall be a valid discharge of our liability for payment there under and the contractors) shall have no claim against  us for making such payment.

4.	We, (indicate the name of the Bank) __________________ further, agree that the Guarantee herein contained shall remain in full force and effect during the period that would be taken for the performance of the said Agreement and that it shall continue to be enforceable till all the dues of the Government under or by virtue of the said Agreement have been fully paid and its claims satisfied or discharged or till __________ office/Department/Ministry of ________________ certifies that the terms and conditions of the said Agreement have been fully and properly carried out by the said contractor(s) and accordingly discharge this Guarantee.  Unless a demand or claim under this Guarantee is made on us in writing on or before the __________ we shall be discharged from all liability under this Guarantee thereafter.

5.	We, (indicate the name of the Bank) ___________ further agree with the Government  that the Government shall have the fullest liberty without our consent and without affecting in  any manner our obligations hereunder to vary any of the terms and conditions of the said Agreement or to extend time of performance by the said contractor(s) from  time to time or to postpone for anytime or form time to time any of the powers exercisable by the Government against the said contractors) and to forbear or enforce any of the terms and  conditions relating to the said agreement and we shall not be relived from our liability by reason  of any such variation, or extension being granted to the said Contractor  or for any forbearance, act or commission on the part of the Government or any indulgency by the Government to the said contractor(s) or by such matter or thing whatsoever which under the law relating to sureties would, but for this provision, have effect of so relieving us.

6.	This Guarantee will not be discharged due to the change in the constitution of the Bank or the Contractor(s)/Supplier(s).

7.	We, (indicate the name of the Bank) ___________________ lastly undertake not to revoke this guarantee during its currency except with the previous consent of the Government in writing:

8.	This Bank Guarantee submitted by the Tenderer is unconditional in all cases. The Bank Guarantee / Security Deposit is valid for a period of 3 years from the date of acceptance of the equipments/ after training/ signing the contract.

Dated the 			day of                      for      (indicate the name of the Bank)

- APPENDIX V (i)

- BANK GUARANTEE FOR FURNISHING EMD/ BID SECURITY

- Whereas …………………………………………………………………………

(hereinafter called the “tenderer”)

has submitted their offer dated………………………………….………………………

for the supply of …………………………………………………………………………..

(hereinafter called the “tender”)

against the purchaser’s tender enquiry No. …………………………………………..

KNOW ALL MEN by these presents that WE ……………………………………….

of …………………………………………….. having our registered office at ……………………………………………………………. are bound unto ………………….

(hereinafter called the “Purchaser)

in the sum of………………………………………………………………………………

for which payment will and truly to be made to the said Purchaser, the Bank binds itself, its successors and assigns by these presents. Sealed with the Common Seal of the said Bank this…………… day of …………….20……

- THE CONDITIONS OF THIS OBLIGATION ARE:

- If the tenderer withdraws or amends, impairs or derogates from the tender

in any respect within the period of validity of this tender.

- If the tenderer having been notified of the acceptance of his tender by the

Purchaser during the period of its validity:-

- If the tenderer fails to furnish the Performance Security for the due    	 performance of the contract.

b) 	Fails or refuses to accept/execute the contract.

WE undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser will note that the amount claimed by it is due to it owing to the occurrence of one or both the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force upto and including 45 days after the period of tender validity and any demand in respect thereof should reach the Bank not later than the above date.

…………………………….

(Signature of the authorized officer of the Bank)

………………………………………………………….

………………………………………………………….

- Name and designation of the officer

………………………………………………………….

- Seal, name & address of the Bank and address of the Branch