Global Tender Inquiry

DEPARTMENT OF SCIENCE AND TECHNOLOGY

SURVEY OF INDIA

BID DOCUMENT FOR

Supply, Installation/System Integration, Commissioning, Maintenance, Training & Initial Operation Support of Modular Data Centers (6 locations)

(Under CMPDI Project)

NIT No. S- 06 / 15-C-5   Dt.  15-04-2014

Project: Central Mine Planning & Design Institute (CMPDI) Project

Purchaser:

Surveyor General of India, Survey of India,

Post Box: 37, Hathibarkala Estate, DehraDun-248 001,

UTTARAKHAND

Important Dates

Commencement of sale of Tender	..	21st April, 2014 (10.00hrs.)

Pre Bid Meeting		..	..           06th  May,  2014  (11.00 hrs.)

Last date of sale of Tender	..	..          21st May, 2014 (16.00hrs.)

Last date of receipt of Tender	..	22nd  May, 2014 (10.00hrs.)

Technical Bid Opening	..	..	22nd  May, 2014 (10.30hrs.)

Price	- Rs. 10,000/-(Rupees Ten thousand only)

Table of Contents

ITEMS									      PAGES

NOTICE INVITING TENDER								3 to 5

PART 1 – Bidding Procedures	6

Section I.  Instructions to Bidders								7 to 28

Section II.  Bidding Data Sheet (BDS)						          29

Section III.  Evaluation and Qualification Criteria					          34 to 37

Section IVA.  Bidding Forms (UNPRICED BID)				                      38 to 66

Section IVB.  Bidding Forms (PRICED BID)					          67 to 77

Section V Eligible Countries								       78

PART 2 – Supply Requirements                                                                                    79 to 95

Section VI.  Schedule of Requirements						         80 to 95

PART 3 - Contract                                                                                                       96 to 126

Section VII.  General Conditions of Contract   					       97 to 117

Section VIII.  Special Conditions of Contract					      118 to 119

Section IX.  Contract Forms							     120 to 124

ABBREVIATIONS USED

1.	BDS		--	Bidding Data Sheet

2.	ITB		--	Instruction To Bidders

3.	GCC		--	General Conditions of Contract

4.	SCC		--	Special Condition of Contract

5.	AMC		--	Annual Maintenance Contract

6.	CMC		--	Comprehensive Maintenance Contract

Notice Inviting Tender (NIT)

- Supply, Installation/System Integration, Commissioning, Maintenance, Training & Initial Operation Support

- of Modular Data Centers (6 locations)

Tender Enquiry No. S- 06   /15-C-5                                           	Date: 15-04-2014

1.	Survey of India intends to establish Six Modular data Centres for Central Mine Planning & Design Institute (CMPDI) Project at Six locations comprising of the following components.

| Line Item No. | Description of the Instrument | Unit | Quantity | Cost of Bid Document in Rs. | Bid Security in Rs. |
| --- | --- | --- | --- | --- | --- |
| 1. | Network Storage Device | Nos. | 6 ( 1 at each location) | 10,000/= | 15,00,000/= |
| 2. | Server | Nos. | 12( 2 at each location) |  |  |
| 3. | Backup Device | Nos | 6 ( 1 at each location) |  |  |
| 4 | Modular Box with non-IT componets of Data-Centre | Nos | 6 ( 1 at each location) |  |  |
| 5 | LAN for 40 client nodes | Nos | 6 ( 1 at each location) |  |  |

2.	The Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002, for and on behalf of the Surveyor General of India,  now invites sealed tenders from eligible and qualified bidders for Supply, Installation/System Integration, Commissioning , Maintenance, Training & Initial Operation Support of Modular Data Centers (6 locations) at Survey of India’s offices. The bidder should submit the bid for all the line items as specified above.

3.	Interested eligible bidders may obtain further information from the office of Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002 and inspect the Bidding Documents at the address given above from  10.00AM to 5.00 PM  on working days.

4.   A complete set of bidding documents may be purchased from the office of “Additional Surveyor General (Addl. SG), Jharkhand Geo-spatial Data Centre (JGDC), Survey of India, PO: Doranda, Ranchi, Jharkhand-834002” from 21st  Apr. 2014 to 21st  May 2014, for a non-refundable fee of Rs. 10,000/-   or an equivalent amount in freely convertible currency in the form of  Pay Order/ Demand Draft on any Scheduled bank payable at Ranchi(Jharkhand) in favour of Drawing & Disbursing Officer, Jharkhand Geo-Spatial Data Centre, Ranchi- 834 002.

5.	 If requested, the Complete Set of Bidding Documents will be mailed by Registered Post/Speed Post to the domestic bidders and by international airmail to the foreign bidders, for which extra expenditure per set of bidding documents will be Rs 500/- for domestic post and Rs 2000/- for international airmail. The bidder is to add the applicable postage cost in the non-refundable fee mentioned in Para-4 above. Addl. SG, JGDC, will not be held responsible for the postal delay if any, in the delivery of the documents or non-receipt of the same.

6.	The notice and the bidding document can also be seen with option to download from the official website of Survey of India (www.surveyofindia.gov.in).  The down loaded bid document can be submitted along with non refundable fee mentioned above towards the cost of the bid document. The bid shall be rejected if any portion of the document differs from the approved bid document available in the above mentioned office/published on above mentioned website .The Bidder who downloads the bid documents should regularly access the same website for clarifications, and pre-bid meeting minutes, if any, and shall be responsible for ensuring that any addenda available in web site is also downloaded & incorporated.

7. The Schedule of Requirements for all the schedules are contained in a single bidding document. Bidders are required to bid for all the line items.

(a)        Price of bidding document                    : Rs 10,000.00

(non-refundable)

(b)	Postal charges, inland			: Rs 500.00

(c)	Postal charges, overseas		: Rs 2000.00

(d)	Date of commencement of		: 21st  Apr 2014 (10.00Hrs)

sale of bidding document

(e)	Last date for sale of 			: 21th May 2014 (16.00Hrs)

bidding document

(f)	Date of Pre-bid meeting	               : 06th May 2014 (11.00Hrs)

(g)	Last date and time for			: 22th May 2014 (10.00Hrs)

receipt of bids

(h)	Time and date of 			: 22th  May 2014 (10.30Hrs)

opening of technical bids

(i)	Place of opening of bids		:  Additional Surveyor General,

Jharkhand Geo-spatial Data Centre,

Survey of India,

PO: Doranda,

Ranchi, Jharkhand-834002.

(j)	Address for				: Additional Surveyor General,

Communication	                     	              Jharkhand Geo-spatial Data Centre,

Survey of India,

PO: Doranda,

Ranchi, Jharkhand-834002.

8. 		Bids will be opened in the presence of the bidders’ representatives who choose to attend in person at the address and time indicated above.  All bids must be accompanied by a Bid Security of Rs 15,00,000/= (Fifteen lakhs only )  or an equivalent amount in a freely convertible currency.

9.   The address referred to above is:

Additional Surveyor General,

Jharkhand Geo-spatial Data Centre,

Survey of India,

PO: Doranda,

Ranchi, Jharkhand-834002.

Ph No : 0651-2482789

Facsimile: 0651-2482789

Email: jhar.gdc.soi@gov.in

Web: www.surveyofindia.gov.in

# PART 1 – Bidding Procedures

Section I. Instructions to Bidders

Table of Clauses

General	         9

Scope of Bid	9

Source of Funds	----9

Fraud and Corruption	9

Eligible Bidders	10

Eligible Goods and Related Services	11

Contents of Bidding Documents	        11

Sections of Bidding Documents	11

Clarification of Bidding Documents	12

Amendment of Bidding Documents	13

Preparation of Bids	       13

Cost of Bidding	13

Language of Bid	13

Documents Comprising the Bid	13

Bid Submission Form and Price Schedules	15

Alternative Bids	15

Bid Prices and Discounts	15

Currencies of Bid	17

Documents Establishing the Eligibility of the Bidder	17

Documents Establishing the Eligibility of the Goods and Related Services	18

Documents Establishing the Conformity of the Goods and Related Services	18

Documents Establishing the Qualifications of the Bidder	18

Period of Validity of Bids	19

Bid Security	19

Format and Signing of Bid	20

Submission and Opening of Bids	       21

Submission, Sealing and Marking of Bids	21

Deadline for Submission of Bids	22

Late Bids	22

Withdrawal, Substitution, and Modification of Bids	22

Bid Opening	23

Evaluation and Comparison of Bids	        24

Basic Principle	24

Preliminary Scrutiny of Tenders	24

Minor Infirmity/Irregularity/Non-Conformity	25

Discrepancies in Prices	25

Discrepancy between original and copies of Tender	26

Eligibility and Qualification Criteria	26

Conversion to Indian Rupees	26

No Lotwise Evaluation	26

Comparison of Tenders	26

Tenderer's Capability to Perform the Contract	26

Contacting the Purchaser	27

Award of Contract	       27

Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids	27

Award Criteria	27

Purchaser’s Right to Vary Quantities at Time of Award	27

Notification of Award	27

Issue of Contract	28

Performance Security	28

Section I. Instructions to Bidders

General

1.Scope of Bid - The Purchaser indicated in the Bidding Data Sheet (BDS), issues these Bidding Documents for the supply of Goods and Related Services incidental there to as specified in Section VI, Schedule of Requirements. The name, identification, and number of lots of this Tender are provided in the BDS. - Throughout these Bidding Documents: ### the term “in writing” means communicated in written form (e.g. by mail, e-mail, fax, telex) with proof of receipt; ### if the context so requires, “singular” means “plural” and vice versa; and ### “day” means calendar day.

2. Source of Funds 2.1 Expenditure to be incurred for this Contract shall be met from the funds available from the Coal Mine Planning Design Institute (CMPDI) Project

3. Fraud and Corruption 3.1 It is required by all concerned namely the Consignee/Tenderers/Suppliers etc to observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the Purchaser: - (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) “corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution; and (ii) “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Purchaser, and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish Tender prices at artificial non-competitive levels and to deprive the Purchaser of the benefits of free and open competition; (b) will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question; (c) will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract by the purchaser if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing the contract.

4. Eligible Bidders 4.1 A Bidder shall not have a conflict of interest. All bidders found to have conflict of interest shall be disqualified. Bidders may be considered to have a conflict of interest with one or more parties in this bidding process, if they: - are or have been associated in the past, with a firm or any of its affiliates which have been engaged by the Purchaser to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement of the goods to be purchased under these Bidding Document. Further, if the purchasing Ministry/Department engages a consultant to prepare a project report, that consultant will not be eligible to quote against the tender enquiry subsequently floated by that Ministry/ Department for purchase of goods for that project ; or ### (b) submit more than one bid in this bidding process; ### (c) Both Indian agent & OEM/Principal cannot bid together (d) Indian agent cannot bid for two or more principals/OEM 4.2 The suppliers/ firms who stand deregistered/ banned/ black-listed by any Government Authority due to any reason including corrupt and fraudulent practices adopted by them will not be eligible to receive government contract. 4.3 Indian manufacturers should have got registered with company of Law Affairs under Company’s Act. 4.4 Indian Agents representing Foreign Principals should have got enlisted with Central Purchase Organization (e.g. DGS&D) as per compulsory enlisted scheme of Department of Expenditure, Ministry of Finance as per provision of Rule 143 of General Financial Rule 2005. Also please visit www.dgsnd.gov.in for enlistment. 4.5 Bidders shall provide such evidence of their continued eligibility satisfactory to the Purchaser, as the Purchaser shall reasonably request.

5. Eligible Goods and Related Services 5.1 All goods and related services to be supplied under the contract shall have their origin in India or any other country with which India has not banned trade relations. The term “origin” used in this clause means the place where the goods are mined, grown, produced, or manufactured or from where the related services are arranged and supplied. The bidder shall declare the Origin of Goods in the price schedules attached at Section IV. 5.2 For purposes of this Clause, the term “goods” includes commodities, raw material, machinery, equipment, and industrial plants; and “related services” includes services such as insurance, installation/system Integration, Commissioning, training, and initial maintenance and operation support. 5.3 The term “origin” means the country where the goods have been mined, grown, cultivated, produced, manufactured or processed; or, through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. Content of Bidding Documents 6. Sections of Bidding Documents 6.1 In addition to the ‘Notice Inviting Tender’ the Bidding Documents consist of Parts 1, 2, and 3 which include all the Sections indicated below, and should be read in conjunction with any Addendum issued in accordance with ITB Clause 8. PART 1 Bidding Procedures - Section I. Instructions to Bidders (ITB) - Section II. Bidding Data Sheet (BDS) - Section III. Evaluation and Qualification Criteria - Section IV. Bidding Forms PART 2 Supply Requirements - Section VI. Schedule of Requirements PART 3 Contract - Section VII. General Conditions of Contract (GCC) - Section VIII. Special Conditions of Contract (SCC) - Section IX. Contract Forms 6.2 The Purchaser is not responsible for the completeness of the Bidding Documents and their addendum, if they were not obtained directly from the Purchaser. 6.3 The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Documents. Failure to furnish all information or documentation required by the Bidding Documents may result in the rejection of the bid. 7. Clarification of Bidding Documents 7.1A prospective Bidder requiring any clarification of the Bidding Documents shall contact the Purchaser in writing or by e-mail at the Purchaser’s address/e-mail specified in the BDS. The Purchaser will respond in writing/e-mail to any request for clarification, provided that such request is received no later than fifteen (15) days prior to the deadline for submission of bids. In case the query is of important nature the Purchaser may publish its response in the web-site mentioned in the Bidding Documents including a description of the inquiry but without identifying its source. Should the Purchaser deem it necessary to amend the Bidding Documents as a result of a clarification, it shall do so following the procedure under ITB Clause 8 and ITB Sub-Clause 24.2. 7.2 Pre-bid meeting 7.2.1 The bidder or his official representative is invited to attend a pre-bid meeting which will take place at the Conference Hall, Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002. On 6th May 2014 at 11.00 hrs. 7.2.2 The purpose of the meeting will be to clarify issues and to answer questions on any matter that may be raised at that stage. 7.2.3 The bidder is requested to submit any questions in writing or by e-mail (jhar.gdc.soi@gov.in ) to reach the Purchaser not later than one week before the meeting. 7.2.4 Minutes of the meeting, including the text of the questions raised (without identifying the source of enquiry) and the responses given will be published on the SOI website www.surveyofindia.gov.in. Any modification of the bidding documents listed in Sub-Clause 8.1 which may become necessary as a result of the pre-bid meeting shall be made by the Employer exclusively through the issue of an Addendum pursuant to Clause 8, which shall be published on website mentioned above and not through minutes of the pre-bid meeting. 7.2.5 Non-attendance at the pre-bid meeting will not be a cause for disqualification of a bidder.

8. Amendment of Bidding Documents 8.1 At any time prior to the deadline for submission of bids, the Purchaser may amend the Bidding Documents by issuing addendum. 8.2 Any addendum issued shall be part of the Bidding Documents and shall be published on SOI website www.surveyofindia.gov.in 8.3 To give prospective Bidders reasonable time in which to take an addendum into account in preparing their bids, the Purchaser may, at its discretion, extend the deadline for the submission of bids, pursuant to ITB Sub-Clause 24.2

Preparation of Bids

9. Cost of Bidding 9.1 The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process.

10. Language of Bid - The Bid, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, shall be written in the language specified in the BDS. Supporting documents and printed literature that are part of the Bid may be in another language provided they are accompanied by an accurate translation of the relevant passages into the language specified in the BDS, in which case, for purposes of interpretation of the Bid, such translation shall govern. - The tender submitted by the tenderer and all subsequent correspondence and documents relating to the tender exchanged between the tenderer and the purchaser, may also be written in the Hindi language, provided that the same are accompanied by English translation, in which case, for purpose of interpretation of the tender etc, the English translations shall prevail.

### 11. Documents Comprising the Bid ### 11.1 The Two Tender System, i.e. “Techno – Commercial Tender” and “Price Tender” prepared by the tenderer shall comprise the following: ### (A) Techno – Commercial Bid (Un-priced Bid) ### i) Bid Security in accordance with ITB Clause 21 ### ii) Bidding Forms as per Section IV (without indicating any prices) including ### (1) Bidder Information Form ### (2) Bid Submission Form for UNPRICED BID ### (3) Price Schedule for UNPRICED BID filled up with all the details including Make, Model etc. of the goods offered with prices blank (but without indicating any prices). ### Price Schedule – Related Services (but without indicating any prices) ### (4) Price Schedule – Comprehensive Annual Maintenance Contract (Price Schedules for UNPRICED BID shall be filled up consignment-site wise). ### (5) Bid Security (Bank Guarantee) ### (6) Manufacturer’s Authorization ### (7) Service Support Details ### (8) Technical Detail Form ### (9) Performance Statement Form along with relevant copies of orders and end users’ satisfaction certificate, in support of para 4(b) of Section III. (10) Undertaking of Authenticity for Desktops and Server Supplies ### i) Documentary evidence, as necessary in terms of ITB Clause 4 and ITB Clause 16.1, establishing that the bidder is eligible to submit the tender. ### ii) Documentary evidence, as necessary in terms of ITB Clause 19.1 establishing that the bidder meets the qualifications to perform the contract if its tender is accepted. ### iii) Documentary evidence in accordance with ITB Clause 17, that the Goods and Related Services to be supplied by the Bidder are of eligible origin; ### iv) Power of Attorney should be on non-judicial stamp paper of appropriate value in favour of signatory of Manufacturer’s Authorization Form pursuant to ITB Clause 19.1. ### v) Documents and relevant details to establish in accordance ITB Clauses 18 and 30 and Section VI/3 (Technical Specifications) that the goods and the allied services to be supplied by the tenderer conform to the requirement of the bid documents. ### vi) Certificate of Incorporation in the country of origin. ### vii) any other UNPRICED document required in the BDS. (B) Priced Bid: ### The information given at clause no. 11.1 (A) ii (2), (3) above should be reproduced with the prices indicated. Thus, the Priced Bid shall comprise the following: ### (4) i. Price Schedule for PRICED BID filled up with all the details including Make, Model etc. of the goods offered. Price Schedule for PRICED BID shall be filled up consignment-site wise. ### (4) ii. Price Schedule – Related Services ### (4) iii. Price Schedule – Comprehensive Annual Maintenance Contract ### (4) iv. Bid Submission Form for PRICED BID (Price Schedules for PRICED BID shall be filled up consignment-site wise). ### N.B. ### (a) All pages of the bid should be page numbered and indexed. ### (b) It is the responsibility of bidder to go through the bid document to ensure furnishing all required documents in addition to above, if any. ### 11.2 The authorized signatory of the tenderer must sign the tender duly stamped at appropriate places and initial all the remaining pages of the tender. ### 11.3 A tender, which does not fulfill any of the above requirements and/or gives evasive ### information/ reply against any such requirement, shall be liable to be rejected. ### 11.4 Tender sent by fax/telex/cable/electronically shall be ignored.

12. Bid Submission Form and Price Schedules - The Bidder shall submit the Bid Submission Form using the form furnished in Section IV, Bidding Forms. This form must be completed without any alterations to its format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested. - The Bidder shall submit the Price Schedules for Goods and Related Services for PRICED BIDS, according to their origin as appropriate, using the forms furnished in Section IV, Bidding Forms

13.Alternative Bids - Alternative bids shall not be considered.

14. Bid Prices and Discounts - The prices and discounts quoted by the Bidder in the Bid Submission Form and in the Price Schedules of PRICED BID shall conform to the requirements specified below. - All lots and items must be listed and priced separately in the Price Schedules of PRICED BID. - The price to be quoted in the Bid Submission Form of PRICED BID shall be the total price of the bid, excluding any discounts offered. - The Bidder shall quote any unconditional discounts and indicate the method for their application in the Bid Submission Form of PRICED BID. - The terms EXW, FOB, CIP, and other similar terms shall be governed by the rules prescribed in the current edition of Incoterms 2010, published by The International Chamber of Commerce,. - Prices shall be quoted as specified in each Price Schedule included in Section IV, Bidding Forms. The dis-aggregation of price components is required solely for the purpose of facilitating the comparison of bids by the Purchaser. This shall not in any way limit the Purchaser’s right to contract on any of the terms offered. In quoting prices, for transportation and insurance services Bidder shall conform with the requirements of GCC Clauses 25 and 24: ### For domestic goods or goods of foreign origin already imported: - the price of the goods quoted EXW (ex works/ ex-factory/ ex-showroom/ ex-warehouse/ off-the-shelf, as applicable), including all taxes and duties like sales tax, VAT, Custom Duty, Excise Duty etc. already paid or payable on the components and raw material used in the manufacture or assembly of the goods quoted ex-factory etc. or on the previously imported goods of foreign origin quoted ex-showroom etc; (ii) any Purchaser’s Country sales tax and other taxes which will be payable on the Goods if the contract is awarded to the Bidder; and - the price for inland transportation, insurance, storage, packing & forwarding, loading/unloading and other local services required to convey the Goods to their final destination (Project Site) specified in the BDS. - Turn-key and other related services for installation, testing, commissioning , training, operating support etc inclusive of all applicable taxes - Comprehensive Annual Maintenance Cost discounted to present NPV inclusive of all applicable taxes - For Goods manufactured outside the Purchaser’s Country, to be imported: - the price of the Goods, quoted (FOB/FCA + Ocean/Air Freight) at named port/airport of destination, in the Purchaser’s Country, as specified in the BDS; - the price for inland transportation, insurance, storage, packing & forwarding, loading/unloading, custom clearance and other local, services required to convey the Goods from the entry-port to their final destination (Project Site) specified in the BDS on DDP basis ; - Turn-key and other related services for installation, testing, commissioning , training, operating support etc inclusive of all applicable taxes - Comprehensive Annual Maintenance Cost discounted to present NPV inclusive of all applicable taxes - Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the Contract and not subject to variation on any account. A Bid submitted with an adjustable price quotation shall be treated as non responsive and shall be rejected, pursuant to ITB Clause 30 - Bidders should quote for all the lots (line-items) and also 100% percent of the quantities specified for each lot. Bids of bidders not quoting for all the line-items and/or full quantity of each of the line-items as mentioned in ITB Clause 1.1 - shall be treated as non-responsive. 14.9 Octroi Duty and Local Duties & Taxes: Normally, goods to be supplied to government departments against government contracts are exempted from levy of town duty, Octroi duty, terminal tax and other levies of local bodies. However, on some occasions, the local bodies (like town body, municipal body etc.) as per their regulations allow such exemptions only on production of certificate to this effect from the concerned government department. Keeping this in view, the supplier shall ensure that the stores to be supplied by the supplier against the contract placed by the purchaser are exempted from levy of any such duty or tax and, wherever necessary, obtain the exemption certificate from the purchaser. However, if a local body still insists upon payment of such local duties and taxes, the same should be paid by the supplier to the local body to avoid delay in supplies and possible demurrage charges and obtain a receipt for the same. The supplier should forward the receipt obtained for such payment to the purchaser to enable the purchaser reimburse the supplier and take other necessary action in the matter.

15. Currencies of Bid - Domestic Bidders shall quote and accept payment in Indian Currency - Indian agents of foreign suppliers shall receive their agency commission in Indian Currency. 15.3 Costs of imported goods, which are directly imported against the Contract, are to be quoted in any freely convertible currency say US Dollar, Euro, GBP or Yen and paid accordingly in that currency. 15.4 The portion of the allied work and services, which are to be undertaken in India (like installation & commissioning of equipment), though quoted in freely convertible currency shall be paid in Indian currency.

16. Documents Establishing the Eligibility of the Bidder - To establish their eligibility in accordance with ITB Clause 4, Bidders shall complete the Bid Submission Form, included in Section IV, Bidding Forms and submit documents as required therein.

17. Documents Establishing the Eligibility of the Goods and Related Services - To establish the eligibility of the Goods and Related Services in accordance with ITB Clause 5, Bidders shall complete the country of origin declarations in the Price Schedule Forms of Techno-Commercial Un-priced Bid (which does not include the PRICE), included in Section IV, Bidding Forms.

18. Documents Establishing the Conformity of the Goods and Related Services - To establish the conformity of the Goods and Related Services to the Bidding Documents, the Bidder shall furnish as part of its Bid the documentary evidence that the Goods conform to the technical specifications and standards specified in Section VI, Schedule of Requirements. - The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the Goods and Related Services, demonstrating substantial responsiveness of the Goods and Related Services to the technical specification, and if applicable, a statement of deviations and exceptions to the provisions of the Schedule of Requirements. - The Bidder shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period of 10 (ten) years following commencement of the use of the goods by the Purchaser. - Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Purchaser in the Schedule of Requirements, are intended to be descriptive only and not restrictive. The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Purchaser’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Schedule of Requirements.

19. Documents Establishing the Qualifications of the Bidder - The documentary evidence of the Bidder’s qualifications to perform the contract if its bid is accepted shall establish to the Purchaser’s satisfaction: (a) that, if required in the BDS, a Bidder that does not manufacture or produce the Goods it offers to supply shall submit the Manufacturer’s Authorization using the form included in Section IV, Bidding Forms, for all the line items (lots) listed in BDS/Reference Clause ITB 1.1, to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply these Goods in the Purchaser’s Country. Power of Attorney in favour of signatory of Manufacturer’s Authorization Form should also be submitted. - not doing business within the Purchaser’s Country, the Bidder is or will be (if awarded the contract) represented by an Agent in the country equipped and able to carry out the Supplier’s maintenance, repair and spare parts-stocking obligations and provide operational support prescribed in the Conditions of Contract and/or Technical Specifications; and - that the Bidder meets each of the qualification criterion specified in Section III, Evaluation and Qualification Criteria. - bidder can submit only 1(one) bid. Bids from bidders submitting more than 1(one) bid, shall be treated as non-responsive. - Supplies for any particular item in each lot of the bid should be from one manufacturer only for the entire quantity required. Bids from agents offering supplies from different manufacturers for the same item of the lot in the bid will be treated as non-responsive

20. Period of Validity of Bids - Bids shall remain valid for the period 180 days from the opening of the price bid. A bid valid for a shorter period shall be rejected by the Purchaser as non responsive. - In exceptional circumstances, prior to the expiration of the bid validity period, the Purchaser may request bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. If a Bid Security is requested in accordance with ITB Clause 21, it shall also be extended for a corresponding period. A Bidder may refuse the request without forfeiting its Bid Security. A Bidder granting the request shall not be required or permitted to modify its bid.

21. Bid Security - The Bidder shall furnish as part of its bid, a Bid Security. - The Bid Security shall be in the amount specified in the BDS and denominated in the currency of the Purchaser’s Country and shall: ### at the bidder’s option, be in the form of a bank guarantee valid for six months (validity may require further extension) from a banking institution in acceptable form any of commercial Banks; ### be substantially in accordance with one of the forms of Bid Security included in Section IV, Bidding Forms, or other form approved by the Purchaser prior to bid submission; ### be payable promptly upon written demand by the Purchaser in case the conditions listed in ITB Clause 21.5 are invoked; ### be submitted in its original form; copies will not be accepted; ### remain valid for a period of 45 days beyond the validity period of the bids, as extended, if applicable, in accordance with ITB Clause 20.2; ### The earnest money shall be denominated in Indian Rupees for an amount of 15,00,000/- (fifteen lakhs) or equivalent freely convertible currencies as per ITB Clause 15 ### If the bid security is taken in India it should be from Nationalized/Scheduled Banks In the case of Bank Guarantee furnished from banks outside India (i.e. foreign Banks), it should be authenticated and countersigned by any Nationalized Bank in India by way of back- to-back counter guarantee. - Any bid not accompanied by a substantially responsive Bid Security or Bid Securing Declaration in accordance with ITB Sub-Clause 21.1, shall be rejected by the Purchaser as non-responsive. - The Bid Security of unsuccessful Bidders shall be returned to them without any interest, after expiry of the tender validity period, but not later than thirty days after conclusion of the resultant contract. Successful tenderer’s earnest money will be returned without any interest, after receipt of performance security from that tenderer. - The Bid Security may be forfeited or the Bid Securing Declaration executed: ### if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Submission Form, except as provided in ITB Sub-Clause 20.2; or ### if the successful Bidder fails to: #### sign the Contract in accordance with ITB Clause 43; #### furnish a Performance Security in accordance with ITB Clause 44.

22. Format and Signing of Bid - The Bidder shall prepare one original of the documents comprising the bid as described in ITB Clause 11 and clearly mark it “Original.” In addition, the Bidder shall submit one DUPLICATE copy of the bid, and clearly mark it “DUPLICATE Copy.” In the event of any discrepancy between the original and the copies, the original shall prevail. - The original and all copies of the bid shall be typed or written in indelible ink and shall be signed by a person duly authorized to sign on behalf of the Bidder. “Power of Attorney on non-judicial stamp paper of appropriate value” confirming the signature as a person duly authorized to sign on behalf of the bidder should be attached with the bid. - Any inter-lineation, erasures, or overwriting shall be valid only if they are signed or initialed by the person signing the Bid. - All the copies of the tender shall be duly signed at the appropriate places as indicated in the TE documents and all other pages of the tender including printed literature, if any shall be initialed by the same person(s) signing the tender.

23. Submission and Opening of Bids

Submission, Sealing and Marking of Bids - (a)Bidders may always submit their bids by mail or by hand. Bidders shall not have the option of submitting their bids electronically. (b)The tenderers are to deposit the tenders in the tender box kept for this purpose at the office of : Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002. Ph No : 0651-2482789 . (c)In case of bulky tender, which can not be put into tender box, the same shall be submitted by the tenderer by hand to the nominee of Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Ranchi-834 002. The officer receiving the tender will give the tenderer an official receipt duly signed with date and time. 23.2 Two Bid System is being followed in this Tender. Bidders are required to bi-furcate their quotation in two parts. The first part is to contain the relevant technical specifications and allied commercial details as required in terms of the tender enquiry documents and the second part shall contain only the price quotation. The first part shall be superscribed as ‘Techno-Commercial (UNPRICED) Bid’ and the second part ‘Financial (PRICED) Bid’. ### The ‘Techno-Commercial (UNPRICED) Bid’ and the ‘Financial (PRICED) Bid’ should be sealed by the tenderer in separate covers duly super scribed and both these sealed covers are to be put in a bigger cover. The rest of the procedure shall be in accordance with ITB sub-Clauses 23.3 and 23.4. ### 23.3 Bidders submitting bids by mail or by hand, shall enclose the ORIGINAL and DUPLICATE copy of the Bid in separate sealed envelopes, duly marking the envelopes as “Original” and “Copy.” These envelopes containing the original and the copies shall then be enclosed in one single envelope. The rest of the procedure shall be in accordance with ITB sub-Clauses 23.2, 23.3 and 23.4. - The inner and outer envelopes shall: ### Bear the name and address of the Bidder; ### be addressed to the Purchaser in accordance with ITB Sub-Clause 24.1; ### bear the specific identification of this bidding process indicated in ITB 1.1 and any additional identification marks as specified in the BDS; and ### bear a warning not to open before the time and date for bid opening, in accordance with ITB Sub-Clause 27.1. - If all envelopes are not sealed and marked as required, the Purchaser will assume no responsibility for the misplacement or premature opening of the bid.

24. Deadline for Submission of Bids - Bids must be received by the Purchaser at the address and no later than the date and time specified in the BDS. - The Purchaser may, at its discretion, extend the deadline for the submission of bids by amending the Bidding Documents in accordance with ITB Clause 8, in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline shall thereafter be subject to the deadline as extended.

25 Late Bids - The Purchaser shall not consider any bid that arrives after the deadline for submission of bids, in accordance with ITB Clause 24. Any bid received by the Purchaser after the deadline for submission of bids shall be declared late, rejected, and returned unopened to the Bidder.

26.Withdrawal, Substitution, and Modification of Bids - A Bidder may withdraw, substitute, or modify its Bid after it has been submitted by sending a written notice in accordance with ITB Clause 23, duly signed by an authorized representative, and shall include a copy of the authorization (the Power of Attorney on non-judicial stamp paper of appropriate value) in accordance with ITB Sub-Clause 22.2, (except that no copies of the withdrawal notice are required). The corresponding substitution or modification of the bid must accompany the respective written notice. All notices must be: - submitted in accordance with ITB Clauses 22 and 23 (except that withdrawal notices do not require copies), and in addition, the respective envelopes shall be clearly marked “Withdrawal,” “Substitution,” or “Modification;” and - received by the Purchaser prior to the deadline prescribed for submission of bids, in accordance with ITB Clause 24. - Bids requested to be withdrawn in accordance with ITB Sub-Clause 26.1 shall be returned unopened to the Bidders. - No bid may be withdrawn, substituted, or modified in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Submission Form or any extension thereof.

27. Bid Opening - The Purchaser shall conduct the bid opening in public at the address, date and time specified in the BDS. 27.2 Authorized representatives of the tenderers, who have submitted tenders on time may attend the tender opening provided they bring with them letters of authority from the corresponding tenderers. The tender opening official(s) will prepare a list of the representatives attending the tender opening. The list will contain the representatives’ names & signatures and corresponding tenderers’ names and addresses. 27.3 First, envelopes marked “Withdrawal” shall be opened and read out and the envelope with the corresponding bid shall not be opened, but returned to the Bidder. If the withdrawal envelope does not contain a copy of the “Power of Attorney on non-judicial stamp paper of appropriate value” confirming the signature as a person duly authorized to sign on behalf of the Bidder, the corresponding bid will be opened. No bid withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorization to request the withdrawal and is read out at bid opening. Next, envelopes marked “Substitution” shall be opened and read out and exchanged with the corresponding Bid being substituted, and the substituted Bid shall not be opened, but returned to the Bidder. No Bid substitution shall be permitted unless the corresponding substitution notice contains a valid authorization to request the substitution and is read out at bid opening. Envelopes marked “Modification” shall be opened and read out with the corresponding Bid. No Bid modification shall be permitted unless the corresponding modification notice contains a valid authorization to request the modification and is read out at Bid opening. All other envelopes shall be opened one at a time thereafter. Only envelopes that are opened and read out at Bid opening shall be considered further. No Bid shall be rejected at Bid opening except for late bids, in accordance with ITB Sub-Clause 25.1. 27.4 The Techno-Commercial Tenders shall be opened in the first instance, at the prescribed time and date as indicated in the BDS corresponding to ITB 27.1. These Tenders shall be scrutinized and evaluated by the competent committee/ authority with reference to parameters prescribed in the TE document. During the Techno - Commercial Tender opening, the tender opening official(s) will read the salient features of the tenders like brief description of the goods offered, delivery period, Earnest Money Deposit and any other special features of the tenders, as deemed fit by the tender opening official(s). The Purchaser shall prepare a record of the Techno-Commercial Bid opening. 27.5 Thereafter, in the second stage, the Priced Tenders of only the Techno - Commercially acceptable offers (as evaluated in the first stage) shall be opened for further scrutiny, evaluation, ranking and placement of contract on a date notified after the evaluation of the Techno – Commercial tender..The date of Priced Bid Opening shall be notified on www.surveyofindia.gov.in website .The prices, special discount if any of the goods offered etc., as deemed fit by tender opening official(s) will be read out during this stage. The Purchaser shall prepare a record of the Priced Bid opening.

Evaluation and Comparison of Bids

28. Basic Principle 28.1 Tenders will be evaluated on the basis of the terms & conditions already incorporated in the bid document (based on which offers have been received) and the terms, conditions etc. stipulated by the tenderers in their tenders. No new condition shall be brought in while evaluating the tenders. Similarly, no tender enquiry condition (specially the significant/essential ones) shall be over looked while evaluating the tenders. Aim should be to ensure that no tenderer gets undue advantage at the cost of other tenderers and/or at the cost of the purchaser. 29. Preliminary Scrutiny of Tenders 29.1 The Purchaser will examine the Tenders to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished, whether the documents have been properly signed stamped and whether the Tenders are generally in order. 29.2 Prior to the detailed evaluation of Price Tenders, pursuant to ITB Clause 36, the Purchaser will determine the substantial responsiveness of each Tender to the Tender Document. For purposes of these clauses, a substantially responsive Tender is one, which conforms to all the terms and conditions of the Tender Documents without material deviations. Deviations from, or objections or reservations to critical provisions such as those concerning Performance Security (GCC Clause 18), Warranty (GCC Clause 28), EMD (ITB Clause 21), Taxes & Duties (GCC Clause 17), Force Majeure (GCC Clause 32) and Applicable law (GCC Clause 37) will be deemed to be a material deviation. The Purchaser’s determination of a Tender’s responsiveness is to be based on the contents of the tender itself without recourse to extrinsic evidence. 29.3 If a Tender is not substantially responsive, it will be rejected by the Purchaser and cannot subsequently be made responsive by the Tenderer by correction of the nonconformity. 29.4 The tenders will be scrutinized to determine whether they are complete and meet the essential and important requirements, conditions etc. as prescribed in the TE document. The tenders, which do not meet the basic requirements, are liable to be treated as non – responsive and will be summarily ignored. 29.5 The following are some of the important aspects, for which a tender shall be declared non – responsive and will be summarily ignored; (i) Bid form as per Section IV (signed and stamped) not enclosed (ii) Tender is unsigned. (iii) Tender validity is shorter than the required period. (iv) Required EMD (Amount, validity etc.)/ exemption documents have not been provided. (v) Tenderer has quoted for goods manufactured by other manufacturer(s) without the required Manufacturer’s Authorization Form as per Section IV. (vi) Tenderer has not agreed to give the required performance security. (vii) Goods offered are not meeting the tender enquiry specification. (viii) Tenderer has not agreed to other essential condition(s) specially incorporated in the tender enquiry like terms of payment, liquidated damages clause, warranty clause, dispute resolution mechanism applicable law. (ix) Poor/ unsatisfactory past performance. - Tenderers who stand deregistered/banned/blacklisted by any Govt. Authorities. (xi) Tenderer is not eligible as per ITB Clauses 4, 16 & 19. - Tenderer has not quoted for all the lots (line-items) specified in ITB Clause 1.1 and/or not quoted for all the items for each lot.

30. Minor Infirmity/Irregularity/Non-Conformity 30.1 If during the preliminary examination, the purchaser find any minor informality and/or irregularity and/or non-conformity in a tender, the purchaser may waive the same provided it does not constitute any material deviation and financial impact and, also, does not prejudice or affect the ranking order of the tenderers. Wherever necessary, the purchaser will convey its observation on such ‘minor’ issues to the tenderer by registered/speed post etc. asking the tenderer to respond by a specified date. If the tenderer does not reply by the specified date or gives evasive reply without clarifying the point at issue in clear terms, that tender will be liable to be ignored.

31 Discrepancies in Prices 31.1 If, in the price structure quoted by a tenderer, there is discrepancy between the unit price and the total price (which is obtained by multiplying the unit price by the quantity), the unit price shall prevail and the total price corrected accordingly, unless the purchaser feels that the tenderer has made a mistake in placing the decimal point in the unit price, in which case the total price as quoted shall prevail over the unit price and the unit price corrected accordingly. 31.2 If there is an error in a total price, which has been worked out through addition and/or subtraction of subtotals, the subtotals shall prevail and the total corrected. 31.3 If there is a discrepancy between the amount expressed in words and figures, the amount in words shall prevail, subject to sub clause 31.1 and 31.2 above. 31.4 If, as per the judgments of the purchaser, there is any such arithmetical discrepancy in a tender, the same will be suitably conveyed to the tenderer by registered / speed post. If the tenderer does not agree to the observation of the purchaser, the tender is liable to be ignored.

32. Discrepancy between original and copies of Tender 32.1 In case any discrepancy is observed between the text etc. of the original copy and that in the other copies of the same tender set, the text etc. of the original copy shall prevail. Here also, the purchaser will convey its observation suitably to the tenderer by register / speed post and, if the tenderer does not accept the purchaser’s observation, that tender will be liable to be ignored.

33. Eligibility and Qualification Criteria 33.1 Tenders of the tenderers, who do not meet the required Eligibility and Qualification Criteria as per ITB Clauses 4 & 19, will be treated as non – responsive/not qualifying and will not be considered further.

34. Conversion of tender currencies to Indian Rupees 34.1 For evaluation and comparison purposes, the Purchaser shall convert all bid prices expressed in amounts in various currencies into an amount in Indian Rupees. The source of exchange rate shall be: State Bank of India BC selling & exchange rate. The date for the exchange rate shall be: Date of Financial (Priced) bid opening.

35. No Lot-wise Evaluation Evaluation will be done for all the lots (line items) as specified in ITB Clause 1.1 taken together. Tenderers not quoting for all the lots (line-items) specified in ITB Clause 1.1 and/or not quoting for all the items for each lot will be declared unresponsive.

36. Comparison of Tenders 36.1 the comparison/ranking of the responsive tenders for the purpose of evaluation shall be carried out on Prices of goods up-to consignee site on Delivery Duty Paid (DDP) basis, price of turnkey and other related services quoted and Comprehensive Annual Maintenance Contract Price (discounted to present NPV @ 10% per annum) - as per Price Schedule of Performa at Section IV.

37. Tenderer’s capability to perform the contract 37.1 The purchaser, through the above process of tender scrutiny and tender evaluation will determine to its satisfaction whether the tenderer, whose tender has been determined as the lowest evaluated responsive tender is eligible, qualified and capable in all respects to perform the contract satisfactorily. If, there is more than one schedule in the List of Requirements, then, such determination will be made separately for each schedule. 37.2 The above-mentioned determination will, interalia, take into account the tenderer’s financial, technical and production capabilities for satisfying all the requirements of the purchaser as incorporated in the TE document. Such determination will be based upon scrutiny and examination of all relevant data and details submitted by the tenderer in its tender as well as such other allied information as deemed appropriate by the purchaser.

38. Contacting the Purchaser 38.1 From the time of submission of tender to the time of awarding the contract, if a tenderer needs to contact the purchaser for any reason relating to this tender enquiry and / or its tender, it should do so only in writing. 38.2 In case a tenderer attempts to influence the purchaser in the purchaser’s decision on scrutiny, comparison & evaluation of tenders and awarding the contract, the tender of the tenderer shall be liable for rejection in addition to appropriate administrative actions being taken against that tenderer, as deemed fit by the purchaser.

Award of Contract

39. Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids - The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to Bidders.

40. Award Criteria - The Purchaser shall award the Contract to the Bidder whose offer has been determined to be the lowest evaluated bid and is substantially responsive to the Bidding Documents, provided further that the Bidder is determined to be qualified to perform the Contract satisfactorily.

41. Purchaser’s Right to Vary Quantities at Time of Award - The quantity of Goods and Related Services originally specified in Section VI, Schedule of Requirements, may be reasonably varied.

42. Notification of Award - Before expiry of the tender validity period, the purchaser will notify the successful tenderer(s) in writing, by registered / speed post or by fax/ telex/cable (to be confirmed by registered / speed post) that its tender for goods & services, which have been selected by the purchaser, has been accepted, also briefly indicating therein the essential details like description, specification and quantity of the goods & services and corresponding prices accepted. - Until a formal Contract is prepared and executed, the notification of award shall constitute a binding Contract.

43. Issue of Contract 43.1 Promptly after notification of award, the Purchaser/Consignee will mail the contract form (as per Section IX) duly completed and signed, in duplicate, to the successful tenderer by registered / speed post. 43.2 Within twenty one days from the date of issue of the contract, the successful tenderer shall return the original copy of the contract, duly signed and dated, to the Purchaser/Consignee by registered / speed post. 43.3 The Purchaser/Consignee reserve the right to issue the Contract consignee-wise.

44. Performance Security - Within twenty one (21) days of the receipt of notification of award from the Purchaser, the successful Bidder, if required, shall furnish the Performance Security in accordance with the GCC, using for that purpose the Performance Security Form included in Section IX Contract forms, or another Form acceptable to the Purchaser. The Purchaser shall promptly notify the name of the winning Bidder to each unsuccessful Bidder and discharge the Bid Securities of the unsuccessful bidders pursuant to ITB Sub-Clause 21.4. - Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security or execution of the Bid-Securing Declaration. In that event the Purchaser may award the Contract to the next lowest evaluated Bidder, whose offer is substantially responsive and is determined by the Purchaser to be qualified to perform the Contract satisfactorily.

| Section II. Bidding Data Sheet (BDS) The following specific data for the goods to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB. |  |
| --- | --- |
| ITB Clause Reference | A. General |
| ITB 1.1 | The Purchaser is: Surveyor General of India, Survey of India, Post Box: 37, Hathibarkala estate, DehraDun-248001, UTTARAKHAND. |
| ITB 1.1 | The name and identification number of the Tender is: ‘Supply, Installation/System Integration, Commissioning, Maintenance, Training & Initial Operation Support of Modular Data Centers (6 locations)’ BID REFERENCE: S-06/15-C-5 dt. 11-04-2014 The number, identification and names of lots comprising this Tender are : - (i)Network Storage Device : 6(Six) - (ii)Server :12(Twelve) - (iii)Tape based back-up Storage Device: 6(Six) - (iv) Modular Box with non-IT components of Data- Centre -6 (Six ) - (v) LAN – 6 (Six) |
| ITB 2.1 | The name of the Project is: Data Centres for Central Mine Planning & Design Institute (CMPDI) Project |
|  | B. Contents of Bidding Documents |
| ITB 7.1 | For Clarification of bid purposes, the Purchaser’s address is: Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002. Ph No : 0651-2482789 Facsimile: 0651-2482789 Email: jhar.gdc.soi@gov.in Web: www.surveyofindia.gov.in |
|  | C. Preparation of Bids |
| ITB 11.1 | 1. All bidders should also submit following additional documents/ information in respect of (i) Copies of original documents defining the constitution or legal status, place of registration and principle place of business of the company or firm or partnership, etc. (ii) The bidder should clearly confirm that all the facilities exist in his factory and/or the factories of respective manufacturers of line-items , whose goods have been quoted by the bidder as authorized agent - for inspection and testing in respect of each of those and these will be made available to the Purchaser or his representative for inspection. (iii) Details of Service Centres and information on service support facilities that would be provided during/after the warranty period [in the Service Support Form given in Section IV] – in respect of all the line-items (lots) mentioned in ITB Clause 1.1 of the bid-document. (iv) Reports on financial standing such as profit and loss statements, balance sheets and auditor’s report for the past 5 years (2008-09 to 2012-13), banker’s certificates, etc. (v) Manufactures Authorization Form (vi) Documents in support of availability of service facilities in India for spare-parts and after-sales service support. (vii) The bidder should furnish the information on all past commissioning (including supplies, installation cum integration of IT and non-IT components) of Data Centres carried out by him (in his name) as System Integrator during the last 5 years (2008-09 to 2012-13) and also certificate of satisfactory commissioning and performance from respective client . The Bidder shall also submit the following additional documents in its bid: 1. The bidder should ensure compatibility of the components used in the solution. A letter of confirmation should be attached along with the Technical compliance from all the OEMs (Original Equipment Manufacturer) on the interoperability for this tender. 2. The bidder shall provide a detailed technical compliance statement for offered products and specifications in format provided in Form 8 (Technical Detail Form) / Section IV 3. The bidder should list detailed bill of materials for all the items and sub-items offered along with part numbers as part of Schedule of Requirements. 4. The bidder must provide item/sub-item-wise breakup prices as per detailed Bill of Materials, wherever applicable, as part of Payment Schedule. 5. The total solution document shall be provided by the bidder along with the technical offer. 6. The bidder should bring out gaps in the tender document, if any, which might be required for completing the total solution and also quote for total solution. 7. The quoted make and models must be clearly specified for all the items/ sub-items. 8. Full technical specifications and literature must be provided for all the quoted items including sub-items. 9. Licensing information for the quoted software must be provided in detail. 10. Acceptance test procedure (ATP) document should be provided by the bidder. Acceptance test on the supplied equipment must be conducted as per the ATP document. 11.The bidder should submit documents in support of at least 20 nos of its Engineers being certified by the OEMs in India |
| ITB 14.6 (a) (iii);(b)(ii) | “Final destination (Project Site)”: 1) Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, JHARKHAND-834002., INDIA 2)Director, Chhattisgarh GDC, Survey of India, Survey of India, Reena Apartment, 3rd Floor, Pachpedi Naka, Dhamtri Road, RAIPUR-492001, CHHATTISGARH, INDIA 3)Director, Meghalaya and Arunachal Pradesh GDC, Survey of India, Post Box No.89, Malki, SHILLONG-– 793001, MEGHALAYA, INDIA 4)Director, East Uttar Pradesh GDC, Survey of India, B-2, 2nd Floor, PICUP Bhawan, Vibhuti Khand, Gomti Nagar, LUCKNOW –226010 , UTTAR PRADESH, INDIA 5)Director, Rajasthan GDC, Survey of India, Great Arc Bhawan-I, Sector-10, Vidyadhar Nagar, JAIPUR- 302023, RAJASTHAN, INDIA 6)Director, Madhya Pradesh GDC, Survey of India, Survey Colony, Vijay Nagar, JABALPUR- 482002, MADHYA PRADESH, INDIA |
| ITB 19.1 | Bids from Joint Venture is not acceptable. |
| ITB 21.2 (a) | EMD is submitted in form of Bank Guarantee. , in favour of “Drawing & Disbursing Officer, Jharkhand Geo-Spatial Data Centre.” payable at Ranchi. |
|  | D. Submission and Opening of Bids |
| ITB 23.2 | The inner and outer envelopes shall bear the following additional identification marks: TENDER No. S-06 /15-C-5 dt. 11-04 -2014 Name of Project Data Centres for CMPDI Project “Supply, Installation/System Integration, Commissioning, Maintenance, Training & Initial Operation Support of Modular Data Centers (6 locations)” |
| ITB 24.1 | For bid submission purposes, the Purchaser’s address is: Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002. Ph No : 0651-2482789 Facsimile: 0651-2482789 Email: jhar.gdc.soi@gov.in Web: www.surveyofindia.gov.in The deadline for the submission of bids is: Date: 22nd May 2014 Time: 10:00 hrs Add at the end of ITB Clause 24.1 the following: “In the event of the specified date for the submission of bids, being declared a holiday for the Purchaser, the bids will be received upto the appointed time on the next working day.” |
| ITB 27.1 | The Technical bid opening shall take place at: Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002. Ph No : 0651-2482789 Facsimile: 0651-2482789 Email: jhar.gdc.soi@gov.in Web: www.surveyofindia.gov.in Date:22th May 2014 Time: 10:30 hrs Add at the end of ITB Clause 27.1 the following: “In the event of the specified date of the bid opening being declared a holiday for the Purchaser, the bids shall be opened at the appointed time and location on the next working day.” |

Section III.  Evaluation and Qualification Criteria

This Section complements the Instructions to Bidders. It contains the criteria that the Purchaser may use to evaluate a bid and determine whether a Bidder has the required qualifications. No other criteria shall be used.

Contents										Page

1.   Evaluation Criteria (ITB 36)  ----------------------------------------------------------  35

2.   Multiple Contracts (ITB 36)  -----------------------------------------------------------  35

3.   Post qualification Requirements (ITB 38.2)  -----------------------------------------  36 to 37

1.   Evaluation Criteria (ITB 36)

The Purchaser’s evaluation of a bid may take into account, in addition to the Bid Price quoted in accordance with ITB Clause 14.6, one or more of the following factors as specified in ITB Sub-Clause 36 , using the following criteria and methodologies.

(a)	Delivery schedule: The Goods specified in the List of Goods are required to be delivered within the acceptable time range (after the earliest and before the final date, both dates inclusive) specified in Section VI, Delivery Schedule.  No credit will be given to deliveries before the earliest date, and bids offering delivery after the final date shall be treated as non-responsive.  Within this acceptable period no adjustment will be carried.

(b)	Deviation in payment schedule. No deviation Permitted

(c)	Cost of major replacement components, mandatory spare parts, and service. Not Used

(d)	Availability in the Purchaser’s Country of spare parts and after sales services for equipment offered in the bid: No Deviation Permitted. Service facilities in Purchaser’s country for spare-parts and after-sales service is mandatory. Bids from bidders not having such facilities in India will be treated non-responsive.

(e)	Comprehensive Annual Maintenance cost: CAM cost shall be discounted to present NPV @ 10% per annum

(f)	Performance and productivity of the equipment. Not Used

(g)	Specific additional criteria: Nil

2.   Multiple Contracts (ITB 36)

Multiple Contracts will not be awarded. The Purchaser shall award single contract to the Bidder that offers the lowest responsive bid  and meets the post-qualification criteria (this Section III, Sub-Section ITB 38.2 Post-Qualification Requirements)

The Purchaser shall:

(a)	evaluate only bids that include all the lots (line items) and the full quantity of items in every lot as specified in ITB Sub Clause 14.8

(b)	take into account:

      - the lowest-evaluated bid and

(ii)	the price reduction per lot and the methodology for its  application as offered by the Bidder in its bid.

3. Post qualification Requirements (ITB 38.2)

After determining the lowest-evaluated bid in accordance with ITB Sub-Clause 37.1, the Purchaser shall carry out the post qualification of the Bidder in accordance with ITB Clause 38, using only the requirements specified.  Requirements not included in the text below shall not be used in the evaluation of the Bidder’s qualifications.

(a) 	Financial Capability

The Bidder should have a  minimum  annual turnover of value as indicated below - during any three  of the last five (5) Financial Years i.e. 2008-09 to 2012-13 -Rs 5 crores (Rupees Five Crores only) or an equivalent amount in a freely convertible currency.

(b)	Experience and Technical Capacity

The Bidder shall furnish documentary evidence to demonstrate that it meets the following experience requirement(s):

- The Bidder shall furnish documentary evidence to demonstrate that he has, as System Integrator, successfully supplied, installed and commissioned modular/conventional Data Centres of value at least Rs 4 (Four) crores – that includes the line-items pertaining to the IT-Infrastructure part of the schedule of requirements (the equipment shall be same or similar in nature) during any three of the last five years.

The list of supplied & installed equipments shall include:

- Name and address of Purchaser with contact details as email address/phone No

- Contract no and date.

- Equipments/items ordered/supplied & installed with their respective quantities.

- Scheduled completion date and actual completion date.

- Details of Complaint, if any, received from the purchaser about the performance of the Equipments/items.

(c) All bids submitted shall also include the following information along with specified formats:

      - Copies of original documents defining the constitution or legal status, place of registration and principle place of business of the company or firm or partnership, etc.

      - The bidder should furnish a brief write-up, backed with adequate data, explaining his available capacity and experience (both technical and commercial) for the commissioning of Data-Centres (including supplies, installation cum integration of IT and non-IT components) within the stipulated time of completion after meeting all their current commitments.

      - Details of Service Centres and information on service support facilities that would be provided after the warranty period.

(d) The Bidder shall furnish documentary evidence to demonstrate that the Goods it offers meet the technical specifications of Data Centre for CMPDI project.

(e) The bidder should have sufficient experience in doing business with the OEM and should have at least 20 Engineers certified by the OEMs in India. Bidder shall furnish proof in support of above certifications.

Section IV. Bidding Forms

Table of Forms

(IV A) BID FORMS FOR TECHNO-COMMERCIAL (UNPRICED)  BID

1.     Bidder Information Form	40

2.     Bid Submission Form	41

3.     Price Schedule Forms(without price):	44

(i)     Domestic Goods/Foreign Goods Located in India	45 to 46

(ii)     Goods to be Imported from Abroad	47 to 48

(iii)   Related Services	49

(iv)   Annual Comprehensive Maintenance Contract	50

4.     Bid Security (Bank Guarantee)	52

5.     Manufacturer’s Authorization	53

6A.   Service Support Details- Storage Devices							54

6B.   Service Support Details - Servers								55

6C.   Service Support Details- Modular Boxes							56

6D.   Service Support Details- Tape based Backup Devices                                           		   57

6E.    Service Support Details - System Integrator                                                                		58

7A.   Technical Detail Form- Storage Specification			                                     		59

7B.    Technical Detail Form- Server Specification					            		61

7C.    Technical Detail Form- Tape-Based Backup Device						62

7D.   Technical Detail Form- Modular Box(For Non-IT Components of data Centre)			63

7E.   Technical Detail Form- LAN Setup Specification ( 6 Locations)				64

8.    Performance Statement Form								65

9.  Undertaking of Authenticity									66

(IV B) BID FORMS FOR PRICED BID

(i)  Price Schedule Forms(with PRICE) for Domestic Goods/Foreign Goods Located in India               68

(ii)  Price Schedule Forms(with PRICE) forGoods to be Imported from Abroad	70

(iii)  Price Schedule Forms(with PRICE) for Related Services	72

(iv)  Price Schedule Forms(with PRICE) for Annual Comprehensive Maintenance Contract	73

(v)    Bid Submission Form(with PRICE)	75

SECTION IV A

BID FORMS FOR

TECHNO-COMMERCIAL (UNPRICED BID)

Please Refer Clause 11(A) of ITB

1. Bidder Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No

alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

Tender No.: [insert number of bidding process]

Total No. of  pages _______________________________

1. Bidder’s Legal Name [insert Bidder’s legal name]

2. Deleted

3. Bidder’s actual or intended Country of Registration: [insert actual or intended Country of Registration]

4. Bidder’s Year of Registration: [insert Bidder’s year of registration]

5. Bidder’s Legal Address in Country of Registration: [insert Bidder’s legal address in country of registration]

6. Bidder’s Registration with DGS&D: [insert Enlistment Letter No. or indicate “Not Applicable.”]

7. Bidder’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address]

8. Attached are copies of original documents of: [check the box(es) of the attached original documents]  Articles of Incorporation or Registration of firm named in 1, above, in accordance with ITB Sub-Clauses 4.1 and 4.2. - In case of government owned entity from the Purchaser’s country, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITB Sub-Clause 4.5.

2. Bid Submission Form – For Techno-Commercial (UNPRICED) Bid

[The Bidder shall fill in this Form in accordance with the instructions indicated No alterations to

its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

TENDER No.: [insert number of Tender Enquiry]

To:  [insert complete name of Purchaser]

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Documents, including Addenda No.: ______________[insert the number and issuing date of each Addenda];

- We offer to supply in conformity with the Bidding Documents and in accordance with the Delivery Schedules specified in the Schedule of Requirements the following Goods and Related Services _______________________ [insert a brief description of the Goods and Related Services];

- The total price of our Bid, excluding any discounts offered in item (d) below, is: as QUOTED in the price schedule(s), attached herewith and made part of this tender [DO NOT insert the bid price here];

- The discounts offered and the methodology for their application are: as QUOTED in the PRICED BID and made part of this Tender

Discounts.  If our bid is accepted, the following discounts shall apply. [DO NOT insert Details

here];

Methodology of Application of the Discounts. [DO NOT insert Methodology  here]

- Our bid shall be valid for the period of time specified in ITB Sub-Clause 20.1, from the date fixed for the bid submission deadline in accordance with ITB Sub-Clause 24.1, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- If our bid is accepted, we commit to obtain a performance security in accordance with ITB Clause 44 and GCC Clause 18 for the due performance of the Contract;

- We, including any subcontractors or suppliers for any part of the contract, have nationality from eligible countries________ [insert the nationality of the Bidder and the nationality each subcontractor and supplier]

- We have no conflict of interest in accordance with ITB Sub-Clause 4.1;

- Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the contract—have not been declared ineligible by the  any Government Authority, under the Purchaser’s country laws or official regulations, in accordance with ITB Sub-Clause 4.2;

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity]

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

(k)	We understand that this bid, together with your written acceptance thereof included in your notification of award, shall constitute a binding contract between us, until a formal contract is prepared and executed.

(l)  As Indian manufacturer we have got registered with company of Law Affairs under Company’s Act and hereby submit proof of the same. (for Indian Manufacturers only)

(m)   As Indian Agent representing Foreign Principals, we have got enlisted with Central Purchase Organization (e.g. DGS&D) as per compulsory enlisted scheme of Department of Expenditure, Ministry of Finance as per provision of Rule 143 of General Financial Rule 2005 and hereby submit proof for the same. (for Indian Agents representing Foreign Principals only)

(n)	We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

(o)	We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in bribery.

(p)	We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely, “Prevention of Corruption Act 1988.”

Signed:_______________ [insert signature of person whose name and capacity are shown]

In the capacity of _______[insert legal capacity of person signing the Bid Submission Form]

Name:____________ [insert complete name of person signing the Bid Submission Form]

Duly authorized to sign the bid for and on behalf of:_____ [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

3-Price Schedule Forms

for Techno-Commercial (UNPRICED BID)

3(i)(a) PRICE SCHEDULE FOR DOMESTIC GOODS

Consignment Site ………………………

(To be filled up separately for each Consignment site viz. Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur))

| 1 | 2 | 3 | 4 |  |  |  |  |  | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot/Line-Item | Brief Description of Goods (Include Make & Model) | Quantity (Nos.) | Price per unit (Rs.) |  |  |  |  |  | Total DDP Price at consignee’s site (Rs) 3 x 4(f) |
|  |  |  | Ex - factory/ Ex - warehouse /Ex- showroom /Off - the shelf (a) | Excise Duty (if any) [%age & value] (b) | Sales Tax/ VAT(if any) [%age & value] (c) | Packing and Forwarding charges (d) | Inland Transportation, Insurance for a period including 3 months beyond date of delivery, loading/ unloading and Incidental costs till consignee’s site (e) | Unit DDP Price at consignee’s site (Rs) (f) =a+b+c+d+e |  |
| 1 | Network Storage Device |  | X | X | X | X | X | X | X |
| 2 | Server |  | X | X | X | X | X | X | X |
| 3 | Backup Device |  |  |  |  |  |  |  | X |
| 4 | Modular Box with non-IT components of Data-Centre |  | X | X | X | X | X | X | X |
| 5 | LAN for 40 client-nodes |  | X | X | X | X | X | X | X |

Total Tender price in Rupees (in figures):  As Quoted in Priced Bid (Do Not Enter Prices Here)

In words:  As Quoted in PRICED BID ( Do not Enter Prices Here)

Note: -  The charges Related Services  and Annual CMC shall be quoted separately as per  – Table 3(iii) and 3(iv) respectively

.

Name ___________________________________________________________

Business Address 	____________________________________________

Place:

Date:

Signature of Tenderer

Seal of the Tenderer

3(i)(b) PRICE SCHEDULE FOR GOODS OF FOREIGN ORIGIN LOCATED IN INDIA

| 1 | 2 | 3 | 4 | 5 |  |  |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot/Line-Item | Brief Description of Goods (Include Make & Model) | Country of Origin | Quantity (Nos.) | Price per unit (Rs.) |  |  |  |  |  | Total DDP Price at consignee’s site (Rs) 4 x 5(f) |
|  |  |  |  | Unit Price inclusive of Custom Duties & Import Taxes (a) | Custom Duties & Import Taxes (b) | Unit Price NET* of Custom Duties & Import Taxes (*as applicable) (c)= (a) – (b) (c) | Packing and Forwarding charges (d) | Inland Transportation, Insurance for a period including 3 months beyond date of delivery, loading/ unloading and Incidental costs till consignee’s site (e) | Unit DDP Price at consignee’s site (Rs) (f) =c+d+e |  |
| 1 | Network Storage Device |  |  | X | X | X | X | X | X | X |
| 2 | Server |  |  | X | X | X | X | X | X | X |
| 3 | Backup Device |  |  |  |  |  |  |  |  | X |
| 4 | Modular Box with non-IT components of Data-Centre |  |  | X | X | X | X | X | X | X |
| 5 | LAN for 40 client-nodes |  |  | X | X | X | X | X | X | X |

3(ii) PRICE SCHEDULE FOR GOODS TO BE IMPORTED FROM ABROAD

Consignment Site ………………………

(To be filled up separately for each Consignment site viz. Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur))

| 1 | 2 | 3 | 4 | 5 |  |  |  |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot/Line-Item | Brief Description of Goods (Include Make & Model) | Country of Origin | Quantity (Nos.) | Price per unit (Currency) |  |  |  |  |  |  | Total DDP Price at consignee’s site = 4X 5 (g) |
|  |  |  |  | FOB/FCA Price at port/airport of Loading (#Inclusive of Indian Agency Commission (a) | Insurance (port/airport of loading to port/airport of entry) and other Incidental costs (b) | #Carriage (port/airport of loading to port/airport of entry) and other Incidental costs (c) | Custom Duties / Import Taxes (d) | #Inland Transportation, Insurance for a period including 3 months beyond date of delivery, loading/ unloading and Incidental costs till consignee’s site (e) | Unit DDP Price at consignee’s site inclusive of Custom Duties/ Import Taxes (f) = a+b+c+d+e | Unit DDP Price at consignee’s site NET* of Custom Duties/ Import Taxes (g) = (f) – (d) (*as applicable) |  |
| 1 | Network Storage Device |  |  | X | X |  |  |  |  |  | X |
| 2 | Server |  |  | X | X |  |  |  |  |  | X |
| 3 | Backup Device |  |  |  |  |  |  |  |  |  |  |
| 4 | Modular Box with non-IT components of Data-Centre |  |  | X | X |  | X | X | X | X | X |
| 5 | LAN for 40 client-nodes |  |  | X | X |  |  |  |  |  | X |

Total Tender price in foreign currency (In Figures): ):  As Quoted in Priced Bid (Do Not Enter Prices Here)

In words):  As Quoted in Priced Bid (Do Not Enter Prices Here)

Indian Agent:

Indian Agency Commission -  	XXX____% of FOB/FCA

Note: -                 (i) The charges Related Services and Annual CMC shall be quoted separately as per – Table 3(iii) and 3(iv) respectively

- # To be paid in Indian Rupees

Name 	 Business Address

Place:

Date:

Signature of Tenderer

Seal of the Tenderer

3(iii)PRICE SCHEDULE FOR RELATED SERVICES

Consignment Site (Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur)

(To be filled up separately for each Consignment site)

| Service | Description of Service | Price |
| --- | --- | --- |
| 1 | Turnkey services like Installation & Testing, Supervision, Commissioning, | XXXXX |
| 2 | Training to a batch of 4 (four) persons of Survey of India for a duration of 15(fifteen) working days each for operation and preventive-maintenance of Modular Data Centre |  |
| 3 | Furnishing of a detailed operations and maintenance manual for all components of Modular Data Centre | XXXXXX |
| 4 | Operational Support for 1 year & on the job capacity building of SoI personnel - by way of providing dedicated Engineer at each site | XXXXXX |
| 5 | Comprehensive on-site warranty for a period of 5 years | Free of Cost |
|  | TOTAL | XXXXXXX |

Note:

1. In case of discrepancy between unit price and total prices, THE UNIT PRICE shall prevail.

2. The cost of related services shall be quoted along with taxes applicable on the date of Tender Opening. Price will be taken inclusive of such taxes and no claim for the same will be entertained later.

3. Cost of Related services will be added for Ranking/Evaluation purpose.

4. Payment of Price of Related Services will be made in Indian Rupees

Name 			 __________________________________________________________________

Business Address 	 _______________________________________________

Signature of Tenderer 			 Seal of the Tenderer

3(iv)PRICE SCHEDULE FOR ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT AFTER WARRANTY PERIOD

| 1 | 2 | 3 | 4 |  |  |  |  |  |  |  |  | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SNo No. | BRIEF DESCRIPTION OF GOODS | QUANTITY. (Nos.) | Annual Comprehensive Maintenance Contract Cost for Each Unit year wise (after warranty of 5 years)*. |  |  |  |  |  |  |  |  | Total Annual Comprehensive Maintenance Contract Cost Discounted to NPV @ 10% per annum for 5 Years |
|  |  |  | 1st | 2nd |  | 3rd |  | 4th |  | 5th |  |  |
|  |  |  | a | b |  | c |  | d |  | e |  |  |
| 1 | Network Storage Device |  |  |  |  |  |  |  |  |  |  | XXXXXXX |
| 2 | Server |  | X | X |  | X |  | X |  | X |  | XXXXXXX |
| 3 | Backup Device |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Modular Box with non-IT components of Data-Centre |  | X | X |  | X |  | X |  | X |  | XXXXXXX |
| 5 | LAN for 40 client-nodes |  | X | X |  | X |  | X |  | X |  | XXXXXXX |
|  | TOTAL |  | X | X |  | X |  | X |  | X |  | XXXXXXX |

After completion of Warranty period

NOTE:-

1. In case of discrepancy between unit price and total prices, THE UNIT PRICE shall prevail.

2. The cost of Comprehensive Maintenance Contract (CMC) which includes preventive maintenance including testing & calibration as per technical/ service /operational manual, labour and spares, after satisfactory completion of Warranty period may be quoted for next 5 years on yearly basis for complete equipment and Turnkey (if any).

3. The cost of CMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically

stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

4. Cost of CMC will be added for Ranking/Evaluation purpose. While evaluating the tenderers  for  maintenance  of  goods  covering  a longer period (say, more than one year), the quoted prices pertaining to maintenance in future years are to be discounted to the net present value (NPV) @10% per annum for comparing the tenders on equitable basis and deciding the lowest evaluated responsive tender.

5. The payment of CMC will be made as per clause GCC clause 21.1 (D).

6. The uptime warranty will be 98 % on 24 (hrs) X 7 (days) X 365 (days) basis or as stated in Technical Specification of the TE document.

7. All software updates should be provided free of cost during CMC period.

8. The stipulations in Technical Specification will supersede above provisions

9. The supplier shall keep sufficient stock of spares required during Annual Comprehensive Maintenance Contract period. In case the spares are required to be imported, it would be the responsibility of the supplier to import and get them custom cleared and pay all necessary duties.

10. Payment of AMC will be made in Indian Rupees

Place:  		 Date:

Name 			  Business Address

Signature of Tenderer 			 Seal of the Tenderer

4. Bid Security (Bank Guarantee)

Whereas………………………………………………………………………………………..

(hereinafter called the “tenderer”)

has submitted their offer dated………………………………………………………………..

for the supply of ………………………………………………………………………………

(hereinafter called the “tenderer”)

against the purchaser’s tender inquiry No. …………………………………………………….

KNOW ALL MEN by these presents that WE…………………………………………………

of…………………………………………………………….having our registered office at

……………………………………………………………are bound unto……………………

(hereinafter called the “Purchaser”)

in the sum of ………………………………………………………………………………….

for which payment will and truly to be made to the said purchaser, the Bank binds itself, its successors and assigns by these presents. Sealed with the Common Seal of the said Bank this ………………….day of ………………..20………….

THE CONDITIONS OF THIS OBLIGATION ARE:

      - If the tenderer withdraws or amends, impairs or derogates from the tender in any respect within the period of validity of this tender.

      - If the tender having been notified of the acceptance of his tender by the performance during the period of its validity:-

    - If the tenderer fails to furnish the performance Security for the due performance of the contract.

    - Fails or refuses to accept / execute the Contract Form, if required, in accordance with the Instruction to Bidders.

We undertake to pay the purchaser up to the above amount upon receipt of its first written demand, without the purchaser having to substantiate its demand, provided that in its demand the purchaser will note that the amount claimed by it is due to it owing to the occurrence of one or both the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force upto and including 180 days  and any demand in respect thereof should reach the Bank not later than the above date.

……………………………

(Signature of the authorized officer of the Bank)

…………………………………………………

…………………………………………………

Name and Designation of the Officer

………………………………………………………

Seal, name and address of the Bank and address of the Branch

5. Manufacturer’s Authorization

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer.  The Bidder shall include it in its bid, if so indicated in the BDS.]

Date: [insert date (as day, month and year) of Bid Submission]

Tender No.: [insert number of bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To:  [insert complete name of Purchaser]

WHEREAS

We [insert complete name of Manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of Manufacturer’s factories], do hereby authorize [insert complete name of Bidder] to submit a bid the purpose of which is to provide the following Goods, manufactured by us [insert name and or brief description of the Goods], and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 28 of the General Conditions of Contract, with respect to the Goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the Manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the Manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]

6A. SERVICE SUPPORT DETAILS – Storage Devices

| Pack No. | Destination (SoI Premises at) | NEAREST SERVICE CENTRE* |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Location (Address) | Phone No. Status of Fax No. Office e-mail Working Days and Hours | Number of Engineers | Number of Staff | Value of Min. Stock Available at all times |
| 1 | Ranchi |  |  |  |  |  |
| 2 | Raipur |  |  |  |  |  |
| 3 | Shillong |  |  |  |  |  |
| 4 | Lucknow |  |  |  |  |  |
| 5 | Jabalpur |  |  |  |  |  |
| 6 | Jaipur |  |  |  |  |  |

6.B. SERVICE SUPPORT DETAILS – Servers

| Pack No. | Destination (SoI Premises at) | NEAREST SERVICE CENTRE* |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Location (Address) | Phone No. Status of Fax No. Office e-mail Working Days and Hours | Number of Engineers | Number of Staff | Value of Min. Stock Available at all times |
| 1 | Ranchi |  |  |  |  |  |
| 2 | Raipur |  |  |  |  |  |
| 3 | Shillong |  |  |  |  |  |
| 4 | Lucknow |  |  |  |  |  |
| 5 | Jabalpur |  |  |  |  |  |
| 6 | Jaipur |  |  |  |  |  |

6C. SERVICE SUPPORT DETAILS – Modular Boxes

| Pack No. | Destination (SoI Premises at) | NEAREST SERVICE CENTRE* |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Location (Address) | Phone No. Status of Fax No. Office e-mail Working Days and Hours | Number of Engineers | Number of Staff | Value of Min. Stock Available at all times |
| 1 | Ranchi |  |  |  |  |  |
| 2 | Raipur |  |  |  |  |  |
| 3 | Shillong |  |  |  |  |  |
| 4 | Lucknow |  |  |  |  |  |
| 5 | Jabalpur |  |  |  |  |  |
| 6 | Jaipur |  |  |  |  |  |

6D.SERVICE SUPPORT DETAILS – Tape-based Backup Devices

| Pack No. | Destination (SoI Premises at) | NEAREST SERVICE CENTRE* |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Location (Address) | Phone No. Status of Fax No. Office e-mail Working Days and Hours | Number of Engineers | Number of Staff | Value of Min. Stock Available at all times |
| 1 | Ranchi |  |  |  |  |  |
| 2 | Raipur |  |  |  |  |  |
| 3 | Shillong |  |  |  |  |  |
| 4 | Lucknow |  |  |  |  |  |
| 5 | Jabalpur |  |  |  |  |  |
| 6 | Jaipur |  |  |  |  |  |

6E. SERVICE SUPPORT DETAILS – System Integrator

| Pack No. | Destination (SoI Premises at) | NEAREST SERVICE CENTRE* |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Location (Address) | Phone No. Status of Fax No. Office e-mail Working Days and Hours | Number of Engineers | Number of Staff | Remarks |
| 1 | Ranchi |  |  |  |  |  |
| 2 | Raipur |  |  |  |  |  |
| 3 | Shillong |  |  |  |  |  |
| 4 | Lucknow |  |  |  |  |  |
| 5 | Jabalpur |  |  |  |  |  |
| 6 | Jaipur |  |  |  |  |  |

7. A. TECHNICAL DETAIL FORM: Storage Specifications at 6 locations

| Sl. No. | Requirement at each location | Specification | Bidder’s Offered Specifications / Compliance/Deviation Statement ( to be filled up by BIDDER) |
| --- | --- | --- | --- |
| 0 | Make & Model Proposed |  |  |
| 1 | Architecture | Scale-out NAS cluster based upon dedicated OS, purpose build for high performance file serving. |  |
| 2 | Capacity | 220TB usable for 6 sites after all the necessary overheads. |  |
| 3 | Scalability | 1PB of usable capacity from the cluster. |  |
| 4 | Performance | - 1.2GB/s sized for 80:20 Read: Write workload. - Performance must be demonstrated at any one site using performance evaluation tools like IOZone / IOMeter etc. - Vendor can use existing application server to install evaluation tools and demonstrate performance. - Vendor must share necessary internal/public performance benchmarking documents to support proposed models. |  |
| 5 | Disks | - 7.2K NL-SAS/SATA 3TB drives using RAID-6 (8D+P+Q) - Provision of supporting intermixing SAS & SATA / NL-SAS drives on the same SAS drives. - One hot spare for every 30 drives OR 10% additional usable capacity as hot spare area for products not supporting hot spare drives. |  |
| 6 | Controllers | - Minimum 2-node or more nodes cluster to match capacity and performance. - Cluster configuration should remain same for equal capacity sites due to replication needs between the sites. | Future Replication sites are mentioned in Section VI/Drawings |
| 7 | Ports | Minimum Two 10Gbps redundant ports along with sufficient number of 10Gbps and 1 Gbps ports which are required to achieve the desired throughput for file serving across the cluster. |  |
| 8 | Cache | Minimum 96GB cache must be configured across the cluster. |  |
| 9 | Redundancy | No single point of failure configuration for all components like controllers, fans, disks and power supplies. |  |
| 10 | Protocols | - CIFS and NFS. - Ability to share same data amongst CIFS & NFS clients. - Windows AD, LDAP and NIS support for authenticated data access. - NDMP support. All necessary licenses and hardware must be proposed. |  |
| 11 | Features | - Single name space/file system of 1PB. - File system rollback from snapshots for quick restart and recovery. - Thin provisioning. - Snapshots. - Asynchronous and synchronous replication to other clusters. Required Software licenses must be provided. - Licenses for the above features should be supplied for the above capacity. - De-dupe |  |
| 12 | OS Support | Windows, UNIX and Linux. |  |
| 13 | Management | - GUI & CLI based remote management. - Management host must be provided with the solution. - Periodical online firmware upgrades. |  |
| 14 | Space | Standard 42U rack mountable. |  |
| 15 | Warranty | Five years comprehensive on-site warranty support |  |

7. B. TECHNICAL DETAIL FORM: Server Specifications (2 no.s at each of 6 locations).

| Sl No. | Requirement at each location | Specifications | Bidder’s Offered Specifications / Compliance/Deviation Statement ( to be filled up by BIDDER) |
| --- | --- | --- | --- |
| 0 | Make & Model Proposed |  |  |
| 1 | Chasis | Rack mountable |  |
| 2 | Processor Support | Server should support Intel Xeon 8 core processors |  |
| 3 | Processor | Intel Xeon Processor , 24MB Cache, 2.2 GHz |  |
| 4 | Processor Quantity | 1 CPU (Provision for 2 sockets populated by 1 processor) |  |
| 5 | L3 Cache | 20 MB L3 |  |
| 6 | Chipset | Intel C600 series or better |  |
| 7 | Memory | 128 GB DDR3 Memory |  |
| 8 | Memory Scalability | 256 GB or more in dual processor configuration |  |
| 9 | Hard Disk Drives | 2X 10K SAS 900GB or higher 6Gbps hard disk drives |  |
| 10 | Optical Drive | DVD / CD-RW drive |  |
| 11 | Gigabit Ethernet Ports | Four 1Gigabit Ethernet ports OR Two 10 GigE port with full duplex. |  |
| 12 | PCI slots | Minimum 5 PCI slots. Additional dual port full duplex 2X10 GigE (RAID card should have separate slot) |  |
| 13 | Additional Ports | Four USB 2.0 ports, one video port and four RJ-45 GbE network ports. 2X10Gbps network ports. |  |
| 14 | Redundant Power Supply | Server to be configured with Redundant Power Supplies |  |
| 15 | Redundant Cooling Fans | Hot-swap and redundant cooling Fans to be configured in the system |  |
| 16 | Form Factor | 1U |  |
| 17 | Security | Hardware-based system security feature that can securely store information, such as passwords and encryption keys which can be used to authenticate the platform. |  |
| 18 | OS Support | LINUX server edition. |  |
| 19 | Monitor & Key board | 1 U management console with LCD, keyboard and mouse/Touchpad. |  |
| 20 | Warranty | Five years on-site comprehensive warranty support |  |

7. C. TECHNICAL DETAIL FORM: Tape-based Backup Device (Tape Library & Backup Software) at 6 Locations

| Sl. No. | Requirement at each location | Specifications | Bidder’s Offered Specifications / Compliance/Deviation Statement ( to be filled up by BIDDER) |
| --- | --- | --- | --- |
| 1 | Make & Model proposed | Offered Tape Library (TL) should be of latest Industry standard make and model with all features and functionalities. |  |
| 3 | Capacity & Scalability | Offered TL should be configured with minimum of 24 cartridge slots or better with 2 tape drives of LTO-6 media. |  |
| 4 | Media | LTO-6 media 150 Nos. along with ten numbers of cleaning cartridges. |  |
| 5 | Speed | Offered TL should support transfer rate of 1.2TB/hr (Uncompressed mode) or more with configured capacity |  |
| 6 | Connectivity | TL should be offered with interface of 6 Gb SAS or 8Gb FC with required cables, barcode lables and other accessories to connect it to 10GigE switch. |  |
| 7 | Power | 240V AC, 50Hz compatible. |  |
| 8 | Backup Software | Linux OS compatible backup software with required licenses and policies for supporting backup / restore of data from the above tape library. It should be compatible with industry leading backup software and must support the offered tape library. |  |
| 9 | Other Features | Shall be rack mountable. Should have inbuilt data integrity check and self-healing mechanism for any possible corruption. Vendor should demonstrate all the features of the solution including auto scheduling of backup along with documentation. |  |
| 10 | Warranty Support | Five Years comprehensive on-site warranty |  |

7. D. TECHNICAL DETAIL FORM: Modular Box (for Non-IT Components of Data-Centre) Specifications at 6 Locations

| Sl. No. | Requirement for each location | Specifications | Bidder’s Offered Specifications / Compliance/Deviation Statement ( to be filled up by BIDDER) |
| --- | --- | --- | --- |
| 0. | Make & Model Proposed |  |  |
| 1. | Rack | 42U OEM Rack (Qty. 2 Nos) |  |
| 2. | UPS | 3 Phase In, 1 Phase Out, 12 KVA, long backup with true online double conversion & with inbuilt Isolation transformer with parallel kit. (N+N Redundancy) and 30 min backup battery. |  |
| 3. | Load | Total system shall support up to 15 KW of load for power and cooling. |  |
| 4. | PAC | Air cooled PAC units (N+N configuration) shall be installed with the capacity of 4 TR each as per below specification. Specifications: Humidity control : + or - 5% Air Movement : 550 CFM/TR Filtration Efficiency: 95% Air cooled PAC will be connected to the 3ph, 415V incoming feeder from the facilities power solution shall contain Precision Air‐conditioning system with temperature monitoring and humidity control. Solution should be designed for 21 +/‐ 2 degree C. (PAC should be ISO certified and of repute make.) |  |
| 5. | Fire Detection & Fire Suppression System | FM‐200 / Inert gas based fire suppression system to be installed. Gas cylinders shall be installed at outside of the Box. |  |
| 6. | Access Control System | Biometric access control system |  |
| 7. | Monitoring | Monitoring of Leaving Air from Each Rack, Surge Suppression, Fire Panel and with day & night CC TV Camera surveillance. |  |
| 8. | Warranty | Five years on-site comprehensive warranty support. |  |

7. E. TECHNICAL DETAIL FORM: LAN Setup specifications (6 locations)

| Sl. No. | Requirement for each location | Specifications | Bidder’s Offered Specifications / Compliance/Deviation Statement ( to be filled up by BIDDER) |
| --- | --- | --- | --- |
| 0 | Make & Model Proposed |  |  |
| 1. | Networking Passive components | - CAT 6A Cable (box of 305 Mts) – 10 nos - I/O with SMB – 45 nos - Jack Panel (48 Ports) – 2 nos - Cable Manager – 2nos - UTP Patch Cords (3 Ft) – 104 nos - UTP Patch Cords (7 Ft.) – 48 nos |  |
| 2. | Installation, Cable lying along with documentation | a. Supply & installation of ISI Marked PVC Conduit, Baton, Flexi (1" & 2") – 3050 metres b. UTP Termination & I/O & Jack Panel – 45 nos c. Mounting & fixing of Jack Panels – 2 nos. d. Fixing of I/O – 45 nos. e. Documentation – 1 set |  |
| 3. | Ethernet Switches | 48-PORT with additional 4 x 10G Ports Switch with - 48 X 10/100/1000 Mbps switching ports - 4 X 10Gbps SFP+ slots (port 49~52) to support 10GEbps optical module and 1G optical module for 10-Gigabit Connectivity - Auto-sensing and auto-negotiating capabilities for all copper ports - Auto uplink on all ports to make the right connection |  |

Installation of LAN viz. UTP cable laying, UTP termination, fixing of I/O, SMB, fixing of Jack Panel & Racks and documentation, payment to be made based on actual usage of the following items

| Supply & installation of ISI Marked PVC Conduit, Baton, Flexi (1" & 2") | 3050 mtrs | Bidder’s Offered Specifications / Compliance/Deviation Statement ( to be filled up by BIDDER) |
| --- | --- | --- |
| UTP Termination & I/O & Jack Panel | 45 |  |
| Mounting & fixing of Jack Panels | 2 |  |
| Fixing of I/O | 45 |  |
| Documentation | 1 set |  |

#### 8.   PROFORMA FOR PERFORMANCE STATEMENT

(For a period of last Five years)                                       [Please see ITB Clause 38.2 and Para 4 of Section III-

Instructions to Bidders]

Bid No. _______		Date of opening ___________				Time __________ Hours

Name of the Firm __________________________________

| Order placed by (full address of Purchaser) | Order No. and date | Description and quantity of ordered equipment | Value of order | Date of completion of delivery |  | Remarks indicating reasons for late delivery, if any | Has the equipment been satisfactorily functioning? (Attach documentary proof )**** |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | As per contract | Actual |  |  |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |

Signature and seal of the Bidder	_______________________________

** The documentary proof will be a certificate from the consignee/end-user with cross-reference of order no. and date in the certificate along with a notarized certification authenticating the correctness of the information furnished. If at any time, information furnished is proved to be false or incorrect, the earnest money furnished will be forfeited

9. Undertaking of Authenticity

To

[insert complete name of Purchaser]

Sub: Undertaking of Authenticity for  Supply of IT Hardware/Software

Ref : 	1. Your Tender Enquiry  No. ------------dated-------.

2. Our Quotation no. -------dated--------.

With reference to the Hardware/Software being quoted to you vide our quotation no. cited above, we hereby undertake that all the components/parts/assembly/software used in the hardware and software supplies as part of supplies to this Tender shall be original new components/parts/ assembly /software only, from respective OEMs of the products and that no refurbished/duplicate/ second hand components/parts/ assembly / software are being used or shall be used.

We also undertake that in respect of licensed operating system if asked for by you in the purchase order, the same shall be supplied along with the authorised license certificate (e.g. Product Keys on Certification of Authenticity) and also that it shall be sourced from the authorised source (e.g. Authorised Microsoft Channel in case of Microsoft Operating System).

Should you require, we hereby undertake to produce the certificate from our OEM supplier in support

of above undertaking at the time of delivery/installation. It will be our responsibility to produce such letters from our OEM supplier’s at the time of delivery or within a reasonable time.

In case of default and if we are unable to comply with above at the time of delivery or during installation, for the IT Hardware/Software already billed, we agree to take them back without demur, if already supplied and return the money if any paid to us by you in this regard.

We (bidder name) also take full responsibility of both Parts & Service SLA as per the terms and conditions of this Tender Document on behalf of all the OEMs whose hardware/software will form part of supply quoted in this tender, even if there is any defect by their respective authorized Service Centre/ Reseller/SI etc.

Authorised Signatory

Name:

Designation

Place

Date

SECTION IVB

BID Forms

for PRICED BID

Please Refer Clause 11(B) of ITB

(i)(a)   PRICE SCHEDULE FOR DOMESTIC GOODS

Consignment Site ………………………

(To be filled up separately for each Consignment site viz. Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur))

| 1 | 2 | 3 | 4 |  |  |  |  |  | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot/Line-Item | Brief Description of Goods (Include Make & Model) | Quantity (Nos.) | Price per unit (Rs.) |  |  |  |  |  | Total DDP Price at consignee’s site (Rs) = 3 x 4(f) |
|  |  |  | Ex - factory/ Ex - warehouse /Ex- showroom /Off - the shelf (a) | Excise Duty (if any) [%age & value] (b) | Sales Tax/ VAT(if any) [%age & value] (c) | Packing and Forwarding charges (d) | Inland Transportation, Insurance for a period including 3 months beyond date of delivery, loading/ unloading and Incidental costs till consignee’s site (e) | Unit DDP Price at consignee’s site (Rs) (f) (f)=a+b+c+d+e |  |
| 1 | Network Storage Device |  |  |  |  |  |  |  |  |
| 2 | Server |  |  |  |  |  |  |  |  |
| 3 | Backup Device |  |  |  |  |  |  |  |  |
| 4 | Modular Box with non-IT components of Data-Centre |  |  |  |  |  |  |  |  |
| 5 | LAN for 40 client-nodes |  |  |  |  |  |  |  |  |

Total Tender price in Rupees (in figures):

In words:

Note: -  The charges Related Services  and Annual CMC shall be quoted separately as per  – Table (iii) and (iv) respectively

Name ___________________________________________________________

Business Address 	____________________________________________

Place:

Date:

Signature of Tenderer

Seal of the Tenderer

(i)(b)   PRICE SCHEDULE FOR GOODS OF FOREIGN ORIGIN LOCATED WITHIN INDIA (ie. already IMPORTED)

Consignment Site ………………………

(To be filled up separately for each Consignment site viz. Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur))

| 1 | 2 | 3 | 4 | 5 |  |  |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot/Line-Item | Brief Description of Goods (Include Make & Model) | Country of Origin | Quantity (Nos.) | Price per unit (Rs.) |  |  |  |  |  | Total DDP Price at consignee’s site (Rs) = 4 x 5(f) |
|  |  |  |  | Unit Price inclusive of Custom Duties & Import Taxes (a) | Custom Duties & Import Taxes [to be supported by documents} (b) | Unit Price NET* of Custom Duties & Import Taxes (c)= (a) – (b) (*as applicable) [to be supported by documents} (c) | Packing and Forwarding charges (d) | Inland Transportation, Insurance for a period including 3 months beyond date of delivery, loading/ unloading and Incidental costs till consignee’s site (e) | Unit DDP Price at consignee’s site (Rs) (f)= c+d+e |  |
| 1 | Network Storage Device |  |  |  |  |  |  |  |  |  |
| 2 | Server |  |  |  |  |  |  |  |  |  |
| 3 | Backup Device |  |  |  |  |  |  |  |  |  |
| 4 | Modular Box with non-IT components of Data-Centre |  |  |  |  |  |  |  |  |  |
| 5 | LAN for 40 client-nodes |  |  |  |  |  |  |  |  |  |

Total Tender price in Rupees (in figures):

In words:

Note: -  The charges Related Services  and Annual CMC shall be quoted separately as per  – Table (iii) and (iv) respectively

Name ___________________________________________________________

Business Address 	____________________________________________

Place:

Date:

Signature of Tenderer

Seal of the Tenderer

(ii)   PRICE SCHEDULE FOR GOODS TO BE IMPORTED FROM ABROAD

Consignment Site ………………………

(To be filled up separately for each Consignment site viz. Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur))

| 1 | 2 | 3 | 4 | 5 |  |  |  |  |  |  | 6 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lot/Line-Item | Brief Description of Goods (Include Make & Model) | Country of Origin | Quantity (Nos.) | Price per unit (Currency) |  |  |  |  |  |  | Total DDP Price at consignee’s site = 4X 5 (g) |
|  |  |  |  | FOB/FCA Price at port/airport of Loading (#Inclusive of Indian Agency Commission) (a) | Insurance (port/airport of loading to port/airport of entry) and other Incidental costs (b) | #Carriage (port/airport of loading to port/airport of entry) and other Incidental costs (c) | Custom Duties / Import Taxes (d) | #Inland Transportation, Insurance for a period including 3 months beyond date of delivery, loading/ unloading and Incidental costs till consignee’s site (e) | Unit DDP Price at consignee’s site inclusive of Custom Duties/ Import Taxes (f) = a+b+c+d+e | Unit DDP Price at consignee’s site NET* of Custom Duties/ Import Taxes (g) = (f) – (d) (*as applicable) |  |
| 1 | Network Storage Device |  |  |  |  |  |  |  |  |  |  |
| 2 | Server |  |  |  |  |  |  |  |  |  |  |
| 3 | Backup Device |  |  |  |  |  |  |  |  |  |  |
| 4 | Modular Box with non-IT components of Data-Centre |  |  |  |  |  |  |  |  |  |  |
| 5 | LAN for 40 client-nodes |  |  |  |  |  |  |  |  |  |  |

Total Tender price in foreign currency (In Figures):

In words:

Indian Agent:

Indian Agency Commission -  	____% of FOB/FCA

Note: -                 (i) The charges Related Services  and Annual CMC shall be quoted separately as per  – Table 3(iii) and 3(iv) respectively

      - # To be paid in Indian Rupees.

Name 	 Business Address

Place:

Date:

Signature of Tenderer

Seal of the Tenderer

(iii)  PRICE SCHEDULE FOR RELATED SERVICES

Consignment Site (Ranchi/Raipur/Shillong/Lucknow/Jaipur/Jabalpur)

(To be filled up separately for each Consignment site)

| Service | Description of Service | Price |
| --- | --- | --- |
| 1 | Turnkey services like Installation & Testing, Supervision, Commissioning, |  |
| 2 | Training to a batch of 4 (four) persons of Survey of India for a duration of 15(fifteen) working days each for operation and preventive-maintenance of Modular Data Centre |  |
| 3 | Furnishing of a detailed operations and maintenance manual for all components of Modular Data Centre |  |
| 4 | Operational Support for 1 year & on the job capacity building of SoI personnel - by way of providing dedicated Engineer at each site |  |
| 5 | Comprehensive on-site warranty for a period of 5 years | Free of Cost |
|  | TOTAL |  |

Note:  1. In case of discrepancy between unit price and total prices, THE UNIT PRICE shall prevail.

2. The cost of related services shall be quoted along with taxes applicable on the date of Tender Opening. Price will be taken inclusive of such taxes and no claim for the same will be entertained later.

3. Cost of Related services will be added for Ranking/Evaluation purpose.

4. Payment of Price of Related Services will be made in Indian Rupees

Name 	 Business Address

Place:

Date:

Signature of Tenderer

Seal of the Tenderer

(iv)  PRICE SCHEDULE FOR ANNUAL COMPREHENSIVE MAINTENANCE CONTRACT AFTER WARRANTY PERIOD

| 1 | 2 | 3 | 4 |  |  |  |  |  |  |  |  | 5 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SNo No. | BRIEF DESCRIPTION OF GOODS | QUANTITY. (Nos.) | Annual Comprehensive Maintenance Contract Cost for Each Unit year wise (after warranty of 5 years)*. |  |  |  |  |  |  |  |  | Total Annual Comprehensive Maintenance Contract Cost Discounted to NPV @ 10% per annum for 5 Years |
|  |  |  | 1st | 2nd |  | 3rd |  | 4th |  | 5th |  |  |
|  |  |  | a | b |  | c |  | d |  | e |  |  |
| 1 | Network Storage Device |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Server |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Backup Device |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Modular Box with non-IT components of Data-Centre |  |  |  |  |  |  |  |  |  |  |  |
| 5 | LAN for 40 client-nodes |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL |  |  |  |  |  |  |  |  |  |  |  |

After completion of Warranty period

NOTE:-

1. In case of discrepancy between unit price and total prices, THE UNIT PRICE shall prevail.

2. The cost of Comprehensive Maintenance Contract (CMC) which includes preventive maintenance including testing & calibration as per technical/ service /operational manual, labour and spares, after satisfactory completion of Warranty period may be quoted for next 5 years on yearly basis for complete equipment and Turnkey (if any).

3. The cost of CMC may be quoted along with taxes applicable on the date of Tender Opening. The taxes to be paid extra, to be specifically

stated. In the absence of any such stipulation the price will be taken inclusive of such taxes and no claim for the same will be entertained later.

4. Cost of CMC will be added for Ranking/Evaluation purpose. While  evaluating  the  tenderers  for  maintenance  of  goods  covering  a longer period (say, more than one year), the quoted prices pertaining to maintenance in future years are to be discounted to the net present value (NPV) @10% per annum for comparing the tenders on equitable basis and deciding the lowest evaluated responsive tender.

5. The payment of CMC will be made as per clause GCC clause 21.1 (D).

6. The uptime warranty will be 98 % on 24 (hrs) X 7 (days) X 365 (days) basis or as stated in Technical Specification of the TE document.

7. All software updates should be provided free of cost during CMC period.

8. The stipulations in Technical Specification will supersede above provisions

9. The supplier shall keep sufficient stock of spares required during Annual Comprehensive Maintenance Contract period. In case the spares are required to be imported, it would be the responsibility of the supplier to import and get them custom cleared and pay all necessary duties.

10. Payment of AMC will be made in Indian Rupees

Place:  		 Date:

Name 			  Business Address

Signature of Tenderer 			 Seal of the Tenderer

(v) Bid Submission Form – For PRICED Bid

[The Bidder shall fill in this Form in accordance with the instructions indicated No alterations to

its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

TENDER No.: [insert number of Tender Enquiry]

To:  [insert complete name of Purchaser]

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Documents, including Addenda No.: ______________[insert the number and issuing date of each Addenda];

- We offer to supply in conformity with the Bidding Documents and in accordance with the Delivery Schedules specified in the Schedule of Requirements the following Goods and Related Services _______________________ [insert a brief description of the Goods and Related Services];

- The total price of our Bid, excluding any discounts offered in item (d) below, is: [ insert the bid price here];

- The discounts offered and the methodology for their application are: [ insert the discount here, if any];

Discounts.  If our bid is accepted, the following discounts shall apply.  [Specify in detail each discount offered and the specific item of the Schedule of Requirements to which it applies.]

Methodology of Application of the Discounts. The discounts shall be applied using the following method: [Specify in detail the method that shall be used to apply the discounts];

- Our bid shall be valid for the period of time specified in ITB Sub-Clause 20.1, from the date fixed for the bid submission deadline in accordance with ITB Sub-Clause 24.1, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- If our bid is accepted, we commit to obtain a performance security in accordance with ITB Clause 44 and GCC Clause 18 for the due performance of the Contract;

- We, including any subcontractors or suppliers for any part of the contract, have nationality from eligible countries________ [insert the nationality of the Bidder and the nationality each subcontractor and supplier]

- We have no conflict of interest in accordance with ITB Sub-Clause 4.1;

- Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the contract—have not been declared ineligible by the  any Government Authority, under the Purchaser’s country laws or official regulations, in accordance with ITB Sub-Clause 4.2;

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity]

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

(k)	We understand that this bid, together with your written acceptance thereof included in your notification of award, shall constitute a binding contract between us, until a formal contract is prepared and executed.

(l)    As   Indian manufacturer we  have got registered with company of Law Affairs under Company’s Act and hereby submit proof of the same. (for Indian Manufacturers only)

(m)   As Indian Agent representing Foreign Principals , we have got enlisted with Central Purchase Organization (e.g. DGS&D) as per compulsory enlisted scheme of Department of Expenditure, Ministry of Finance as per provision of Rule 143 of General Financial Rule 2005 and hereby submit proof for the same. (for Indian Agents representing Foreign Principals only)

(n)	We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

(o)	We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in bribery.

(p)	We undertake that, in competing for (and, if the award is made to us, in executing) the above contract, we will strictly observe the laws against fraud and corruption in force in India namely, “Prevention of Corruption Act 1988.”

Signed:_______________ [insert signature of person whose name and capacity are shown]

In the capacity of _______[insert legal capacity of person signing the Bid Submission Form]

Name:____________ [insert complete name of person signing the Bid Submission Form]

Duly authorized to sign the bid for and on behalf of:_____ [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

Section V.  Eligible Countries

Eligibility for the Provision of Goods, Works and Services

1.	In accordance with Para 5.12 of the Guidelines: Manual on Policies and Procedures for purchase of Goods, the Indian Agents of  firms and individuals from all countries, who offer goods, works and services should be enlisted with the Department of Expenditure, Ministry of Finance, Government of India. As an exception, firms of a Country or goods manufactured in a Country may be excluded if:

Para 5.10: If the firm/ Individual is suspected to be of doubtful loyalty to India, If the Central Bureau of Investigation or any other investigation agency recommends such a course in respect of a case under investigation and if a prima-facie case is made out that the firm is guilty of an offence involving moral turpitude in relation to business dealing which, if established, would result in business dealing with it being banned.

Para 5.11: If security considerations including question of loyalty to the State so warrant,  if the proprietor of the firm, its employee, partner or representative is convicted by a court of law following prosecution for offences involving moral turpitude in relation to the business dealings., if there is strong justification for believing that the proprietor or employee or representative of the firm has been guilty of malpractice such as bribery, corruption, fraud, substitution of tenders, interpolation, mis-representation, evasion or habitual default in payment of any tax levied by law; etc., if the firm continuously refuses to return government dues without showing adequate cause and the Government are satisfied that this is not due to reasonable dispute which would attract proceeding in arbitration or court of law, and if the firm employs a government servant, who has been dismissed or removed on account of corruption or employs a non-official convicted for an offence involving corruption or abetment of such an offence, in a position where he could corrupt government servants.

# PART 2 – Supply Requirements

Section VI. Schedule of Requirements

Contents

1. List of Goods and Delivery Schedule	81

2. List of Related Services and Completion Schedule	82

3. Technical Specifications	83 to 89

4. Drawings	90 to 91

5. Inspections and Tests	92

6a. Certificate of Successful Installation	93

6b. Consignee Receipt Certificate	95

| - List of Goods and Delivery Schedule |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Line Item N | Description of Goods | Quantity | Physical unit | Final (Project Site) Destination as specified in BDS | Delivery* Date |  |  |
|  |  |  |  |  | Earliest Delivery Date | Latest Delivery Date | Bidder’s offered Delivery date [to be provided by the bidder] |
| 1 | Network Storage Device | 6 | Nos. | Please refer Section II of BDS Clause 14.6 | 60 DAYS | 90 DAYS |  |
| 2 | Server | 12 | Nos. |  | 60 DAYS | 90 DAYS |  |
| 3 | Backup Device | 6 | Nos. |  | 60 DAYS | 90 DAYS |  |
| 4 | Modular Box with non-IT components Data-Centre | 6 | Nos. |  | 60 DAYS | 90 DAYS |  |
| 5 | LAN for 40 nos. of client nodes at each location | 6 | Nos. |  | 60 DAYS | 90 DAYS |  |

NB:

1)The vendor should list detailed bill of materials for all sub-items that correspond to line-items offered along with part numbers. Any sub-item given as complied and not listed in bill of material will be treated as not complied.

2) *Transportation & Insurance upto consignee’s site on DDP basis – including all incidental services like packing, forwarding, loading /unloading, custom clearance etc

| - List of Related Services [ITB Clause 14.6(b)] and Completion Schedule |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Service | Description of Service | Quantity1 | Physical Unit | Place where Services shall be performed | Final Completion Date(s) of Services |  |
| 1 | Turnkey services like Installation & Testing, Supervision, Commissioning, | 6 | @ each of the SOI locations – where delivery made | Please see Sl. No. 7 of Section IV | Within 30 days of delivery of goods to consignee’s site |  |
| 2 | Cost of hands on Training to a batch of 4 (four) persons of Survey of India for a duration of 15(fifteen) working days each for operation and preventive-maintenance of Modular Data Centre | 6 | @ each of the SOI locations – where delivery made | Please see Sl. No. 7 of Section IV | Within 1(one) week of commissioning of Data Centre |  |
| 3 | Furnishing of a detailed operations and maintenance manual for all components of Modular Data Centre | 6 | Set |  | Within 1(one) week of commissioning of Data Centre |  |
| 4 | Operational Support for 1 year & on the job capacity building of SoI personnel - by way of providing dedicated Engineer at each site | 6 | @ each of the SOI locations – where delivery made | Please see Sl. No. 7_of Section IV | Immediately after acceptance of product |  |
| 5 | Comprehensive on-site warranty for a period of 5 years | 6 | Please see Sl. No. 7 of Section IV | Please see Sl. No. 7_of Section IV | Up-to the end of 5 years after acceptance of product. |  |
| 6 | Comprehensive on-site AMC for a period of 5 years beyond warranty period | 6 | Please see Sl. No. 7 of Section IV | Please see Sl. No. 7_of Section IV | Up-to the end of 5 years after warranty period |  |

- Technical Specifications

[A].  Storage Specifications at Six locations: (Refer 7.A of Section IV-Bidding Form)

| Sl. No. | Requirement at each location | Specification |
| --- | --- | --- |
| 1 | Architecture | Scale-out NAS cluster based upon dedicated OS, purpose build for high performance file serving. |
| 2 | Capacity | 220TB usable for 6 sites after all the necessary overheads. |
| 3 | Scalability | 1PB of usable capacity from the cluster. |
| 4 | Performance | 1.2GB/s sized for 80:20 Read: Write workload. - Performance must be demonstrated at any one site using performance evaluation tools like IOZone / IOMeter etc. - Vendor can use existing application server to install evaluation tools and demonstrate performance. - Vendor must share necessary internal/public performance benchmarking documents to support proposed models. |
| 5 | Disks | - 7.2K NL-SAS/SATA 3TB drives using RAID-6 (8D+P+Q) - Provision of supporting intermixing SAS & SATA / NL-SAS drives on the same SAS drives. - One hot spare for every 30 drives OR 10% additional usable capacity as hot spare area for products not supporting hot spare drives. |
| 6 | Controllers | - Minimum 2-node or more nodes cluster to match capacity and performance. - Cluster configuration should remain same for equal capacity sites due to replication needs between the sites. |
| 7 | Ports | Minimum Two 10Gbps redundant ports along with sufficient number of 10Gbps and 1 Gbps ports which are required to achieve the desired throughput for file serving across the cluster. |
| 8 | Cache | Minimum 96GB cache must be configured across the cluster. |
| 9 | Redundancy | No single point of failure configuration for all components like controllers, fans, disks and power supplies. |
| 10 | Protocols | - CIFS and NFS. - Ability to share same data amongst CIFS & NFS clients. - Windows AD, LDAP and NIS support for authenticated data access. - NDMP support. All necessary licenses and hardware must be proposed. |
| 11 | Features | - Single name space/file system of 1PB. - File system rollback from snapshots for quick restart and recovery. - Thin provisioning. - Snapshots. - Asynchronous and synchronous replication to other clusters. Required Software licenses must be provided. - Licenses for the above features should be supplied for the above capacity. - De-dupe |
| 12 | OS Support | Windows, UNIX and Linux. |
| 13 | Management | - GUI & CLI based remote management. - Management host must be provided with the solution. - Periodical online firmware upgrades. |
| 14 | Space | Standard 42U rack mountable. |
| 15 | Warranty | Five years comprehensive on-site warranty support |

[B].  Server Specifications ( 2 nos at each of 6 locations): (Refer 7.B of Section IV-Bidding Form)

| Sl No. | Requirement at each location | Specifications |
| --- | --- | --- |
| 1 | Chasis | Rack mountable |
| 2 | Processor Support | Server should support Intel Xeon 8 core processors |
| 3 | Processor | Intel Xeon Processor , 24MB Cache, 2.2 GHz |
| 4 | Processor Quantity | 1 CPU (Provision for 2 sockets populated by 1 processor) |
| 5 | L3 Cache | 20 MB L3 |
| 6 | Chipset | Intel C600 series or better |
| 7 | Memory | 128 GB DDR3 Memory |
| 8 | Memory Scalability | 256 GB or more in dual processor configuration |
| 9 | Hard Disk Drives | 2X 10K SAS 900GB or higher 6Gbps hard disk drives |
| 10 | Optical Drive | DVD / CD-RW drive |
| 11 | Gigabit Ethernet Ports | Four 1Gigabit Ethernet ports OR Two 10 GigE port with full duplex. |
| 12 | PCI slots | Minimum 5 PCI slots. Additional dual port full duplex 2X10 GigE (RAID card should have separate slot) |
| 13 | Additional Ports | Four USB 2.0 ports, one video port and four RJ-45 GbE network ports. 2X10Gbps network ports. |
| 14 | Redundant Power Supply | Server to be configured with Redundant Power Supplies |
| 15 | Redundant Cooling Fans | Hot-swap and redundant cooling Fans to be configured in the system |
| 16 | Form Factor | 1U |
| 17 | Security | Hardware-based system security feature that can securely store information, such as passwords and encryption keys which can be used to authenticate the platform. |
| 18 | OS Support | LINUX server edition. |
| 19 | Monitor & Key board | 1 U management console with LCD, keyboard and mouse/Touchpad. |
| 20 | Warranty | Five years on-site comprehensive warranty support |

[C].Tape-based Backup Device (Tape Library & Backup Software) at 6 Locations: (Refer 7.C of Section IV-Bidding Form)

| Sl. No. | Requirement at each location | Specifications |
| --- | --- | --- |
| 1 | Make & Model proposed | Offered Tape Library (TL) should be of latest Industry standard make and model with all features and functionalities. |
| 3 | Capacity & Scalability | Offered TL should be configured with minimum of 24 cartridge slots or better with 2 tape drives of LTO-6 media. |
| 4 | Media | LTO-6 media 150 Nos. along with ten numbers of cleaning cartridges. |
| 5 | Speed | Offered TL should support transfer rate of 1.2TB/hr (Uncompressed mode) or more with configured capacity |
| 6 | Connectivity | TL should be offered with interface of 6 Gb SAS or 8Gb FC with required cables, barcode labels and other accessories to connect it to 10GigE switch. |
| 7 | Power | 240V AC, 50Hz compatible. |
| 8 | Backup Software | Linux OS compatible backup software with required licenses and policies for supporting backup / restore of data from the above tape library. It should be compatible with industry leading backup software and must support the offered tape library. |
| 9 | Other Features | Shall be rack mountable. Should have inbuilt data integrity check and self-healing mechanism for any possible corruption. Vendor should demonstrate all the features of the solution including auto scheduling of backup along with documentation. |
| 10 | Warranty Support | 5 Years comprehensive on-site warranty |

[D] . Modular Box (for Non-IT Components of Data-Centre) Specifications  at 6 Locations: (Refer 7.D of Section IV-Bidding Form)

| Sl. No. | Requirement for each location | Specifications |
| --- | --- | --- |
| 1. | Rack | 42U OEM Rack (Qty. 2 Nos) |
| 2. | UPS | 3 Phase In, 1 Phase Out, 12 KVA, long backup with true online double conversion & with inbuilt Isolation transformer with parallel kit. (N+N Redundancy) and 30 min backup battery. |
| 3. | Load | Total system shall support up to 15 KW of load for power and cooling. |
| 4. | PAC | Air cooled PAC units (N+N configuration) shall be installed with the capacity of 4 TR each as per below specification. Specifications: Humidity control : + or – 5% Air Movement : 550 CFM/TR Filtration Efficiency: 95% Air cooled PAC will be connected to the 3ph, 415Vincoming feeder from the facilities power solution shall contain Precision Air‐conditioning system with temperature monitoring and humidity control. Solution should be designed for 21 +/‐ 2 degree C. (PAC should be ISO certified and of repute make.) |
| 5. | Fire Detection & Fire Suppression System | FM‐200 / Inert gas based fire suppression system to be installed. Gas cylinders shall be installed at outside of the Box. |
| 6. | Access Control System | Biometric access control system |
| 7. | Monitoring | Monitoring of Leaving Air from Each Rack, Surge Suppression, Fire Panel and with day & night CC TV Camera surveillance. |
| 8. | Warranty | Five years on-site comprehensive warranty support. |

[E] LAN Setup specifications ( 6 locations): (Refer 7.E of Section IV-Bidding Form)

| Sl. No. | Requirement for each location | Specifications |
| --- | --- | --- |
| 1. | Networking Passive components | a. CAT 6A Cable (box of 305 Mts) – 10 nos b. I/O with SMB – 45 nos c. Jack Panel (48 Ports) – 2 nos d. Cable Manager – 2nos e. UTP Patch Cords (3 Ft) – 104 nos f. UTP Patch Cords (7 Ft.) – 48 nos |
| 2. | Installation, Cable lying along with documentation | a. Supply & installation of ISI Marked PVC Conduit, Baton, Flexi (1” & 2”) – 3050 metres b. UTP Termination & I/O & Jack Panel – 45 nos c. Mounting & fixing of Jack Panels – 2 nos. d. Fixing of I/O – 45 nos. e. Documentation – 1 set |
| 3. | Ethernet Switches | a. 48-PORT with additional 4 x 10G Ports Switch with 10.48 X 10/100/1000 Mbps switching ports - 4 X 10Gbps SFP+ slots (port 49~52) to support 10Gebps optical module and 1G optical module for 10-Gigabit Connectivity - Auto-sensing and auto-negotiating capabilities for all copper ports - Auto uplink on all ports to make the right connection |

Installation of LAN viz. UTP cable laying, UTP termination, fixing of I/O, SMB, fixing of Jack Panel & Racks and documentation, payment to be made based on actual usage of the following items

| Supply & installation of ISI Marked PVC Conduit, Baton, Flexi (1” & 2”) | 3050 mtrs |
| --- | --- |
| UTP Termination & I/O & Jack Panel | 45 |
| Mounting & fixing of Jack Panels | 2 |
| Fixing of I/O | 45 |
| Documentation | 1 set |

Technical Terms and Condition

1.	The bidder should ensure compatibility of the components used in the solution. A letter of confirmation should be attached along with the Technical compliance from all the OEMs (Original Equipment Manufacturer) on the interoperability for this tender.

2.	The bidder shall provide a detailed technical compliance statement for offered products and specifications in format provided in Form 7 (Technical Detail Form) / Section IV

3.	The bidder should list detailed bill of materials for all the items and sub-items offered along with part numbers as part of Schedule of Requirements.

4. The bidder must provide item/sub-item-wise breakup prices as per detailed Bill of Materials, wherever applicable, as part of Payment Schedule.

5.	The total solution document shall be provided by the bidder along with the technical offer.

6.	The bidder should bring out gaps in the tender document, if any, which might be required for completing the total solution and also quote for total solution.

7.	Complete liability of ensuring the solution in a working condition as per Purchaser’s requirements mentioned in the tender document lies with the bidder only. Any components/accessories like cables, etc should be included in the quote and bidder should agree to supply the items missed/short shipped at no additional cost to Purchaser’s.

8.	The system integrator must be a tier-one partner of the OEMs and should also provide letter of authorization from OEMs for this tender. The bidder should participate as a single party and no consortium is allowed.

9.	The bidder should not change the OEMs after the bidding is completed.

10.	Near obsolete and out-dated technology based products should not be quoted /offered as a part of the solution.

11.	Each item offered shall have minimum support life of Ten years.

12.	One Tera byte (TB) is equal to 1024X1024X1024X1024 Bytes in this tender.

13.	The bidder must take full responsibility for total supply, installation and integration and successful testing of all the quoted items.

14.	The quoted make and models must be clearly specified for all the items/ sub-items.

15.	Full technical specifications and literature must be provided for all the quoted items including sub-items.

16.	The offer must be from internationally repute principals for these types of products.

17.	The bidder must have the proven experience in installing and supporting similar data centers during the last five years in 24X7 working mode. Also should provide the user/site details, as a proof for the same.

18.	The bidder must have certified skilled, trained and experienced manpower with technical competence on all the quoted products.

19.	Any required software/drivers to make the given items usable should be delivered along with media and documentation.

20.	All standard and optional items (if any) must be clearly indicated.

21.	Licensing information for the quoted software must be provided in detail.

22.	The bidder should ensure availability & supply of required spares and consumables at least for the next seven years after installation and successful integration of equipment.

23.	The bidder should be an authorized partner of the OEMs involved in the quotation, for the last three years. The bidder should have implemented the enterprise class storage and networking elements from the same OEMs in this period.

24.	The OEMs participating in the tender must have presence in India for all their major class of items offered, for at least three years.

25.	 The bidder should have sufficient experience in doing business with the OEM and should have at least 20 Engineers certified by the OEMs in India.

26.	All Ethernet switches quoted must be from the same OEM.

27.	All necessary cables, connectors, adaptors, accessories etc., should be supplied by the bidder as required for successful integration of the total solution.

28.	Installation, integration and support have to be performed/ provided at Final Destinations mentioned in bid-document

29.	Acceptance test procedure (ATP) document should be provided by the bidder. Acceptance test on the supplied equipment must be conducted as per the ATP document.

30.	Supplied items should work on 220V, 50Hz, AC power supply.

31.	While carrying out the structured cabling, any extra cable/ connectors used more than the quantities specified, payment would be made at actual. The cabling must be of stending & certified brand only.

32.	All the licenses for given hardware and software should be perpetual and valid for life long.

33.	Any defective/failed storage hard disk or magnetic media (LTO) or any storage media shall be replaced by the bidder without insisting on return of defective media. The defective media will not be given to the bidder.

34.	Bidder should provide the total power and air conditioning requirements along with the quotation for the supplied items.

35.	Bidder should treat all the batteries supplied along with servers/storage systems as components and should replace batteries during warranty period without extra cost.

36.	All power sockets/fixtures at the installation site are Indian types.

37.	All the bidders should provide solution document based on the tender document requirements and architecture given in Section VI/Drawings

38.	The bidder shall quote for all the mandatory sub-items pertaining to the line-items given in Schedule of Requirements.

- Drawings

Modular Data Centre and Disaster Recovery Architecture:

(FUTURE LINKAGE)

5. Inspections and Tests

1) Acceptance Test Procedure (ATP) document should be provided by the bidder. Acceptance test on the supplied equipment must be conducted as per the ATP document.

2) Manufacturer’s test and inspection certificate to be provided along with the supply and installation

#### 6a. PROFORMA OF CERTIFICATE FOR ISSUE BY THE PURCHASER AFTER SUCCESSFUL INSTALLATION AND STARTUP OF THE SUPPLIED GOODS

[This is to be attached for supply, erection, supervision of erection and startup contracts only]

No. 											Date:

M/s.

Sub:	Certificate of startup of the supplied Goods

1.	This is to certify that the plant/s as detailed below has/have been received in good condition along with all the standard and special accessories (subject to remarks in Para No. 2) and a set of spares in accordance with the Contract/Specifications.  The same has been installed and commissioned.

- Contract No. ________________________dated_____________________

- Description of the plant_________________________________________

- Plant Nos. ___________________________________________________

- Quantity _____________________________________________________

- Bill of Lading ________________________dated_____________________

(for import contract)

- Name of the vessel/transporter _____________________________________

- Rail/Roadways Receipt  No. _______________dated______________________

- Name of the consignee ____________________________________________

- Date of start up and proving test _______________________________

2.	Details of accessories/spares not yet supplied and recoveries to be made on that account.

S. No.		Description					Amount to be recovered

3.	The proving test has been done to our entire satisfaction and operators have been trained to operate the plant.

4.	The supplier has fulfilled his contractual obligations satisfactorily. *

or

The supplier has failed to fulfill his contractual obligations with regard to the following:

(a)

(b)

(c)

(d)

5.	The amount of recovery on account of non-supply of accessories and spares is given under Para No. 2.

6.	The amount of recovery on account of failure of the supplier to meet his contractual obligations is as indicated in endorsement of the letter.

Signature _________________________

Name ____________________________

Designation with Stamp ______________

*	Explanatory notes for filling up the certificates:

- He has adhered to the time schedule specified in the contract in dispatching the documents/drawings pursuant to Technical Specifications.

- He has supervised the startup of the plan in time i.e., within the period specified in the contract from the date of intimation by the Purchaser in respect of the installation of the plant.

- Training of personnel has been done by the supplier as specified in the contract

- In the event of documents/drawings having not been supplied or installation and startup of the plant have been delayed on account of the supplier, the extent of delay should always be mentioned

6b. CONSIGNEE RECEIPT CERTIFICATE

(To be given by consignee’s authorized representative)

The following store(s) has/ have been received in good condition:

| 1) | Contract No. & date | : |
| --- | --- | --- |
| 2) | Supplier’s Name | : |
| 3) | Consignee’s Name & Address with telephone No. & Fax No. | : |
| 4) | Name of the item supplied | : |
| 5) | Quantity Supplied | : |
| 6) | Date of Receipt by the Consignee | : |
| 7) | Name and designation of Authorized Representative of Consignee | : |
| 8) | Signature of Authorized Representative of Consignee with date | : |
| 9) | Seal of the Consignee | : |

# PART 3 - Contract

Section VII. General Conditions of Contract

Table of Clauses

1.

Definitions	99

2.  Contract Documents	100

3.  Fraud and Corruption	100

4. Interpretation	100

5.  Language	101

6.  Joint Venture, Consortium or Association	102

7.  Country of Origin	102

8.  Notices	102

9.  Governing Law/Applicable Law	102

10.  Settlement of Disputes/Arbitration	102

11. Scope of Supply	103

12.  Dispatch Documents for Clearance/Receipt	   103

13.   Supplier’s Responsibilities	104

14.   Contract Price	104

15.   Terms of Payment	105

16. Taxes and Duties	107

17.  Performance Security	108

18.  Subcontracting	108

19.  Specifications and Standards	109

20.  Packing and Documents	109

21. Insurance	109

22. Transportation	110

23. Inspections and Tests	111

24. Liquidated Damages	112

25. Warranty	112

26. Patent Rights	114

27. Force Majeure	114

28.  Modification of Contract	114

29.  Delay in Supplier's Performance	115

30.  Termination	116

31.  Assignment	117

32.  General/Miscellaneous Clauses							   117

Section VII.  General Conditions of Contract

1. Definitions 1.1 The following words and expressions shall have the meanings hereby assigned to them: ### “Contract” means the Contract Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein. ### “Contract Documents” means the documents listed in the Contract Agreement, including any amendments thereto. ### “Contract Price” means the price payable to the Supplier as specified in the Contract Agreement, subject to such additions and adjustments thereto or deductions therefrom, as may be made pursuant to the Contract. ### “Day” means calendar day. ### “Completion” means the fulfillment of the Related Services by the Supplier in accordance with the terms and conditions set forth in the Contract. ### “GCC” means the General Conditions of Contract. ### “Goods” means all of the commodities, raw material, machinery and equipment, and/or other materials that the Supplier is required to supply to the Purchaser under the Contract. ### “Purchaser’s Country” is INDIA ### “Purchaser” means the entity purchasing the Goods and Related Services, as specified in the SCC. ### “Related Services” means the services incidental to the supply of the goods, such as insurance, installation, training and initial maintenance and other such obligations of the Supplier under the Contract. ### “SCC” means the Special Conditions of Contract. ### “Subcontractor” means any natural person, private or government entity, or a combination of the above, to whom any part of the Goods to be supplied or execution of any part of the Related Services is subcontracted by the Supplier. ### “Supplier” means the natural person, private or government entity, or a combination of the above, whose bid to perform the Contract has been accepted by the Purchaser and is named as such in the Contract Agreement. ### “The Project Site,” where applicable, means the place named in the SCC.

2. Contract Documents - Subject to the order of precedence set forth in the Contract Agreement, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. The Contract Agreement shall be read as a whole.

3. Fraud and Corruption 3.1 It is required by all concerned namely the Consignee/Tenderers/Suppliers etc to observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the Purchaser: - (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) “corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution; and (ii) “fraudulent practice” means a misrepresentation of facts in order to influence a procurement process or the execution of a contract to the detriment of the Purchaser, and includes collusive practice among Tenderers (prior to or after Tender submission) designed to establish Tender prices at artificial non-competitive levels and to deprive the Purchaser of the benefits of free and open competition; (b) will reject a proposal for award if it determines that the Tenderer recommended for award has engaged in corrupt or fraudulent practices in competing for the contract in question; (c) will declare a firm ineligible, either indefinitely or for a stated period of time, to be awarded a contract by the purchaser if it at any time determines that the firm has engaged in corrupt or fraudulent practices in competing for, or in executing the contract.

4. Interpretation - If the context so requires it, singular means plural and vice versa. - Incoterms ### Unless inconsistent with any provision of the Contract, the meaning of any trade term and the rights and obligations of parties thereunder shall be as prescribed by Incoterms. ### The terms EXW, CIP, FCA, CFR, DDP and other similar terms, when used, shall be governed by the rules prescribed in the current edition of Incoterms 2010 published by the International Chamber of Commerce in Paris, France. - Entire Agreement The Contract constitutes the entire agreement between the Purchaser and the Supplier and supersedes all communications, negotiations and agreements (whether written or oral) of the parties with respect thereto made prior to the date of Contract. - Amendment No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorized representative of each party thereto. - Non-waiver ### Subject to GCC Sub-Clause 4.5(b) below, no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract. ### Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorized representative of the party granting such waiver, and must specify the right and the extent to which it is being waived. - Severability If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract.

5. Language - The Contract as well as all correspondence and documents relating to the Contract exchanged by the Supplier and the Purchaser, shall be written in the English. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in English, in which case, for purposes of interpretation of the Contract, this translation shall govern. - The tender submitted by the tenderer and all subsequent correspondence and documents relating to the tender exchanged between the tenderer and the purchaser, may also be written in the Hindi language, provided that the same are accompanied by English translation, in which case, for purpose of interpretation of the tender etc, the English translations shall prevail. - The Supplier shall bear all costs of translation to the governing language and all risks of the accuracy of such translation, for documents provided by the Supplier.

6. Joint Venture, Consortium or Association - Joint Venture, Consortium or Association not permitted in this Tender

7. Country of Origin - The Supplier and its Subcontractors shall have the nationality of an eligible country. A Supplier or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country. 7.2 All goods and related services to be supplied under the contract shall have their origin in India or any other country with which India has not banned trade relations. The term “origin” used in this clause means the place where the goods are mined, grown, produced, or manufactured or from where the related services are arranged and supplied. The bidder shall declare the Origin of Goods in the price schedules attached at Section IV. 7.3 For purposes of this Clause, the term “goods” includes commodities, raw material, machinery, equipment, and industrial plants; and “related services” includes services such as insurance, installation/system Integration, Commissioning, training, and initial maintenance and operation support. 7.4 The term “origin” means the country where the goods have been mined, grown, cultivated, produced, manufactured or processed; or, through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components

8. Notices 8.1 Notice, if any, relating to the contract given by one party to the other, shall be sent in writing or by cable or telex or facsimile and confirmed in writing. The procedure will also provide the sender of the notice, the proof of receipt of the notice by the receiver. The addresses of the parties for exchanging such notices will be the addresses as incorporated in the contract. 8.2 The effective date of a notice shall be either the date when delivered to the recipient or the effective date specifically mentioned in the notice, whichever is later.

9. Governing Law/ Applicable Rules & Guidelines - The Contract shall be governed by and interpreted in accordance with the laws of the Union of India - The tendering process and procurement is subject to the provision of General Financial Rule 2005, Manual on Policies and Procedure for purchase of Goods published by Min of Fin, Deptt of Expenditure and related Guidelines issued by CVC from time to time.

10. Settlement of Disputes/ Arbitration Clause: 10.1 In the event of any dispute arising out of or relating to this tender, it should be referred to sole arbitration of Surveyor General of India or any other person nominated by him whose decision will be final binding. 10.2 Venue of Arbitration: The venue of arbitration shall be Dehra Dun, Uttarakhand, India

11. Scope of Supply 11.1 The Goods and Related Services to be supplied shall be as specified in the Schedule of Requirements.

12. Distribution of Dispatch Documents for Clearance/Receipt of Goods The supplier shall send all the relevant dispatch documents well in time to the Purchaser/Consignee to enable the Purchaser/Consignee clear or receive (as the case may be) the goods in terms of the contract. Unless otherwise specified in the SCC, the usual documents involved and the drill to be followed in general for this purpose are as follows. A) For Domestic Goods, including goods already imported by the supplier under its own arrangement :Within 24 hours of dispatch, the supplier shall notify the purchaser, consignee, and others concerned if mentioned in the contract, the complete details of dispatch and also supply the following documents to them by registered post / speed post (or as instructed in the contract): (i) Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount; (ii) Consignee Receipt Certificate as per Section VI/6b in original , with details duly filled up, for receipt of consignment by the authorized representative of the consignee; (iii) Two copies of packing list identifying contents of each package; (iv) Inspection certificate issued by the nominated Inspection agency, if any. (v) Certificate of origin; (vi) Insurance Certificate as per GCC Clause 21. (vii) Manufacturers/Supplier’s warranty certificate & In-house inspection certificate. B) For goods imported from abroad: Within 24 hours of dispatch, the supplier shall notify the purchaser, consignee, and others concerned if mentioned in the contract, the complete details of dispatch and also supply the following documents to them by registered post / speed post (or as instructed in the contract). Any delay or demurrage occurred during the customs clearance on account of the non- availability of technical support/ clarifications /documents from the supplier shall be borne by the supplier. Custom clearance is to be done by the Indian Agent: (i) Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount; (ii) Original and four copies of the negotiable clean, on-board Bill of Lading/Airway bill, marked freight pre paid and four copies of non-negotiable Bill of Lading/Airway bill; (iii) Four Copies of packing list identifying contents of each package; (iv) Insurance Certificate as per GCC Clause 21. (v) Manufacturer’s/Supplier’s warranty certificate; (vi) Inspection Certificate for the dispatched equipments issued by recognized/ reputed agency like SGS, Lloyd or equivalent (acceptable to the purchaser) prior to dispatch (vii)Manufacturer’s own factory inspection report; (viii) Certificate of origin (ix) Port of Loading; (x) Port of Discharge and (xi) Expected date of arrival.

13. Supplier’s Responsibilities 13.1 The Supplier shall supply all the Goods and Related Services included in the Scope of Supply in accordance with GCC Clause 12, and the Delivery and Completion Schedule, as per GCC Clause 13.

14. Contract Price 14.1 Prices charged by the Supplier for the Goods supplied and the Related Services, CMC performed under the Contract shall not vary from the prices quoted by the Supplier in its bid.

15. Terms of Payment 15.1 Payment shall be made subject to recoveries, if any, by way of liquidated damages or any other charges as per terms & conditions of contract in the following manner. (A) Payment for Domestic Goods Or Foreign Origin Located Within India. Payment shall be made in Indian Rupees as specified in the contract in the following manner: a) On delivery: 70 % payment of the contract price shall be paid on receipt of goods in good condition at the consignee premises and upon the submission of the following documents: (i) Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount; (ii) Consignee Receipt Certificate as per Section XVII in original issued by the authorized representative of the consignee; (iii) Two copies of packing list identifying contents of each package; (iv) Inspection certificate issued by the nominated Inspection agency, if any. (v) Insurance Certificate as per GCC Clause 11 and documents also to be submitted for payment of LC confirming that dispatch documents has already been sent to all concerned as per the contract within 24 hours; (vi) Certificate of origin. b) On Acceptance: Balance 30 % payment would be made against ‘Final Acceptance Certificate’ as per Section XVIII of goods to be issued by the consignees subject to recoveries, if any, either on account of non-rectification of defects/deficiencies not attended by the Supplier or otherwise. (B) Payment for Imported Goods: It is mandatory for the supplier to submit Bank Guarantee equivalent to 100% of FOB/FCA cost before opening of LC in his favour. Payment for foreign currency portion shall be made in the currency as specified in the contract in the following manner: a) On Shipment: Seventy (70) % of the net FOB/FCA (FOB/FCA price less Indian Agency commission) of the goods shipped shall be paid through irrevocable, non-transferable Letter of Credit (LC) opened in favour of the supplier in a bank in his country and upon submission of documents specified hereunder: (i)Four copies of supplier’s invoice showing contract number, goods description, quantity, unit price and total amount; (ii)Original and four copies of the negotiable clean, on-board Bill of Lading/ Airway bill , marked freight pre paid and four copies of non-negotiable Bill of Lading/Airway bill; (iii)Four Copies of packing list identifying contents of each package; (iv)Insurance Certificate as per GCC Clause 21 and documents also to be submitted for payment of LC confirming that dispatch documents has already been sent to all concerned as per the contract within 24 hours; (v)Manufacturer’s/Supplier’s warranty certificate; (vi)Inspection certificate issued by the nominated inspection agency, if applicable as per contract; (vii) Manufacturer’s own factory inspection report and (viii) Certificate of origin by the chamber of commerce of the concerned country; (ix)Inspection Certificate for the dispatched equipments issued by recognized/ reputed agency like SGS, Lloyd or equivalent (acceptable to the purchaser) prior to dispatch. (x)Certificate of origin b) On Acceptance: Balance payment of 30 % of net FOB price of goods would be made against ‘Final Acceptance Certificate’ as per Section VI/6 to be issued by the consignees through irrevocable, non-transferable Letter of Credit (LC) opened in favour of the Foreign Principal in a bank in his country, subject to recoveries, if any. c) Payment of Incidental Costs till consignee site and other Incidental Services (Insurance, Transportation, Custom clearance, Training, Operation Support Cost) will be paid in Indian Rupees to the Indian Agent on actual basis on submission of supporting vouchers & that should not exceed the rate quoted in the bid document . d) Payment of Indian Agency Commission: Indian Agency commission will be paid to the manufacturer’s agent in Indian rupees indicated in the relevant price schedule as per prevailing rate of exchange ruling on the date of establishment of LC by the department and shall not be subject to further escalation/ exchange variation. Payment shall be made in Indian rupees to the Indian agent on proof of 100% payment to the foreign principal. (C) Payment of Turnkey, (including Installation & Testing, Supervision, and Commissioning): Turnkey payment will be made to the bidder/manufacturer’s agent in Indian rupees indicated in the relevant Price Schedule (as per prevailing rate of exchange ruling on the date of Priced (Financial) Bid Opening) and shall not be subject to further escalation / exchange variation. Payment shall be made in Indian Rupees to the Indian Agent on proof of 100 % payment to the Foreign Principal. (D) Payment for Annual Comprehensive Maintenance Contract Charges: The consignee will enter into CMC with the supplier at the rates as stipulated in the contract. The payment of CMC will be made on six monthly basis after satisfactory completion of said period, duly certified by the consignee on receipt of bank guarantee for an amount equivalent to 2.5 % of the cost of the equipment as per contract in the prescribed format given in Section IX valid till 2 months after expiry of entire CMC period. 15.2 The supplier shall not claim any interest on payments under the contract. 15.3 Where there is a statutory requirement for tax deduction at source, such deduction towards income tax and other tax as applicable will be made from the bills payable to the Supplier at rates as notified from time to time. 15.4 Irrevocable & non – transferable LC shall be opened by the respective consignees. However, if the supplier requests specifically to open confirmed LC, the extra charges would be borne by the supplier. If LC is required to be extended and/or amended for reasons not attributable to the purchaser/consignee, the charges thereof shall be borne by the supplier. 15.5 The payment shall be made in the currency / currencies authorized in the contract. 15.6 The supplier shall send its claim for payment in writing, when contractually due, along with relevant documents etc., duly signed with date, to respective consignees. 15.7 While claiming payment, the supplier is also to certify in the bill that the payment being claimed is strictly in terms of the contract and all the obligations on the part of the supplier for claiming that payment has been fulfilled as required under the contract.

16. Taxes , Duties & Grand Landed Cost 16.1 (i) For goods manufactured outside the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the Purchaser’s Country. (ii) If applicable, SoI may provide Custom Duty exemption certificate under custom circular No. 51/96. (iii) Custom duty rates applicable will be verified by the vendors only. (iv) The bidder is required to submit OEM Proforma Invoice along with the price bid. 16.2 For goods Manufactured within the Purchaser’s country, the Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser. 16.3 If any tax exemptions, reductions, allowances or privileges may be available to the Supplier in the Purchaser’s Country, the Purchaser shall use its best efforts to enable the Supplier to benefit from any such tax savings to the maximum allowable extent. 16.4 While claiming reimbursement of duties, taxes etc. (like sales tax, excise duty, custom duty) from the Purchaser/Consignee, as and if permitted under the contract, the supplier shall also certify that, in case it gets any refund out of such taxes and duties from the concerned authorities at a later date, it (the supplier) shall refund to the Purchaser/Consignee forthwith. 16.5 (i) Financial quotes must be strictly as per proforma/ providing information under each category separately and clearly, failing of which the financial bid will be treated as ‘Unresponsive’. (ii) Irrespective of detail break up of various costs/taxes, L1 vendor will be decided based on the Grand landed total cost at the consignee’s place. (iii) Rates offered by the firm to be LAST and FINAL and payment of any other latent charges/taxes not specified/mentioned in the cost quoted by the firm would solely be the liability of the firm.

17. Performance Security 17.1 Within twenty one (21) days from date of the issue of notification of award by the Purchaser/Consignee, the supplier, shall furnish performance security to the Purchaser/Consignee for an amount equal to ten percent (10%) of the total value of the contract, valid up to sixty (60) days after the date of completion of all contractual obligations by the supplier, including the warranty obligations - initially valid for a period of minimum 30 months from the date of Notification of Award 17.2 The Performance security shall be denominated in Indian Rupees or in the currency of the contract as detailed below: a) It shall be in any one of the forms namely Account Payee Demand Draft or Fixed Deposit Receipt drawn from any Scheduled bank in India or Bank Guarantee issued by a Scheduled bank in India, in the prescribed form as provided in section IX of this document in favour of the Purchaser/Consignee. The validity of the Fixed Deposit receipt or Bank Guarantee will be for a period up to sixty (60) days beyond Warranty Period. 17.3 In the event of any failure /default of the supplier with or with out any quantifiable loss to the government including furnishing of consignee wise Bank Guarantee for CMC security as per Proforma in Section IX, the amount of the performance security is liable to be forfeited. 17.4 In the event of any amendment issued to the contract, the supplier shall, within twenty-one (21) days of issue of the amendment, furnish the corresponding amendment to the Performance Security (as necessary), rendering the same valid in all respects in terms of the contract, as amended. 17.5 The supplier shall enter into Annual Comprehensive Maintenance Contract as per the PROFORMA in Section IX with respective consignees, 3 (three) months prior to the completion of Warranty Period. The CMC will commence from the date of expiry of the Warranty Period. 17.6 Subject to GCC sub – clause 18.3 above, the Purchaser/Consignee will release the Performance Security without any interest to the supplier on completion of the supplier’s all contractual obligations including the warranty obligations & after receipt of Consignee wise bank guarantee for CMC security in favour of Surveyor General of India, Survey of India , Dehra Dun

18. Subcontracting 18.1 The Supplier shall notify the Purchaser in writing of all subcontracts awarded under the Contract if not already specified in the bid. Such notification, in the original bid or later shall not relieve the Supplier from any of its obligations, duties, responsibilities, or liability under the Contract. 18.2 Subcontracts shall comply with the provisions of GCC Clauses 3 and 7.

19. Specifications and Standards 19.1 Technical Specifications and Drawings ### The Goods and Related Services supplied under this Contract shall conform to the technical specifications and standards mentioned in Section VI, Schedule of Requirements and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the Goods’ country of origin.

20. Packing and Marking/ Documents 20.1 The packing for the goods to be provided by the supplier should be strong and durable enough to withstand, without limitation, the entire journey during transit including rough handling, open storage etc. without any damage, deterioration etc. As and if necessary, the size, weights and volumes of the packing cases shall also take into consideration, the remoteness of the final destination of the goods and availability or otherwise of transport and handling facilities at all points during transit up to final destination as per the contract. 20.2 Packing instructions: The supplier shall make separate packages for each consignee and mark each package on three sides with the following with indelible paint of proper quality: a. name of the Project b. contract number and date c. brief description of goods including quantity d. packing list reference number with country of origin of goods e. consignee’s name and full address and f. supplier’s name and address g Net weight and warning ‘HANDLE WITH CARE’,USE NO HOOKS’

21. Insurance 21.1 Insurance: The supplier shall make arrangements for insuring the goods against loss or damage incidental to manufacture or acquisition, transportation, storage and delivery in the following manner: i) in case of supply of domestic goods on Project/Consignee site(s) basis, the supplier shall be responsible till the entire stores contracted for arrival in good condition at destination(s). The transit risk in this respect shall be covered by the Supplier by getting the goods duly insured. The insurance cover shall be obtained by the Supplier and should be valid till 3 months after the receipt of goods by the Purchaser/Consignee. - in case of supply of the imported goods by sea on FOB (Named port of Loading) Basis, the additional extended Insurance for Ocean Freight to the Indian Destination port and local transportation and storage from the port of entry to the consignee site shall be borne by the Supplier for a period including 3 months beyond date of delivery. - in case of supply of the imported goods on FOB Named airport of Destination Basis, the additional extended Insurance (local transportation and storage) shall be borne by the Supplier from the port of entry to the consignee site for a period including 3 months beyond date of delivery. iv) If the equipment is not commissioned and handed over to the consignee within 3 months, the insurance will be got extended by the supplier at their cost till the successful installation, testing, commissioning and handing over of the goods to the consignee. In case the delay in the installation and commissioning is due to handing over of the site to the supplier by the consignee, such extensions of the insurance will still be done by the supplier, but the insurance extension charges at actuals will be reimbursed.

22. Transportation 22.1 Instructions for transportation of imported goods offered from abroad: 22.1.1 The supplier shall not arrange part-shipments and/or transhipment . 22.1.2 Supply made by sea (a) The supplier is required under the contract to deliver the goods under FOB (Named port of Loading) terms; (b) The shipment to named port of Destination in India shall be made by Indian flag vessel or by vessels belonging to the conference lines in which India is a member country through India’s forwarding agents/coordinators. (c)In case the forwarding agent/coordinators are unable to provide timely adequate space in Indian flag vessel or by vessels belonging to the conference lines, the supplier shall arrange shipment through any available vessel to adhere to the delivery schedule given in the contract. (d) The relevant rules etc. for shipping of imported goods are contained in the notifications dated 27.02.1996 and 11.02.1998 issued by Ministry of Surface Transport (chartered wing), which may be referred to by the bidder for further information in this regard. 22.1.3 Supply made by air (a) The supplier is required under the contract to deliver the goods under CIP (Named airport of Destination) terms; (b)In case of airlifting of imported goods offered from abroad, the same will be done only through the National Carrier i.e. Air India wherever applicable. 22.2 Instructions for local transportation of goods: (a) The Supplier is required under the Contract to transport domestic goods (including goods already imported by the supplier under its own arrangement) from the factory/warehouse etc to the specified places of final destination defined as the Project Site. (b) The Supplier offering goods from abroad is also required under the Contract to transport goods imported (as per sub-clause 25.1 above) from named port/airport of destination to the Project Site in the Purchaser’s country. (c)The Supplier is also required under the Contract for insurance, storage and all related costs for local transportation of goods to final destination within the Purchaser’s country, defined as the Project Site. (d) The Supplier and/or its Indian Agent (in case of foreign supplier) shall also be under Contract for Import Customs clearance/tax/duty. (e) All related costs pertaining to local transportation of goods shall be included by the bidders in their Bid Price and shall form part of the Contract Price . (f) The Project Site(s) in Purchaser’s country is as specified in SCC clause pertaining to GCC clause 1.1(n)

23. Inspections and Tests 23.1 The Supplier shall at its own expense and at no cost to the Purchaser carry out all such tests and/or inspections of the Goods and Related Services as are specified in the SCC. 23.2 The inspections and tests may be conducted on the premises of the Supplier or its Subcontractor, at point of delivery, and/or at the Goods’ final destination, or in another place in the Purchaser’s Country as specified in the SCC. Subject to GCC Sub-Clause 23.3, if conducted on the premises of the Supplier or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser. 23.3 The Purchaser or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 23.2, provided that the Purchaser bear all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all traveling and board and lodging expenses. 23.4 Whenever the Supplier is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser. The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser or its designated representative to attend the test and/or inspection. 23.5 The Purchaser may require the Supplier to carry out any test and/or inspection not required by the Contract but deemed necessary to verify that the characteristics and performance of the Goods comply with the technical specifications codes and standards under the Contract, provided that the Supplier’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impedes the progress of manufacturing and/or the Supplier’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected. 23.6 The Supplier shall provide the Purchaser with a report of the results of any such test and/or inspection. 23.7 The Purchaser may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser, and shall repeat the test and/or inspection, at no cost to the Purchaser, upon giving a notice pursuant to GCC Sub-Clause 23.4. 23.8 The Supplier agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report pursuant to GCC Sub-Clause 23.6, shall release the Supplier from any warranties or other obligations under the Contract.

24. Liquidated Damages 24.1 Except as provided under GCC Clause 32, if the Supplier fails to deliver any or all of the Goods by the Date(s) of delivery or perform the Related Services within the period specified in the Contract, the Purchaser may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to 0.5% per week of delay or part thereof the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of 10%. Once the maximum is reached, the Purchaser may terminate the Contract pursuant to GCC Clause 30. 24.2 During the above-mentioned delayed period of supply and / or performance, the conditions incorporated under GCC sub-clause 29.4 above shall also apply.

25. Warranty 25.1 The supplier warrants comprehensively that the goods supplied under the contract is new, unused and incorporate all recent improvements in design and materials unless prescribed otherwise by the purchaser in the contract. The supplier further warrants that the goods supplied under the contract shall have no defect arising from design, materials (except when the design adopted and / or the material used are as per the Purchaser’s/Consignee’s specifications) or workmanship or from any act or omission of the supplier, that may develop under normal use of the supplied goods under the conditions prevailing in India. 25.2 The warranty shall remain valid for 60 months from the date of installation & commissioning with a regular up-dation of newer technology as and when evolved followed by a CMC for a period of 5 (Five )Years for all the equipments after the goods or any portion thereof as the case may be, have been delivered to the final destination and installed and commissioned at the final destination and accepted by the purchaser/CONSIGNEE in terms of the contract, unless specified otherwise in the SCC. No conditional warranty like manufacturing defects etc. will be acceptable. Warranty as well as Comprehensive Maintenance contract will be inclusive of all accessories and Turnkey work 25.3 In case of any claim arising out of this warranty, the Purchaser/Consignee shall promptly notify the same in writing to the supplier. The period of the warranty will be as per G.C.C clause number 28.2 above irrespective of any other period mentioned elsewhere in the bidding documents. 25.4 Upon receipt of such notice, the supplier shall, within 48 hours on a 24(hrs) X 7 (days) X 365 (days) basis respond to take action to repair or replace the defective goods or parts thereof, free of cost, at the ultimate destination. The supplier shall take over the replaced parts/goods after providing their replacements and no claim, whatsoever shall lie on the purchaser for such replaced parts/goods thereafter. The penalty clause for non rectification will be applicable as per tender conditions 25.5 In the event of any rectification of a defect or replacement of any defective goods during the warranty period, the warranty for the rectified/replaced goods shall be extended to a further period of twenty four (24) months from the date such rectified / replaced goods starts functioning to the satisfaction of the purchaser. 25.6 If the supplier, having been notified, fails to respond to take action to repair or replace the defect(s) within 48 hours on a 24(hrs) X 7 (days) X 365 (days) basis, the purchaser may proceed to take such remedial action(s) as deemed fit by the purchaser, at the risk and expense of the supplier and without prejudice to other contractual rights and remedies, which the purchaser may have against the supplier. 25.7 During Warranty period, the supplier is required to visit at each consignee’s site at least once every month commencing from the date of the installation for preventive maintenance of the goods 25.8 The Purchaser/Consignee reserve the rights to enter into Annual Comprehensive Maintenance Contract between Consignee and the Supplier for the period as mentioned in Section IX, Technical Specifications after the completion of warranty period. 25.9 The supplier along with its Indian Agent and the CMC provider shall ensure continued supply of the spare parts for the machines and equipments supplied by them to the purchaser for 10 years from the date of installation and handing over. 25.10 The Supplier along with its Indian Agent and the CMC Provider shall always accord most favoured client status to the Purchaser vis-à-vis its other Clients/Purchasers of its equipments/machines/goods etc. and shall always give the most competitive price for its machines/equipments supplied to the Purchaser/Consignee.

26. Patent Rights 26.1 The supplier shall, at all times, indemnify and keep indemnified the purchaser, free of cost, against all claims which may arise in respect of goods & services to be provided by the supplier under the contract for infringement of any intellectual property rights or any other right protected by patent, registration of designs or trademarks. In the event of any such claim in respect of alleged breach of patent, registered designs, trade marks etc. being made against the purchaser, the purchaser shall notify the supplier of the same and the supplier shall, at his own expenses take care of the same for settlement without any liability to the purchaser.

27. Force Majeure 27.1 The Supplier shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. 27.2 For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Supplier that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Supplier. Such events may include, but not be limited to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes. 27.3 If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event.

28. Modification of contract 28.1 If necessary, the purchaser may, by a written order given to the supplier at any time during the currency of the contract, amend the contract by making alterations and modifications within the general scope of contract in any one or more of the following: a) Specifications, drawings, designs etc. where goods to be supplied under the contract are to be specially manufactured for the purchaser, b) Mode of packing, c) Incidental services to be provided the supplier d) Mode of dispatch, e) Place of delivery, and f) Any other area(s) of the contract, as felt necessary by the purchaser depending on the merits of the case. 28.2 In the event of any such modification/alteration causing increase or decrease in the cost of goods and services to be supplied and provided, or in the time required by the supplier to perform any obligation under the contract, an equitable adjustment shall be made in the contract price and/or contract delivery schedule, as the case may be, and the contract amended accordingly. If the supplier doesn’t agree to the adjustment made by the Purchaser/Consignee, the supplier shall convey its views to the Purchaser/Consignee within twenty-one days from the date of the supplier’s receipt of the Purchaser’s/Consignee’s amendment / modification of the contract.

29. Delay in the supplier’s performance 29.1 The supplier shall deliver of the goods and perform the services under the contract within the time schedule specified by the Purchaser/Consignee in the List of Requirements and as incorporated in the contract. 29.2 Subject to the provision under GCC clause 32, any unexcused delay by the supplier in maintaining its contractual obligations towards delivery of goods and performance of services shall render the supplier liable to any or all of the following sanctions: (i) imposition of liquidated damages, (ii) forfeiture of its performance security and (iii) termination of the contract for default. 29.3 If at any time during the currency of the contract, the supplier encounters conditions hindering timely delivery of the goods and performance of services, the supplier shall promptly inform the Purchaser/Consignee in writing about the same and its likely duration and make a request to the Purchaser/Consignee for extension of the delivery schedule accordingly. On receiving the supplier’s communication, the Purchaser/Consignee shall examine the situation as soon as possible and, at its discretion, may agree to extend the delivery schedule, with or without liquidated damages for completion of supplier’s contractual obligations by issuing an amendment to the contract. 29.4 When the period of delivery is extended due to unexcused delay by the supplier, the amendment letter extending the delivery period shall, interalia contain the following conditions: (a) The Purchaser/Consignee shall recover from the supplier, under the provisions of the clause 24 of the General Conditions of Contract, liquidated damages on the goods and services, which the Supplier has failed to deliver within the delivery period stipulated in the contract. (b) That no increase in price on account of any ground, whatsoever, including any stipulation in the contract for increase in price on any other ground and, also including statutory increase in or fresh imposition of customs duty, excise duty, sales tax/ VAT, Service Tax and Works Contract Tax or on account of any other tax or duty which may be levied in respect of the goods and services specified in the contract, which takes place after the date of delivery stipulated in the contract shall be admissible on such of the said goods and services as are delivered and performed after the date of the delivery stipulated in the contract. (c) But nevertheless, the Purchaser/Consignee shall be entitled to the benefit of any decrease in price on account of reduction in or remission of customs duty, excise duty, sales tax/ VAT, Service Tax and Works Contract Tax or any other duty or tax or levy or on account of any other grounds, which takes place after the expiry of the date of delivery stipulated in the contract. 29.5 The supplier shall not dispatch the goods after expiry of the delivery period. The supplier is required to apply to the Purchaser/Consignee for extension of delivery period and obtain the same before dispatch. In case the supplier dispatches the goods without obtaining an extension, it would be doing so at its own risk and no claim for payment for such supply and/or any other expense related to such supply shall lie against the purchaser.

30. Termination 30.1. Termination for default (a) The Purchaser/Consignee , without prejudice to any other contractual rights and remedies available to it (the Purchaser/Consignee ), may, by written notice of default sent to the supplier, terminate the contract in whole or in part, if the supplier fails to deliver any or all of the goods or fails to perform any other contractual obligation(s) within the time period specified in the contract, or within any extension thereof granted by the Purchaser/Consignee pursuant to GCC sub-clauses 34.3 and 34.4. (b) In the event of the Purchaser/Consignee terminates the contract in whole or in part, pursuant to GCC sub-clause 35.1 above, the Purchaser/Consignee may procure goods and/or services similar to those cancelled, with such terms and conditions and in such manner as it deems fit and the supplier shall be liable to the Purchaser/Consignee for the extra expenditure, if any, incurred by the Purchaser/Consignee for arranging such procurement. (c) Unless otherwise instructed by the Purchaser/Consignee, the supplier shall continue to perform the contract to the extent not terminated. 30.2 Termination for insolvency If the supplier becomes bankrupt or otherwise insolvent, the purchaser reserves the right to terminate the contract at any time, by serving written notice to the supplier without any compensation, whatsoever, to the supplier, subject to further condition that such termination will not prejudice or affect the rights and remedies which have accrued and / or will accrue thereafter to the Purchaser/Consignee. 30.3 Termination for Convenience. ### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective. ### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect: #### to have any portion completed and delivered at the Contract terms and prices; and/or #### to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier.

31. Assignment 31.1 The Supplier shall assign, in whole or in part, their obligations under this Contract, except with prior written consent of the other party.

32. General/ Miscellaneous Clauses 32.1 Nothing contained in this Contract shall be constructed as establishing or creating between the parties, i.e. the Supplier/its Indian Agent/CMC Provider on the one side and the Purchaser on the other side, a relationship of master and servant or principal and agent. 32.2 Any failure on the part of any Party to exercise right or power under this Contract shall not operate as waiver thereof. 32.3 The Supplier shall notify the Purchaser/Consignee /the Government of India of any material change would impact on performance of its obligations under this Contract. 32.4 The Supplier/its Indian Agent/CMC Provider shall be responsible for all obligations towards the Purchaser/Consignee/Government for performance of contract/services including that of its Associates/Sub Contractors under the Contract. 32.5 The Supplier/its Indian Agent/CMC Provider shall at all times, indemnify and keep indemnified the Purchaser/Government of India against all claims/damages etc. for any infringement of any Intellectual Property Rights (IPR) while providing its services under CMC or the Contract. 32.6 The Supplier/its Agent/CMC Provider shall, at all times, indemnify and keep indemnified the Purchaser/Consignee/Government of India against any claims in respect of any damages or compensation payable in consequences of any accident or injury sustained or suffered by its employees or agents or by any other third party resulting from or by any action, omission or operation conducted by or on behalf of the supplier/its associate/affiliate etc. 32.7 All claims regarding indemnity shall survive the termination or expiry of the contract.

| ## Section VIII. Special Conditions of Contract |  |
| --- | --- |
| The following Special Conditions of Contract (SCC) shall supplement and / or amend the General Conditions of Contract (GCC). Whenever there is a conflict, the provisions herein shall prevail over those in the GCC. |  |
| GCC 1.1(h) | The Purchaser’s country is: India |
| GCC 1.1(i) | The Purchaser is: Surveyor General of India, Survey of India, Post Box: 37, Hathibarkala Estate, DehraDun-248001, UTTARAKHAND |
| GCC 1.1 (n) | Final destination (Project Site) 1) Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, JHARKHAND-834002., INDIA 2)Director, Chhattisgarh GDC, Survey of India, Survey of India, Reena Apartment, 3rd Floor, Pachpedi Naka, Dhamtri Road, RAIPUR-492001, CHHATTISGARH, INDIA 3)Director, Meghalaya and Arunachal Pradesh GDC, Survey of India, Post Box No.89, Malki, SHILLONG-– 793001, MEGHALAYA, INDIA 4)Director, East Uttar Pradesh GDC, Survey of India, B-2, 2nd Floor, PICUP Bhawan, Vibhuti Khand, Gomti Nagar, LUCKNOW –226010 , UTTAR PRADESH, INDIA 5)Director, Rajasthan GDC, Survey of India, Great Arc Bhawan-I, Sector-10, Vidyadhar Nagar, JAIPUR- 302023, RAJASTHAN, INDIA 6)Director, Madhya Pradesh GDC, Survey of India, Survey Colony, Vijay Nagar, JABALPUR- 482002, MADHYA PRADESH, INDIA |
| GCC 8.1 | For notices, the Purchaser’s address shall be: Additional Surveyor General, Jharkhand Geo-spatial Data Centre, Survey of India, PO: Doranda, Ranchi, Jharkhand-834002. Ph No : 0651-2482789 Facsimile: 0651-2482789 Email: jhar.gdc.soi@gov.in Web: www.surveyofindia.gov.in |
| GCC 21.1 | The insurance shall be paid in an amount equal to 110 percent of the DDP (Project Site)) value of the Goods on “All Risks” basis including War Risks and Strikes. |
| GCC 22.1 | The Supplier is required under the Contract to transport the Goods to the specified places of final destination within the Purchaser’s country, defined as the Project Site. Transport to such place of destination in the Purchaser’s country, including insurance and storage, as shall be specified in the Contract, shall be arranged by the Supplier, and related costs shall be included in the Contract Price. |
| GCC 23.1 | The inspections and tests shall be: Acceptance test procedure (ATP) document should be provided by the bidder. Acceptance test on the supplied equipment must be conducted as per the ATP document. Manufacture’s test certificate should be enclosed along with the supply. |
| GCC 23.2 | The Inspections and tests shall be conducted at: Final destination as defined in GCC 1.1(n) |
| GCC 25 | For purposes of the Warranty, the place(s) of final destination(s) shall be: Please refer BDS corresponding to GCC 1.1(n) |

Section IX. Contract Forms

Table of Forms

1. Contract Agreement	12122

2. Performance Security	1234

3. Format for Bank Guarantee for Annual Maintenance                                                  125

1. Contract Agreement

[The successful Bidder shall fill in this form in accordance with the instructions indicated]

THIS CONTRACT AGREEMENT  made the [ insert:  number ] day of  [ insert:  month ], [ insert:  year ] to ----------------------------------------------between the President of India acting through (designation) Ministry of ---------------------------, Department of ……………………, Government of India(Address) (name and address of Purchaser) (hereinafter called “the Purchaser”), and -----------------------------------------------------------------------------------------------------------[insert name of Contractor], a corporation incorporated under the laws of [ insert:  country of Contractor ] and having its principal place of business at [ insert:  address of Contractor ] (hereinafter called “the Contractor” of the other party).

WHEREAS the Purchaser invited bids for certain Goods and ancillary services,

-------------------------------------------------------------------------------------------------------------------------------------------------------------------------[insert brief description of Goods and Services] and the Purchaser has accepted the Bid by the Contractor for the supply of those Goods and Services in the sum of [insert Contract Price in words and figures, expressed in the Contract currency (ies) ] (hereinafter called “the Contract Price”).

The contract price is for supply and Installation/System Integration, Commissioning, Training & Initial Operation Support of Goods (Name of the Instrument)- [insert Price in words and figures, expressed in the Contract currency(ies) ].

NOW, THEREFORE, IT IS HEREBY AGREED BETWEEN THE PARTIES AS FOLLOWS:

1.	In this contract, words and expressions shall assume the same meanings as are respectively assigned to them in the Conditions of Contract hereinafter referred to and they shall be deemed to form and be read and construed as part of this Agreement.

2.    in consideration of the payments to be made by the Purchaser to the Contractor as hereinafter mentioned, the Contractor hereby convents with the Purchaser to supply and Installation/System Integration, Commissioning, Training & Initial Operation Support  of goods and remedy the defects herein in conformity in all respects with the provisions of the contract.

3.      The purchaser hereby convents to pay the Contractor in consideration of supply and Installation/System Integration, Commissioning, Training & Initial Operation Support of goods and in remedying the defects wherein the Contract Price or such other sum as may become payable under the provision of the Contract at the times and in the manner prescribed by the Contract.

2.	The following documents shall be deemed to form and be read and construed as part of this Contract, Viz.:

- This Contract Agreement

- Special Conditions of Contract

- General Conditions of Contract

- Technical Requirements (including Schedule of Requirements and Technical Specifications)

- The Supplier’s Bid and original Price Schedules

- The Purchaser’s Notification of Award

- [Add here any other document(s)]

IN WITNESS WHEREOF the parties have caused this Contract to be executed on the day, month and year indicated above.

Binding Signature of the Purchaser Signed by -----------------------------------------------------

(for and on behalf of the President of India)

Binding signature of Contractor Signed by--------------------------------------------------------

(for and on behalf of -------------------------------------duly authorized vide Resolution

No. ---------------dated -------------of the Board of Directors of -------------------)

In the presence of

[ insert identification of official witness]

1.

2.

2. BANK GUARANTEE FORM FOR PERFORMANCE SECURITY

To

--------------------------------------(Name of Purchaser)

--------------------------------------(Address of Purchaser)

WHEREAS  	(Name and address of the supplier) (Hereinafter called  “the  supplier”)  has  undertaken,  in  pursuance  of  contract  no

dated

contract”).

to supply (description of goods and services) (herein after called “the

AND WHEREAS it has been stipulated by you in the said contract that the supplier shall furnish you with a bank guarantee by a scheduled commercial bank recognized by you for the sum specified therein as security for compliance with its obligations in accordance with the contract; AND WHEREAS we have agreed to give the supplier such a bank guarantee;

NOW THEREFORE we hereby affirm that we are guarantors and responsible to you, on behalf

of the supplier, up to a total of.  	(Amount of the guarantee in words and figures), and we undertake to pay you, upon your first written demand declaring the supplier to be in default under the contract and without cavil or argument, any sum or sums within the limits of (amount of guarantee) as aforesaid, without your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

We hereby waive the necessity of your demanding the said debt from the supplier before presenting us with the demand.

We further agree that no change or addition to or other modification of the terms of the contract to be performed there under or of any of the contract documents which may be made between you and the supplier shall in any way release us from any liability under this guarantee and we hereby waive notice of any such change, addition or modification.

This guarantee shall be valid from the date of Notification of Award i.e.

up to ----------- (indicate date)

……………………………. (Signature with date of the authorized officer of the Bank)

………………………………………………………….

Name and designation of the officer

………………………………………………………….

…………………………………………………………. Seal, name & address of the Bank and address of the Branch

##### 3. Format for Bank Guarantee for annual maintenance (To be stamped in accordance with Stamp Act, if any, of the country of the Issuing Bank) Bank Guarantee No.:………………………… Date: ………………….. To: ……………………..(Name of the purchaser) Whereas ………………………….(name of the Purchaser) hereinafter called “the Contractor” has undertaken, in pursuance of contract No. ………… dated ……………20….. to supply ………… ………..(Description of Goods and Services) hereinafter called “the contract”. AND WHEREAS it has been stipulated by you in the said contract that the Contractor shall furnish you with a bank guarantee by a recognized bank for the sum specified therein as security for compliance with the Contractor’s performance obligations under the contract for Annual Maintenance and Repairs of the entire system including cost of spares after warranty period for next five years. AND WHEREAS we have agreed to give the Supplier a guarantee. THEREFORE WE hereby affirm that we are Guarantors and responsible to you on behalf of the Contractor, up to a total of Rs. ……………(amount of guarantee in words and figures) being 2.5% of the total cost of equipment and we undertake to pay you, upon your first written demand declaring the Contractor to be in default under the contract and without cavil or argument, any sum or sums within the limit of Rs. …………… (Amount of guarantee) as aforesaid, without you needing to prove or to show grounds or reasons for your demand or the sum specified therein. This guarantee is valid until …………. day of ………… 20 ………. Signature and seal of Guarantors ……………………………. ……………………………. Date: ………………20…… NOTE: 1. SUPPLIERS SHOULD ENSURE THAT SEAL AND CODE No. OF THE SIGNATOR IF PUT BY THE BANKERS, BEFORE SUBMISSION OF THE BANK GUARANTEES.

4. FORMAT FOR  BANK GUARANTEE FOR FURNISHING EMD/ BID SECURITY

Whereas …………………………………………………………………………

(hereinafter called the “tenderer”)

has submitted their offer dated………………………………….………………………

for the supply of …………………………………………………………………………..

(hereinafter called the “tender”)

against the purchaser’s tender enquiry No. …………………………………………..

KNOW ALL MEN by these presents that WE ……………………………………….

of …………………………………………….. having our registered office at ……………………………………………………………. are bound unto ………………….

(hereinafter called the “Purchaser)

in the sum of………………………………………………………………………………

for which payment will and truly to be made to the said Purchaser, the Bank binds itself, its successors and assigns by these presents. Sealed with the Common Seal of the said Bank this…………… day of …………….20……

THE CONDITIONS OF THIS OBLIGATION ARE:

- If the tenderer withdraws or amends, impairs or derogates from the tender

in any respect within the period of validity of this tender.

- If the tenderer having been notified of the acceptance of his tender by the

Purchaser during the period of its validity:-

- If the tenderer fails to furnish the Performance Security for the due    	 performance of the contract.

b) 	Fails or refuses to accept/execute the contract.

WE undertake to pay the Purchaser up to the above amount upon receipt of its first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser will note that the amount claimed by it is due to it owing to the occurrence of one or both the two conditions, specifying the occurred condition or conditions.

This guarantee will remain in force upto and including 45 days after the period of tender validity and any demand in respect thereof should reach the Bank not later than the above date.

…………………………….

(Signature of the authorized officer of the Bank)

………………………………………………………….

………………………………………………………….

Name and designation of the officer

………………………………………………………….

Seal, name & address of the Bank and address of the Branch