**Hkkjrh; losZ{k.k foHkkx**

**SURVEY OF INDIA**



 **vij egklosZ{kd] fof'k"V {ks= dk dk;kZy;**

 **OFFICE OF ADDL SG, SPECIALIZED ZONE**

 **}kjk&jk"Vªh; Hkw&LFkkfud vkadM+k dsUæ**

 **C/o NATIONAL GEO-SPATIAL DATA CENTRE**

##  Cykd 6] gkFkhcM+dyk ,LVsV] i= isVh la- 200

 -Block 6 , Hathibarkala Estate, Post Box No. 200

 nsgjknwu mÙkjka[kM Dehra Dun– 248001 (Uttarakhand)

 Dated 27th May 2014

Telegram: “**SURDIGIMAP**”

nwjHkkÔ } 0135 2741428

Telephone } 0135 2742825

izfrd`fr }

Fax: } 91-135-2742826

**E-mail: zone.spl.gov.in**

 ***No. /15-P-CPB (2014-15)***

**To,**

 **M/s \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

 **\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

 **\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Dear Sirs,**

You are invited to tender for the supply of the Fire extinguishers in Survey of India offices located at Dehradun as mentioned in the attached Annexure ‘A’ on the prescribed format enclosed herewith. Please quote as per serial orders of items.

1. Your tender duly signed should be sent under sealed cover to the **Addl. SG, Specialized Zone, Survey of India, Block 6th, Hathibarakala Estate, Dehradun** and not to any individual by name.
2. Your tender will not be considered if received after **14:00** hours on **20.06.2014** and will be opened on **20.06.2014** at **15:00** hours in presence of firms representatives willing to attend the same and this office will not be responsible for any postal delay.
3. Your rates should not be more than MRP on the date of tendering.
4. Make of products are required.
5. Please say if supply can be made immediately ex-stock or if not, how long after the supply order is placed.
6. An earnest money of Rs. **30,000/-** (Rupees Thirty Thousand only) is to be attached along with your tender in the shape of Demand Draft in favour of “Senior pay & Accounts Officer CP&AO”, payable at Dehradun, However the firms exempted for EMD needs to submit the copy of authority. Tenders received without EMD will be rejected.
7. ISI mark is mandatory
8. The tenderers holding valid BIS license shall enclose a copy of valid BIS license. They will also furnish a copy of a valid BIS license for ISI marking along with their offer for the models quoted by them .
9. The Tenderers are required to enclose a copy of their valid certificate of PAN No with their Tender
10. The Tenderers are required to enclose a copy of their valid sales tax certificate/ VAT registration number.
11. The bidder should enclose the photocopy of ITR for last three years
12. Test certificates from the manufactures of the fire extinguishers
13. **General Technical requirements**

1. Fire extinguishers shall be suitable for fire fighting of solid, liquid and gas substance under pressure and also for fires involving electrical equipments.

2. All the cylinders should be seamless in one single piece as per IS:7285

3. The cylinders used for Fire extinguishers shall be approved by Chief controller of explosives. Approval authentication should be attached along with the technical bid

 4. The full weight of the cylinder should not be less than the 2 times of the capacity of the cylinder

1. **DELIVERY:**

 In the case of local firms:- Price to include delivery charges at consignee’s office and should be inclusive of all local taxes including sales tax/trade tax/VAT etc. These taxes will not be paid separately.

1. While quoting please certify that you are paying your assessed income tax regularly. Mention Registration No. of Income tax/Trade tax etc.
2. “Tender for supply, installation and commissioning of Fire extinguishers” should be written on the cover and dropped in tender box.
3. The **Chairman CPB, SURVEY OF INDIA Dehradun** reserves the right to reject any tender without assigning any reason thereof.
4. Rates quoted/accepted must remain valid for one year from actual award of tender.
5. In case of any defects during warranty period the bidder will have to replace the Fire Extinguishers.
6. Successful bidder will have to submit 10% of the total contract value/cost of the order as perfomance security in favour of “Senior pay & Accounts Officer CP&AO”, payable at Dehradun,” in the form of Bank draft or FDR which will be returned after warranty period
7. In the event of any dispute arising with regard to any of the clauses mentioned herein before the same shall be referred to the Surveyor General of India and his decision shall be final and binding upon the parties of this agreement. Notwithstanding whatsoever stated above and in case of any controversy regarding the scope of work or any other terms and conditions of tender, the decision of the Surveyor General of India shall be final.
8. For judicial adjudication, the disputes if any, arising out of the orders against the contract will be subject to the jurisdiction of the courts in Dehradun only.
9. Demo of the equipments installed will have to be given at Specialized Zone office free of cost.
10. The successful tenderer will provide training to our personnels holding fire equipments free of cost.
11. The quantity/number of articles required in respect of any goods/stores given in the Annexure ‘A’ may vary.

**Encl:** As above.

Yours faithfully,

**(Satyendra Singh)**

**Stores Assistant**

**for, Chairman, CPB**

Annexure ‘A’

|  |  |  |
| --- | --- | --- |
| **Sl. No.** | **Description** | **Quantity** |
| **1** | Fire Extinguisher Cap 4.5 kg ABC Type Minimax/Omax or other reputed make | **72** |
| **2** | Fire Extinguisher Cap 4.5 kg CO2 Type Minimax/Omax or other reputed make | **109** |
| **3** | Stand with four fire buckets | **1** |
| **4** | Fire Extinguisher Cap 6 kg ABC Type Minimax/Omax or other reputed make | **25** |
| **5** | ABC Dry Powder of 6 kg | **4** |
| **6** | Mechanical Foam 9 litre | **13** |
| **7** | Fire Extinguisher Water CO2 | **2** |
| **8** | Stand with two fire buckets | **1** |
| **9** | Fire Extinguisher BC Type  | **5** |

**FORMAT FOR TENDER**

**To,**

 **The Addl.SG,**

Specialized Zone

 Block No 6, Hathibarkala Estate

Survey of India

Dehradun

**Sub: Tender for Supply of** **Fire Extinguishers.**

**Ref:** Your Tender Enquiry No. 01/15-P-CPB (2014-15), dated ……/5/2014

Sir,

 With reference to your above tender enquiry for supply of **Fire Extinguishers** we are submitting our tender as detailed below.

 Terms and conditions as mentioned in your above tender enquiry are acceptable to us.

|  |  |  |
| --- | --- | --- |
| **Sl. No.** | **Description** | **Rate** |
| **1** | Fire Extinguisher Cap 4.5 kg ABC Type Minimax/Omax or other reputed make |  |
| **2** | Fire Extinguisher Cap 4.5 kg CO2 Type Minimax/Omax or other reputed make |  |
| **3** | Stand with four fire buckets |  |
| **4** | Fire Extinguisher Cap 6 kg ABC Type Minimax/Omax or other reputed make |  |
| **5** | ABC Dry Powder 6 kg |  |
| **6** | Mechanical Foam 9 litre  |  |
| **7** | Fire Extinguisher Water CO2  |  |
| **8** | Stand with two fire buckets |  |
| **9** | Fire Extinguisher BC Type  |  |

The above rates are inclusive of all taxes.

**Name of Firm \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Address \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

 **\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

 **\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

Mention your Mobile No.\_\_\_\_\_\_\_\_\_\_\_

Phone No. \_\_\_\_\_\_\_\_\_\_\_\_\_

EMD Details **----------------------------**

Fax No. \_\_\_\_\_\_\_\_\_\_\_\_\_

Nam­e of Bank \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Bank’s Account No., \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

IFSC Code \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

MICR No. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Income Tax Registration No. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

**Sale Tax/Trade Tax/Vat Regisrtration no. ----------------------**

**Signature of Authorised Signatory**

**Stamp of Firms**